## Major Event Days
Major Event Days (MEDs) prior to and including March 31, 2021 were determined based on IEEE Std 1366-2012 methodology. | 0 | 0 | 0
Major Event Days (MEDs) from April 1, 2021 and forward are determined based on an adjusted IEEE Std 1366 methodology. (Docket No. 2019-0110, Decision and Order No. 37600, issued on February 2, 2021, https://dms.puc.hawaii.gov/dms/DocumentViewer?pid=A1001001A21B02B15413D00151) | 0 | 0 | 0
MEDs are excluded from normalized indices. MEDs for the most recent eight quarters are listed here. | 0 | 0 | 0
0 | 0 | 0 | 0
Quarter | Hawaiian Electric Company/Oahu | Hawaii Electric Light Company/Hawaii Island | Maui Electric/Maui County
Q3-2021 | 8/21/2021: bird in conductors and faulty equipment operation. | 7/29/2021: scheduled interruption to replace multiple poles on a transmission circuit. | None
Q4-2021 | 12/5/2021: weather-related interruptions. 12/6/2021: weather-related interruptions. | 12/5/2021: tree-related outages affecting various parts of Hawai‘i Island during high winds. 12/6/2021: tree-related interruptions during high winds. 12/16/2021: a tree fell on transmission circuit conductors. | 11/29/2021: T&D equipment failed (Maui only). 12/5/2021: various weather-related interruptions (Maui only). 12/7/2021: T&D equipment failed (Maui only).
Q1-2022 | 3/1/2022: deteriorated T&D equipment. | None | 1/17/2022: T&D equipment failed (Lanai only). 3/15/2022: underfrequency load shed when a generator tripped offline (Lanai only).
Q2-2022 | None | None | 4/21/2022: unknown cause that affected the T&D system (Lanai only).
Q3-2022 | None | None | 8/23/2022: substation equipment failures and underfrequency load shed (Maui only).
Q4-2022 | 12/19/2022: various vegetation and weather-related interruptions affected Oahu. | 12/19/2022: various vegetation and weather-related interruptions. 12/20/2022: various tree-related interruptions during high winds. | 12/19/2022: various vegetation and weather-related interruptions (Maui only).
Q1-2023 | 2/9/2023: various weather and vegetation-related interruptions. 3/8/2023: various wind-related interruptions. | 3/8/2023: various vegetation and weather-related interruptions during Flood and High Wind Advisory/Warning. | 2/3/2023: underfrequency load shed when generators tripped offline (Lanai only). 3/2/2023: a large tree that fell during heavy rain and wind (Lanai only).
Q2-2023 | 4/19/2023: various wind-related interruptions and unknown causes. | None | None
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0
0 | 0 | 0 | 0

## SAIFI Normalized
System Average Interruption Frequency Index (SAIFI)
With Normalization (# of Interruptions)
Annual SAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 1.132 | 1.693 | 2.11
| 2011 | 1.182 | 2.114 | 2.568
| 2012 | 1.111 | 1.98 | 1.947
| 2013 | 1.216 | 1.589 | 2.824
| 2014 | 1.28 | 2.119 | 2.726
| 2015 | 1.454 | 1.625 | 2.298
| 2016 | 1.002 | 1.608 | 2.193
| 2017 | 1.15 | 1.653 | 1.515
| 2018 | 1.253 | 2.526 | 2.539
| 2019 | 1.105 | 2.051 | 1.864
| 2020 | 0.914 | 1.725 | 1.819
| 2021 | 1.233 | 1.346 | 2.299
| 2022 | 0.9 | 1.293 | 3.197
Quarterly SAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 0.29255 | 0.51504 | 0.56353
| Q2-2019 | 0.28633 | 0.30766 | 0.20332
| Q3-2019 | 0.26048 | 0.61826 | 0.50885
| Q4-2019 | 0.26595 | 0.60931 | 0.58801
2020 | Q1-2020 | 0.30721 | 0.58606 | 0.30462
| Q2-2020 | 0.26152 | 0.54426 | 0.49339
| Q3-2020 | 0.15149 | 0.26987 | 0.73066
| Q4-2020 | 0.19366 | 0.32589 | 0.28983
2021 | Q1-2021 | 0.46211 | 0.31174 | 0.39965
| Q2-2021 | 0.25024 | 0.24567 | 0.91905
| Q3-2021 | 0.30735 | 0.26349 | 0.44521
| Q4-2021 | 0.21332 | 0.52445 | 0.53639
2022 | Q1-2022 | 0.18626 | 0.39163 | 0.19857
| Q2-2022 | 0.17483 | 0.21663 | 0.80691
| Q3-2022 | 0.28194 | 0.24718 | 0.87675
| Q4-2022 | 0.2575 | 0.43721 | 1.3131
2023 | Q1-2023 | 0.27428 | 0.91328 | 1.0905
| Q2-2023 | 0.2407 | 0.33849 | 0.15561
-
-

## SAIFI Non Normalized
System Average Interruption Frequency Index (SAIFI)
Non-Normalized (# of Interruptions)
Annual SAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
| 2010 | 1.182 | 1.693 | 2.87
| 2011 | 1.647 | 2.416 | 2.568
| 2012 | 1.304 | 2.791 | 1.947
| 2013 | 1.268 | 1.933 | 3.124
| 2014 | 1.28 | 2.516 | 3.916
| 2015 | 1.911 | 3.04 | 4.127
| 2016 | 1.3 | 2.001 | 2.326
| 2017 | 1.4 | 3.495 | 1.784
| 2018 | 1.326 | 3.366 | 2.539
| 2019 | 1.47 | 2.706 | 3.06
| 2020 | 1.178 | 1.901 | 1.819
| 2021 | 1.613 | 1.994 | 3.171
| 2022 | 1.003 | 2.796 | 3.58
Quarterly SAIFI Index
|  | O‘ahu | Maui County | Hawai‘i Island
2019 | Q1-2019 | 0.47962 | 1.107 | 1.1957
| Q2-2019 | 0.28633 | 0.30766 | 0.20332
| Q3-2019 | 0.26048 | 0.61826 | 1.0737
| Q4-2019 | 0.44388 | 0.67404 | 0.58801
2020 | Q1-2020 | 0.51144 | 0.58606 | 0.30462
| Q2-2020 | 0.26152 | 0.54426 | 0.49339
| Q3-2020 | 0.15149 | 0.26987 | 0.73066
| Q4-2020 | 0.25418 | 0.50175 | 0.28983
2021 | Q1-2021 | 0.73332 | 0.31174 | 0.39965
| Q2-2021 | 0.25024 | 0.27343 | 0.91905
| Q3-2021 | 0.35631 | 0.26349 | 0.47018
| Q4-2021 | 0.27382 | 1.1441 | 1.3812
2022 | Q1-2022 | 0.23523 | 0.42148 | 0.19857
| Q2-2022 | 0.17483 | 0.22167 | 0.80691
| Q3-2022 | 0.28194 | 1.147 | 0.87675
| Q4-2022 | 0.31071 | 1.0049 | 1.6952
2023 | Q1-2023 | 0.44233 | 0.94074 | 1.292
| Q2-2023 | 0.31475 | 0.33849 | 0.15561
-
-