## 3D Curtailed Energy Oahu
A | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012* | 2013* | 2014* | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
O‘ahu
2. MWh taken from curtailable renewable resources | 0 | 0 | 0 | 0 | 0 | 23 | 64023.751 | 75598 | 133814 | 204362 | 236737.642 | 261479.737 | 293227 | 304630 | 307205.682 | 519956.73 | 538115.243 | 555015.0403
1. MWh curtailed from curtailable renewable resources | 0 | 0 | 0 | 0 | 0 | 0 | 795.1 | 12736 | 4860 | 3040 | 3184.2 | 3373.426 | 7156.231 | 5401.0523 | 7583.3632 | 16160.3835 | 40892.741 | 39118.568
1/(1+2) = % Curtailed of curtailable renewable resources | 0% | 0% | 0% | 0% | 0% | 0% | 1.227% | 14.42% | 3.505% | 1.466% | 1.327% | 1.274% | 2.382% | 1.742% | 2.409% | 3.014% | 7.063% | 6.584%
3. MWh taken from firm renewable and utility hydro generating facilities | 332815.037 | 395073.416 | 326053.955 | 359011.892 | 363629.45 | 316188.616 | 345892.412 | 323658 | 403077 | 426185 | 439368.6758 | 451379.9597 | 442477 | 424079.275 | 467001.9035 | 397518.8407 | 389784.4711 | 387367.0173
4. MWh taken from uncurtailable distributed renewable generation resources | 400 | 500 | 1700 | 4002.8183 | 15668.452 | 28596.8129 | 54341.054 | 131597 | 264117 | 398522 | 448260.5075 | 530177.4168 | 633701 | 688594.7846 | 880922.1113 | 956588.9845 | 1020841.2562 | 1100523.4793
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 0% | 0% | 0% | 0% | 0% | 0% | 0.171% | 2.343% | 0.6031% | 0.2945% | 0.2824% | 0.2707% | 0.5199% | 0.3796% | 0.4561% | 0.8549% | 2.055% | 1.879%
* In June 2015, the curtailment metric tabulation was corrected for the years 2012 thru 2014; the Kapolei Sustainability Energy Park was inadvertently excluded and the “MWh taken” values applicable to the Kapolei Sustainability Energy Park were accounted for as the “MWh taken” values for the Kalaeloa Renewable Energy Park.
** In January 2017, due to an input error 2016 Q2 and Q3 was revised.
*** In January 2021 the 2018 and 2019 annual numbers were corrected due to a formula error
| 2005: 2012; 2009: 2013; 2013*: 2014; 2017: 2015; 2021: 2016 |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
B | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023
O‘ahu
2. MWh taken from curtailable renewable resources | 21738 | 23374 | 8157 | 22328 | 35937 | 32921 | 36816 | 28139 | 33410 | 63391 | 53186 | 54375 | 38802 | 75357.452 | 56899.763 | 65678.427 | 35813.264 | 72258 | 75380 | 78028 | 60274 | 74050 | 83647 | 75256 | 70539 | 86445 | 84380 | 63266 | 61594.18 | 61991.274 | 90546.131 | 93074.097 | 118244.939 | 141074.421 | 151716.944 | 108920.426 | 113937.97 | 132952.335 | 142356.159 | 148868.779 | 101147.4783 | 147323.855 | 147901.422 | 158642.285 | 146999.657 | 195866.687
1. MWh curtailed from curtailable renewable resources | 1470 | 7767 | 2815 | 684 | 1619 | 715 | 2338 | 188 | 1223 | 448 | 1168 | 201 | 778 | 753.44 | 248.33 | 1404.43 | 477.86 | 591.4 | 1079.26 | 1224.906 | 2266.275 | 1922.3071 | 2319.5767 | 648.0722 | 1450.8038 | 1367.551 | 1833.774 | 748.9235 | 2058.86 | 1055.3264 | 1623.2368 | 2845.94 | 3443.3775 | 4400.219 | 5632.284 | 2684.503 | 10803.018 | 16532.461 | 9863.231 | 3694.031 | 7090.843 | 20405.144 | 6694.011 | 4928.57 | 8388.439 | 7994.744
1/(1+2) = % Curtailed of curtailable renewable resources | 6.33% | 24.94% | 25.65% | 2.97% | 4.31% | 2.13% | 5.97% | 0.66% | 3.53% | 0.7% | 2.15% | 0.37% | 1.96% | 0.9899% | 0.4345% | 2.094% | 1.317% | 0.8118% | 1.412% | 1.546% | 3.624% | 2.53% | 2.698% | 0.8538% | 2.015% | 1.557% | 2.127% | 1.17% | 3.235% | 1.674% | 1.761% | 2.967% | 2.83% | 3.025% | 3.579% | 2.405% | 8.66% | 11.06% | 6.48% | 2.421% | 5.925% | 12.75% | 4.381% | 3.013% | 5.398% | 3.922%
3. MWh taken from firm renewable and utility hydro generating facilities | 76991 | 76477 | 89230 | 80960 | 99380 | 81246 | 112338 | 110113 | 96382 | 101815 | 114118 | 113871 | 103876 | 102899.016 | 130601.609 | 101992.0508 | 101212.0441 | 110213 | 124182 | 117001 | 108738 | 107111 | 124587 | 102041 | 91191.2241 | 108453.8201 | 106654.0523 | 117780.1784 | 115193.8655 | 120058.3378 | 123480.3989 | 108269.3012 | 98228.0196 | 96277.2487 | 103420.3621 | 99593.2102 | 94177.1442 | 79705.4982 | 109997.0796 | 105904.749 | 100363.6036 | 101609.5173 | 96394.8264 | 88999.07 | 89112.582 | 74199.2119
4. MWh taken from uncurtailable distributed renewable generation resources | 17097 | 22232 | 27231 | 65037 | 51817 | 62540 | 70412 | 79347 | 98931 | 99963 | 100275 | 99354 | 102634 | 109131.341 | 115066.883 | 121428.2835 | 123528.6192 | 130010 | 135792 | 142806 | 151377 | 157565 | 161638 | 163121 | 167281.9086 | 171250.0622 | 174146.6099 | 175916.2039 | 199924.7658 | 248095.8891 | 242074.5702 | 190826.8861 | 196814.9996 | 273304.7253 | 273694.1038 | 212775.1558 | 221963.3176 | 287539.9011 | 287277.5761 | 224060.4614 | 248585.0965 | 308158.0464 | 320195.2833 | 223585.0532 | 245946.0466 | 307205.2697
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 1.25% | 5.98% | 2.21% | 0.4% | 0.86% | 0.4% | 1.05% | 0.09% | 0.53% | 0.17% | 0.43% | 0.08% | 0.32% | 0.2615% | 0.08201% | 0.4834% | 0.1827% | 0.1893% | 0.3218% | 0.3626% | 0.7074% | 0.5675% | 0.6271% | 0.1904% | 0.441% | 0.3735% | 0.5022% | 0.2098% | 0.5465% | 0.2453% | 0.3559% | 0.7257% | 0.8332% | 0.8617% | 1.065% | 0.6372% | 2.512% | 3.305% | 1.828% | 0.7715% | 1.575% | 3.663% | 1.186% | 1.046% | 1.74% | 1.385%
**
**

## 3E Curtailed Energy Maui
A | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Maui County - Maui Division
2. MWh taken from curtailable renewable resources | 0 | 56675 | 125781 | 108987 | 109681 | 120433 | 123242 | 159203.939 | 233044.967 | 260448.469 | 266868 | 279696.793 | 234075.023 | 261421.805 | 248899.516 | 258207.35 | 279812.267 | 242334.495
1. MWh curtailed from curtailable renewable resources | 0 | 600.387 | 6.66 | 73.348 | 3156.8 | 2904.16 | 9942.96 | 37641.91 | 46718.33 | 20600.31 | 28509.88 | 17371.418 | 11988.1128 | 20165.0434 | 11913.9656 | 52927.2631 | 46435.4493 | 29857.4945
1/(1+2) = % Curtailed of curtailable renewable resources | 0% | 1.048% | 0.005295% | 0.06725% | 2.798% | 2.355% | 7.466% | 19.12% | 16.7% | 7.33% | 9.652% | 5.848% | 4.872% | 7.161% | 4.568% | 17.01% | 14.23% | 10.97%
3. MWh taken from firm renewable and utility hydro generating facilities | 75225.269 | 76713.9962 | 67165.8392 | 59497.4319 | 48426.0136 | 50740.5474 | 49563.9423 | 60806.6936 | 60907.614 | 69633.986 | 52437.572 | 5849.237 | 649.793 | 349.672 | 0 | 0 | 0 | 0
4. MWh taken from uncurtailable distributed renewable generation resources | 277.7887 | 606.5812 | 1118.7202 | 1652.5919 | 4427.9738 | 7289.2545 | 12287.8375 | 27730.4564 | 46906.5724 | 65393.3387 | 81129.1053 | 106702.0827 | 140148.666 | 152081.362 | 159252.779 | 224263.8843 | 239252.6593 | 250262.9116
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 0% | 0.4461% | 0.003432% | 0.04309% | 1.905% | 1.601% | 5.098% | 13.19% | 12.05% | 4.951% | 6.647% | 4.241% | 3.099% | 4.646% | 2.836% | 9.886% | 8.211% | 5.715%
* A formula error was corrected in January 2021 that impacted the 2018 annual numbers
| 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
B | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023
Maui County - Maui Division
2. MWh taken from curtailable renewable resources | 22361.925 | 41922.666 | 61313.274 | 33606.074 | 44925.239 | 57391.416 | 83246.123 | 47482.189 | 39383.3 | 78245.577 | 78289.755 | 64529.837 | 43772 | 79831 | 67691 | 75574 | 34494.12 | 84378 | 86772.673 | 74052 | 41140.823 | 66602 | 78430 | 47902.2 | 42851.885 | 75024.628 | 78047.615 | 65497.677 | 50149.068 | 58240.847 | 77361.312 | 63148.289 | 63207.853 | 60735.279 | 77305.638 | 56958.58 | 59726.014 | 65179.059 | 90694.614 | 64212.58 | 37278.35 | 67141.528 | 80449.999 | 57464.618 | 39966.303 | 56123.445
1. MWh curtailed from curtailable renewable resources | 6882 | 6111 | 14621.63 | 10027.28 | 24092.4 | 11942.7 | 7797 | 2886.23 | 5230.57 | 9188.74 | 2326 | 3855 | 3389 | 11611.71 | 4739.2 | 8769.97 | 4326.243 | 4906.533 | 4396.381 | 3742.261 | 2644.567 | 4616.805 | 1840.7779 | 2885.9629 | 3310.8921 | 6979 | 3770.428 | 6104.7233 | 4445.8879 | 2009.5088 | 2639.223 | 2819.3458 | 8512.0766 | 15622.5038 | 19358.288 | 9434.3947 | 14786.6503 | 12304.269 | 8357.0694 | 10987.4605 | 5418.4788 | 12262.4357 | 6736.6675 | 5439.9124 | 8768.5068 | 9436.9149
1/(1+2) = % Curtailed of curtailable renewable resources | 23.53% | 12.72% | 19.26% | 22.98% | 34.91% | 17.22% | 8.564% | 5.73% | 11.72% | 10.51% | 2.885% | 5.637% | 7.19% | 12.7% | 6.543% | 10.4% | 11.14% | 5.495% | 4.822% | 4.81% | 6.04% | 6.483% | 2.293% | 5.682% | 7.172% | 8.511% | 4.608% | 8.526% | 8.143% | 3.335% | 3.299% | 4.274% | 11.87% | 20.46% | 20.03% | 14.21% | 19.84% | 15.88% | 8.437% | 14.61% | 12.69% | 15.44% | 7.727% | 8.648% | 17.99% | 14.39%
3. MWh taken from firm renewable and utility hydro generating facilities | 14721.392 | 16481.6326 | 16834.5569 | 12769.112 | 21130.9632 | 16304.9022 | 10033.1763 | 13438.5722 | 18699.3553 | 22509.3363 | 11148.8582 | 17276.4362 | 15511 | 17444.572 | 13314 | 6168 | 1118.372 | 1672 | 1452.865 | 1606 | 224.793 | 227 | 197 | 1 | 119.668 | 227.004 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. MWh taken from uncurtailable distributed renewable generation resources | 3683.5864 | 4702.8718 | 5642.7122 | 13701.2861 | 10221.7188 | 11506.2192 | 12408.1502 | 12770.4843 | 16307.4849 | 16375.0749 | 16457.6069 | 16253.1719 | 17402 | 19753.2754 | 21400.6929 | 22573.1369 | 22430.868 | 25031.7175 | 27984.4973 | 31255 | 32974.04 | 34747.694 | 36054.537 | 36372.395 | 36502.966 | 37625.2 | 38936.274 | 39016.922 | 38485.973 | 39165.639 | 40223.931 | 41377.236 | 48060.026 | 61969.3516 | 63322.7631 | 50911.7436 | 53403.5998 | 65030.4384 | 66966.3951 | 53852.226 | 58442.9556 | 66313.8254 | 70236.8758 | 55269.2548 | 54448.5089 | 72857.463
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 14.44% | 8.829% | 14.86% | 14.3% | 24% | 12.29% | 6.871% | 3.769% | 6.569% | 7.274% | 2.149% | 3.783% | 4.23% | 9.026% | 4.408% | 7.777% | 6.96% | 4.232% | 3.789% | 3.512% | 3.568% | 4.555% | 1.608% | 3.424% | 4.172% | 6.195% | 3.223% | 5.841% | 5.016% | 2.063% | 2.245% | 2.697% | 7.65% | 12.73% | 13.77% | 8.746% | 13.07% | 9.45% | 5.301% | 9.306% | 5.661% | 9.188% | 4.471% | 4.825% | 9.287% | 7.317%

## 3F Curtailed Energy Lanai
A | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Maui County - Lanai Division
2. MWh taken from curtailable renewable resources | 0 | 0 | 0 | 18 | 1390 | 1770 | 1782 | 2350 | 2061 | 1830 | 2133.594 | 2342.63 | 2055.52 | 1343.558 | 1465.267 | 981.989 | 813.084 | 204.622
1. MWh curtailed from curtailable renewable resources | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43.6 | 217.2 | 610.3 | 208.64 | 159.14 | 143.1307 | 136.3364 | 84.7487 | 29.616 | 75.0269 | 0.099
1/(1+2) = % Curtailed of curtailable renewable resources | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.822% | 9.534% | 25.01% | 8.908% | 6.361% | 6.51% | 9.213% | 5.468% | 2.928% | 8.448% | 0.04836%
3. MWh taken from firm renewable and utility hydro generating facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. MWh taken from uncurtailable distributed renewable generation resources | 10.0961 | 17.3891 | 15.0249 | 11.2147 | 24.5457 | 43.2947 | 71.5603 | 150.1693 | 389.9291 | 461.2945 | 560.4062 | 776.6942 | 1063.537 | 1076.884 | 1133.281 | 1360.1454 | 1349.7693 | 1361.1336
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1.714% | 8.141% | 21.03% | 7.188% | 4.854% | 4.388% | 5.332% | 3.158% | 1.249% | 3.353% | 0.006322%
| 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
B | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023
Maui County - Lanai Division
2. MWh taken from curtailable renewable resources | 575 | 678 | 560 | 537 | 529 | 502 | 572 | 458 | 476 | 520 | 428 | 406 | 425 | 723.199 | 489.545 | 495.85 | 671.03 | 574 | 606.6 | 491 | 548.353 | 604.167 | 575 | 328 | 234.558 | 433 | 321 | 355 | 356.267 | 432 | 365 | 312 | 249.747 | 345 | 125.242 | 262 | 222 | 310.084 | 169.72 | 111.28 | 104.562 | 85.851 | 14.209 | 0 | 0 | 0
1. MWh curtailed from curtailable renewable resources | 0 | 0 | 34.9 | 8.7 | 19 | 25.7 | 110.7 | 61.8 | 99.5 | 141.8 | 202 | 167 | 101 | 9.2 | 59.57 | 38.87 | 41.57 | 55.36 | 39.51 | 22.7 | 14.46 | 16.787 | 30.968 | 80.9157 | 70.9564 | 39.37 | 8.51 | 17.5 | 23.7069 | 33.8218 | 17.79 | 9.43 | 0 | 5.19 | 22.6 | 1.826 | 33.623 | 8.389 | 14.874 | 18.1409 | 0.099 | 0 | 0 | 0 | 0 | 0
1/(1+2) = % Curtailed of curtailable renewable resources | 0% | 0% | 5.867% | 1.594% | 3.467% | 4.87% | 16.22% | 11.89% | 17.29% | 21.43% | 32.06% | 29.14% | 19.25% | 1.256% | 10.85% | 7.269% | 5.834% | 8.796% | 6.115% | 4.419% | 2.569% | 2.703% | 5.111% | 19.79% | 23.23% | 8.335% | 2.583% | 4.698% | 6.239% | 7.261% | 4.647% | 2.934% | 0% | 1.482% | 15.29% | 0.6921% | 13.15% | 2.634% | 8.058% | 14.02% | 0.09459% | 0% | 0% | #DIV/0! | #DIV/0! | #DIV/0!
3. MWh taken from firm renewable and utility hydro generating facilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4. MWh taken from uncurtailable distributed renewable generation resources | 20.016 | 25.1146 | 30.1538 | 74.8848 | 85.746 | 96.1943 | 102.6153 | 105.3735 | 115.3236 | 115.3236 | 115.3236 | 115.3236 | 127 | 136.6651 | 143.4074 | 153.3336 | 153.3336 | 172.3376 | 184.6049 | 266.418 | 250.138 | 261.567 | 270.5 | 281.332 | 227.015 | 281 | 284.185 | 284.684 | 279.439 | 282.544 | 285.649 | 285.649 | 319.9009 | 368.8316 | 365.6248 | 305.7881 | 307.5335 | 379.5677 | 365.8142 | 296.8539 | 330.2895 | 356.8441 | 366 | 308 | 310.6004 | 376.5547
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 0% | 0% | 5.584% | 1.402% | 2.998% | 4.119% | 14.1% | 9.885% | 14.4% | 18.25% | 27.1% | 24.26% | 15.5% | 1.059% | 8.602% | 5.649% | 4.801% | 6.905% | 4.994% | 2.997% | 1.811% | 1.939% | 3.663% | 13.28% | 15.37% | 5.514% | 1.406% | 2.736% | 3.729% | 4.733% | 2.734% | 1.578% | 0% | 0.7271% | 4.604% | 0.3216% | 6.35% | 1.216% | 2.777% | 4.445% | 0.02277% | 0% | 0% | 0% | 0% | 0%
**
**

## 3G Curtailed Energy Hawaii
A | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual | Annual
Hawai‘i Island
2. MWh taken from curtailable renewable resources | 55082.394 | 90081.401 | 185188.253 | 181012.337 | 204058 | 179701.056 | 214699.584 | 225637.987 | 201975.7075 | 192465.802 | 209595.357 | 216088.171 | 159160.26 | 217153.319 | 181038.236 | 183700.619 | 200615.735 | 170379.7508
1. MWh curtailed from curtailable renewable resources | 0 | 0 | 0 | 7.382 | 5825.718 | 7313.63 | 14917.406 | 10196.384 | 924.9265 | 467.979 | 862.4199 | 2790.6095 | 5505.7545 | 2478.7223 | 1425.862 | 2948.849 | 917.1897 | 968
1/(1+2) = % Curtailed of curtailable renewable resources | 0% | 0% | 0% | 0.004078% | 2.776% | 3.911% | 6.497% | 4.324% | 0.4559% | 0.2426% | 0.4098% | 1.275% | 3.344% | 1.129% | 0.7814% | 1.58% | 0.4551% | 0.5649%
3. MWh taken from firm renewable and utility hydro generating facilities | 209291.168 | 201729.743 | 213915.884 | 217200.264 | 163324.349 | 191405.527 | 220070.138 | 251177.48 | 265161.933 | 240411.71 | 228878.973 | 262010.543 | 314678.95 | 123612.385 | 11469.59 | 15093.215 | 192695.167 | 214442.978
4. MWh taken from uncurtailable distributed renewable generation resources | 2510.346 | 3378.765 | 4705.793 | 5101.2879 | 10264.1623 | 12514.6594 | 18637.382 | 30246.7579 | 50236.4675 | 70262.4371 | 83255.4009 | 102758.8252 | 121114.262 | 143002.8218 | 177534.4429 | 186444.0324 | 195209.2435 | 211851.9403
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 0% | 0% | 0% | 0.00183% | 1.519% | 1.871% | 3.185% | 1.971% | 0.1785% | 0.09293% | 0.165% | 0.4781% | 0.9169% | 0.5098% | 0.3838% | 0.7596% | 0.1556% | 0.162%
| 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2015 |  |  |  | 2016 |  |  |  | 2017 |  |  |  | 2018 |  |  |  | 2019 |  |  |  | 2020 |  |  |  | 2021 |  |  |  | 2022 |  |  |  | 2023
B | Q1 2012 | Q2 2012 | Q3 2012 | Q4 2012 | Q1 2013 | Q2 2013 | Q3 2013 | Q4 2013 | Q1 2014 | Q2 2014 | Q3 2014 | Q4 2014 | Q1 2015 | Q2 2015 | Q3 2015 | Q4 2015 | Q1 2016 | Q2 2016 | Q3 2016 | Q4 2016 | Q1 2017 | Q2 2017 | Q3 2017 | Q4 2017 | Q1 2018 | Q2 2018 | Q3 2018 | Q4 2018 | Q1 2019 | Q2 2019 | Q3 2019 | Q4 2019 | Q1 2020 | Q2 2020 | Q3 2020 | Q4 2020 | Q1 2021 | Q2 2021 | Q3 2021 | Q4 2021 | Q1 2022 | Q2 2022 | Q3 2022 | Q4 2022 | Q1 2023 | Q2 2023
Hawai‘i Island
2. MWh taken from curtailable renewable resources | 53789.918 | 62754.21 | 53969.676 | 55124.183 | 52065.945 | 53081.3045 | 53338.859 | 43489.599 | 33834.586 | 54634.719 | 51074.995 | 52921.502 | 31216 | 62448.826 | 51434.302 | 64496.229 | 30312.971 | 58480.562 | 60356.038 | 66938.6 | 36646.571 | 37286.101 | 38341.639 | 46885.949 | 51189.469 | 61114.707 | 54556.025 | 50293.118 | 27429.765 | 48483.389 | 53818.188 | 51306.894 | 51635.336 | 43563.5 | 44638.849 | 43862.934 | 51542.275 | 43962.779 | 51994.651 | 53116.03 | 32210.941 | 57318.619 | 43259.087 | 37591.1038 | 37915.286 | 49938.2365
1. MWh curtailed from curtailable renewable resources | 6626.857 | 2762.453 | 40.658 | 766.416 | 792.656 | 71.8965 | 51.687 | 8.687 | 32.991 | 61.506 | 373.482 | 0 | 52 | 24.005 | 28 | 758.4149 | 247.0481 | 193 | 1012 | 1338.5614 | 1537.1208 | 122 | 3461 | 385.6337 | 885.5577 | 727.7245 | 500.0967 | 365.3433 | 678.0906 | 82.8752 | 293.3178 | 371.5784 | 2209.9441 | 111.1522 | 168.2348 | 459.5179 | 585.398 | 62.0949 | 110.6968 | 159 | 26 | 216 | 142 | 584 | 716 | 214
1/(1+2) = % Curtailed of curtailable renewable resources | 10.97% | 4.216% | 0.07528% | 1.371% | 1.5% | 0.1353% | 0.09681% | 0.01997% | 0.09741% | 0.1125% | 0.7259% | 0% | 0.17% | 0.03842% | 0.05441% | 1.162% | 0.8084% | 0.3289% | 1.649% | 1.96% | 4.026% | 0.3261% | 8.279% | 0.8158% | 1.701% | 1.177% | 0.9083% | 0.7212% | 2.412% | 0.1706% | 0.5421% | 0.719% | 4.104% | 0.2545% | 0.3755% | 1.037% | 1.123% | 0.141% | 0.2124% | 0.2985% | 0.08065% | 0.3754% | 0.3272% | 1.53% | 1.853% | 0.4267%
3. MWh taken from firm renewable and utility hydro generating facilities | 63764.072 | 64516.901 | 57769.219 | 65127.288 | 60201.675 | 71676.826 | 63344.188 | 69939.244 | 70202.67 | 68745.851 | 52892.221 | 48570.968 | 50965 | 51337.009 | 66659.951 | 59917.013 | 55378.706 | 57159.325 | 68877.115 | 80595.397 | 74451.019 | 75697.242 | 81210.587 | 83320.102 | 81397.576 | 34506.469 | 4771.65 | 2936.69 | 2251.06 | 2974.06 | 2557.51 | 3686.96 | 3120.79 | 1606.07 | 373.61 | 9992.745 | 31758.913 | 48426.355 | 56665.791 | 55844.108 | 50312.745 | 58775.327 | 53346.192 | 52008.714 | 41168.197 | 46136.177
4. MWh taken from uncurtailable distributed renewable generation resources | 5072.4284 | 5635.0203 | 6681.9756 | 12857.3336 | 10685.3462 | 12094.3469 | 13279.8681 | 14176.9062 | 17424.8505 | 17742.5165 | 17606.1655 | 17488.9045 | 18341 | 19990.36 | 21818.023 | 23106.0179 | 24099.4999 | 25531.365 | 26143.2103 | 29243.75 | 28095.051 | 28780.589 | 30166.308 | 34072.314 | 34852.4823 | 35493.2268 | 36065.601 | 36595.9538 | 43541.954 | 44657.0708 | 46712.5272 | 42622.8909 | 41746.4603 | 50159.1969 | 51161.1388 | 43377.2365 | 42956.3536 | 53255.8382 | 52568.2026 | 46428.8492 | 51390.8127 | 51318.559 | 58866.6148 | 50275.9537 | 48551.5754 | 59696.9793
1/(1+2+3+4) = % Curtailed of all renewable energy resources | 5.127% | 2.036% | 0.03432% | 0.5725% | 0.6406% | 0.05251% | 0.03975% | 0.006807% | 0.02715% | 0.04356% | 0.3063% | 0% | 0.05% | 0.01794% | 0.01923% | 0.5353% | 0.2276% | 0.1426% | 0.6753% | 0.7739% | 1.127% | 0.08713% | 2.34% | 0.2398% | 0.5446% | 0.5869% | 0.5519% | 0.4205% | 0.9554% | 0.08898% | 0.2918% | 0.3956% | 2.367% | 0.1186% | 0.1756% | 0.4743% | 0.4738% | 0.04321% | 0.06958% | 0.104% | 0.01958% | 0.1315% | 0.09166% | 0.4213% | 0.5671% | 0.1392%
**
**