## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.086334 | 0.10066 | 0.12278 | 0.12794 | 0.12854 | 0.1397 | 0.13647 | 0.14361 | 0.15024 | 0.14349 | 0.1438 | 0.13377 | 0.1233 | 0.12736 | 0.12967 | 0.13216 | 0.14372 | 0.13451 | 0.11077 | 0.10098 | 0.095817 | 0.089276 | 0.088841 | 0.088268 | 0.087557 | 0.086708 | 0.085721 | 0.084597
Other_A | 0.19425 | 0.20976 | 0.23834 | 0.27756 | 0.25224 | 0.26379 | 0.28093 | 0.30294 | 0.31661 | 0.31235 | 0.29771 | 0.30483 | 0.28176 | 0.27597 | 0.26208 | 0.24358 | 0.2401 | 0.23864 | 0.24728 | 0.23676 | 0.20676 | 0.19896 | 0.17633 | 0.17549 | 0.17433 | 0.17287 | 0.1711 | 0.16903 | 0.16664
Peak_B | 0.037648 | 0.053296 | 0.060463 | 0.062124 | 0.049309 | 0.028936 | 0.027946 | 0.029666 | 0.028299 | 0.025997 | 0.023984 | 0.024354 | 0.026738 | 0.023005 | 0.025051 | 0.024054 | 0.023171 | 0.025367 | 0.023559 | 0.018113 | 0.018611 | 0.018438 | 0.017242 | 0.017193 | 0.017121 | 0.017027 | 0.01691 | 0.016771 | 0.016609
Other_B | 0.039618 | 0.035921 | 0.036948 | 0.037994 | 0.015314 | 0.0052973 | 0.0060063 | 0.0052067 | 0.0049179 | 0.00488 | 0.0030537 | 0.003011 | 0.0023681 | 0.0022208 | 0.0021811 | 0.0021467 | 0.0066271 | 0.0065055 | 0.0064751 | 0.0040394 | 0.0045393 | 0.0039729 | 0.00048572 | 0.00048403 | 0.00048201 | 0.00047966 | 0.00047696 | 0.00047393 | 0.00047057
Peak_C | 0.0032706 | 0.0052459 | 0.0058993 | 0.0074715 | 0.007667 | 0.0058135 | 0.0061931 | 0.0065512 | 0.0068585 | 0.0071611 | 0.0074618 | 0.0077663 | 0.0078157 | 0.0079122 | 0.0080323 | 0.0081537 | 0.0085313 | 0.0084282 | 0.0080701 | 0.0058059 | 0.0054265 | 0.0053926 | 0.0052729 | 0.0052549 | 0.0052285 | 0.0051937 | 0.0051504 | 0.0050986 | 0.0050385
Other_C | 0.012506 | 0.014009 | 0.015252 | 0.017006 | 0.017625 | 0.017661 | 0.018375 | 0.019046 | 0.0195 | 0.016482 | 0.014741 | 0.01529 | 0.015539 | 0.016634 | 0.016344 | 0.015994 | 0.016051 | 0.015828 | 0.015126 | 0.0079075 | 0.0065203 | 0.0060238 | 0.0056978 | 0.0056572 | 0.0056005 | 0.0055276 | 0.0054385 | 0.0053333 | 0.0052118
Peak_D | 0.034558 | 0.040712 | 0.04515 | 0.050594 | 0.05446 | 0.055343 | 0.058542 | 0.061445 | 0.059099 | 0.058409 | 0.050036 | 0.043438 | 0.028282 | 0.02708 | 0.027178 | 0.027369 | 0.0281 | 0.028126 | 0.026955 | 0.019323 | 0.017713 | 0.017273 | 0.0169 | 0.01685 | 0.016778 | 0.016685 | 0.01657 | 0.016435 | 0.016278
Other_D | 0.031776 | 0.042317 | 0.051813 | 0.058294 | 0.062074 | 0.055604 | 0.055401 | 0.058543 | 0.055139 | 0.055739 | 0.056783 | 0.057146 | 0.044119 | 0.04526 | 0.044529 | 0.039806 | 0.040006 | 0.043097 | 0.039889 | 0.03845 | 0.035896 | 0.035523 | 0.034632 | 0.034561 | 0.034461 | 0.034331 | 0.034172 | 0.033983 | 0.033764
Total | 0.42783 | 0.48759 | 0.55453 | 0.63382 | 0.58663 | 0.56099 | 0.5931 | 0.61986 | 0.63403 | 0.63126 | 0.59726 | 0.59964 | 0.5404 | 0.52138 | 0.51276 | 0.49077 | 0.49475 | 0.50972 | 0.50187 | 0.44117 | 0.39645 | 0.38141 | 0.34584 | 0.34433 | 0.34227 | 0.33967 | 0.33653 | 0.33284 | 0.32861
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.16054 | 0.2612 | 0.38398 | 0.51191 | 0.64046 | 0.78016 | 0.91663 | 1.0602 | 1.2105 | 1.354 | 1.4978 | 1.6315 | 1.7548 | 1.8822 | 2.0119 | 2.144 | 2.2878 | 2.4223 | 2.533 | 2.634 | 2.7298 | 2.8191 | 2.908 | 2.9962 | 3.0838 | 3.1705 | 3.2562 | 3.3408
Other_A | 0.19425 | 0.404 | 0.64234 | 0.9199 | 1.1721 | 1.4359 | 1.7169 | 2.0198 | 2.3364 | 2.6488 | 2.9465 | 3.2513 | 3.5331 | 3.8091 | 4.0711 | 4.3147 | 4.5548 | 4.7935 | 5.0407 | 5.2775 | 5.4843 | 5.6832 | 5.8596 | 6.035 | 6.2094 | 6.3823 | 6.5534 | 6.7224 | 6.889
Peak_B | 0.037648 | 0.090945 | 0.15141 | 0.21353 | 0.26284 | 0.29178 | 0.31972 | 0.34939 | 0.37769 | 0.40368 | 0.42767 | 0.45202 | 0.47876 | 0.50177 | 0.52682 | 0.55087 | 0.57404 | 0.59941 | 0.62297 | 0.64108 | 0.65969 | 0.67813 | 0.69537 | 0.71256 | 0.72969 | 0.74671 | 0.76362 | 0.78039 | 0.797
Other_B | 0.039618 | 0.075539 | 0.11249 | 0.15048 | 0.16579 | 0.17109 | 0.1771 | 0.18231 | 0.18722 | 0.1921 | 0.19516 | 0.19817 | 0.20054 | 0.20276 | 0.20494 | 0.20708 | 0.21371 | 0.22022 | 0.22669 | 0.23073 | 0.23527 | 0.23924 | 0.23973 | 0.24021 | 0.2407 | 0.24118 | 0.24165 | 0.24213 | 0.2426
Peak_C | 0.0032706 | 0.0085165 | 0.014416 | 0.021887 | 0.029554 | 0.035368 | 0.041561 | 0.048112 | 0.054971 | 0.062132 | 0.069594 | 0.07736 | 0.085176 | 0.093088 | 0.10112 | 0.10927 | 0.11781 | 0.12623 | 0.1343 | 0.14011 | 0.14554 | 0.15093 | 0.1562 | 0.16146 | 0.16668 | 0.17188 | 0.17703 | 0.18213 | 0.18717
Other_C | 0.012506 | 0.026515 | 0.041766 | 0.058772 | 0.076397 | 0.094059 | 0.11243 | 0.13148 | 0.15098 | 0.16746 | 0.1822 | 0.19749 | 0.21303 | 0.22967 | 0.24601 | 0.262 | 0.27805 | 0.29388 | 0.30901 | 0.31691 | 0.32343 | 0.32946 | 0.33516 | 0.34081 | 0.34641 | 0.35194 | 0.35738 | 0.36271 | 0.36793
Peak_D | 0.034558 | 0.07527 | 0.12042 | 0.17101 | 0.22547 | 0.28082 | 0.33936 | 0.4008 | 0.4599 | 0.51831 | 0.56835 | 0.61179 | 0.64007 | 0.66715 | 0.69433 | 0.72169 | 0.74979 | 0.77792 | 0.80487 | 0.8242 | 0.84191 | 0.85918 | 0.87608 | 0.89293 | 0.90971 | 0.9264 | 0.94297 | 0.9594 | 0.97568
Other_D | 0.031776 | 0.074092 | 0.12591 | 0.1842 | 0.24627 | 0.30188 | 0.35728 | 0.41582 | 0.47096 | 0.5267 | 0.58348 | 0.64063 | 0.68475 | 0.73001 | 0.77454 | 0.81434 | 0.85435 | 0.89744 | 0.93733 | 0.97578 | 1.0117 | 1.0472 | 1.0818 | 1.1164 | 1.1509 | 1.1852 | 1.2194 | 1.2533 | 1.2871
Total | 0.42783 | 0.91542 | 1.4699 | 2.1038 | 2.6904 | 3.2514 | 3.8445 | 4.4643 | 5.0984 | 5.7296 | 6.3269 | 6.9265 | 7.4669 | 7.9883 | 8.5011 | 8.9919 | 9.4866 | 9.9963 | 10.4982 | 10.9394 | 11.3358 | 11.7172 | 12.0631 | 12.4074 | 12.7497 | 13.0893 | 13.4259 | 13.7587 | 14.0873
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 58.3205 | 60.7172 | 62.9071 | 60.7095 | 61.3366 | 60.0558 | 63.1827 | 61.9145 | 60.9588 | 64.3189 | 64.6505 | 64.5628 | 64.1161 | 63.3733 | 64.5086 | 65.1658 | 65.7789 | 65.6372 | 70.2683 | 72.2493 | 72.1251 | 73.6132 | 73.6122 | 73.612 | 73.612 | 73.612 | 73.612 | 73.612
Other_A | -0.81124 | -0.65142 | 2.467 | 16.0571 | 43.6629 | 46.3374 | 46.6534 | 46.6953 | 44.3702 | 44.7239 | 43.458 | 43.817 | 44.4291 | 46.0157 | 44.0905 | 44.6734 | 44.059 | 43.2449 | 43.3666 | 43.7639 | 44.9919 | 45.7751 | 58.5863 | 62.2407 | 52.2162 | 52.2162 | 52.2162 | 52.2162 | 52.2162
Peak_B | 68.6356 | 61.8432 | 63.4568 | 18.2674 | 19.5531 | 46.8695 | 54.2726 | 57.8763 | 46.5978 | 57.5759 | 69.7417 | 89.7188 | 84.6887 | 70.7497 | 61.3696 | 66.0847 | 69.6193 | 87.3414 | 88.6341 | 86.6383 | 79.8319 | 66.794 | 66.8245 | 66.8446 | 66.7985 | 66.7985 | 66.7985 | 66.7985 | 66.7985
Other_B | 2.112 | 4.1762 | 5.6222 | 0.52008 | 22.9631 | 101.4091 | 96.3142 | 121.6437 | 134.763 | 133.6135 | 225.0923 | 236.7455 | 255.9536 | 264.4685 | 268.4179 | 271.5382 | 79.6862 | 80.7351 | 79.2036 | 26.2627 | 11.6159 | 14.4248 | 201.2014 | 201.2219 | 201.1639 | 201.1639 | 201.1639 | 201.1639 | 201.1639
Peak_C | 211.2057 | 201.7032 | 204.7614 | 208.4768 | 207.3085 | 216.5084 | 217.8036 | 219.0067 | 219.8472 | 220.4932 | 220.9665 | 221.3614 | 219.6354 | 220.6554 | 221.7146 | 222.6212 | 222.4478 | 223.4173 | 222.4449 | 237.2196 | 239.8011 | 239.5779 | 239.3321 | 239.3894 | 239.258 | 239.258 | 239.258 | 239.258 | 239.258
Other_C | 174.4781 | 174.5503 | 177.3206 | 180.777 | 180.7077 | 183.0216 | 183.9948 | 184.8958 | 185.6922 | 192.2112 | 195.8648 | 196.1969 | 193.2458 | 192.3117 | 192.1124 | 191.5719 | 191.6689 | 191.0114 | 190.57 | 205.7649 | 210.4806 | 214.0777 | 214.9199 | 214.7924 | 215.005 | 215.005 | 215.005 | 215.005 | 215.005
Peak_D | 789.4497 | 803.2078 | 830.1017 | 845.6406 | 865.1835 | 907.1431 | 922.5195 | 937.2007 | 961.3077 | 967.2986 | 1052.6537 | 1142.5581 | 795.6519 | 722.7608 | 727.7125 | 730.3451 | 725.0672 | 719.9531 | 718.0606 | 726.0152 | 721.4392 | 733.974 | 729.0126 | 728.9211 | 729.008 | 729.008 | 729.008 | 729.008 | 729.008
Other_D | 1125.5897 | 1013.9512 | 931.5896 | 935.3468 | 961.5777 | 1122.8113 | 1171.2011 | 1185.9052 | 1280.3581 | 1307.4899 | 1322.9784 | 1344.9757 | 1440.5306 | 1416.6647 | 1462.1932 | 1650.1648 | 1674.9527 | 1596.0658 | 1653.9314 | 1538.5778 | 1578.2654 | 1539.7124 | 1524.2512 | 1525.051 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736
Total | 170.3579 | 179.3614 | 181.0626 | 181.8756 | 224.465 | 248.0068 | 248.2107 | 253.4225 | 248.346 | 252.5123 | 262.6255 | 261.4243 | 212.4395 | 213.7668 | 217.5642 | 228.1578 | 229.7886 | 228.4722 | 223.4866 | 217.6313 | 227.6285 | 228.791 | 247.9411 | 250.2611 | 245.4596 | 246.0862 | 246.8427 | 247.7366 | 248.7768
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 59.5452 | 63.2941 | 66.9541 | 65.972 | 68.0532 | 68.0313 | 73.0766 | 73.1136 | 73.4968 | 79.1765 | 81.2559 | 82.8498 | 84.0044 | 84.7747 | 88.1057 | 90.8723 | 93.6535 | 95.4142 | 104.2914 | 109.4835 | 111.5904 | 116.2845 | 118.725 | 121.2178 | 123.7634 | 126.3624 | 129.0161 | 131.7254
Other_A | -0.81124 | -0.6651 | 2.5717 | 17.0901 | 47.4478 | 51.4115 | 52.8492 | 54.0074 | 52.3959 | 53.9226 | 53.4967 | 55.0714 | 57.0133 | 60.2894 | 58.9801 | 61.0148 | 61.4393 | 61.5705 | 63.0404 | 64.9539 | 68.1787 | 70.8223 | 92.5471 | 100.3845 | 85.9851 | 87.7907 | 89.6344 | 91.5167 | 93.4385
Peak_B | 68.6356 | 63.1419 | 66.15 | 19.4426 | 21.248 | 52.0019 | 61.4801 | 66.9393 | 55.0264 | 69.418 | 85.8518 | 112.7629 | 108.6762 | 92.6957 | 82.0944 | 90.2583 | 97.0826 | 124.3534 | 128.844 | 128.5876 | 120.9738 | 103.3422 | 105.5606 | 107.8099 | 109.998 | 112.3079 | 114.6664 | 117.0744 | 119.533
Other_B | 2.112 | 4.2639 | 5.8609 | 0.55353 | 24.9536 | 112.5138 | 109.1051 | 140.6921 | 159.139 | 161.095 | 277.0883 | 297.5534 | 328.4507 | 346.5043 | 359.0639 | 370.866 | 111.1207 | 114.9477 | 115.1352 | 38.9788 | 17.6023 | 22.3177 | 317.8318 | 324.5393 | 331.2591 | 338.2155 | 345.318 | 352.5697 | 359.9737
Peak_C | 211.2057 | 205.939 | 213.4517 | 221.8886 | 225.2787 | 240.2168 | 246.7286 | 253.3014 | 259.6132 | 265.844 | 272.0094 | 278.2179 | 281.8456 | 289.1008 | 296.5887 | 304.0553 | 310.1988 | 318.0932 | 323.3596 | 352.0787 | 363.3842 | 370.6699 | 378.0656 | 386.0975 | 393.9891 | 402.2629 | 410.7104 | 419.3353 | 428.1414
Other_C | 174.4781 | 178.2159 | 184.8462 | 192.4067 | 196.372 | 203.0631 | 208.4299 | 213.8491 | 219.2803 | 231.745 | 241.1092 | 246.5899 | 247.9813 | 251.9651 | 256.9897 | 261.6483 | 267.2782 | 271.9549 | 277.0243 | 305.3939 | 318.9532 | 331.2166 | 339.5026 | 346.4264 | 354.0515 | 361.4865 | 369.0778 | 376.8284 | 384.7418
Peak_D | 789.4497 | 820.0752 | 865.3321 | 900.0426 | 940.1804 | 1006.4786 | 1045.033 | 1083.9589 | 1135.1894 | 1166.2516 | 1295.8148 | 1436.0231 | 1021.0148 | 946.9548 | 973.4648 | 997.5031 | 1011.0908 | 1025.0424 | 1043.8172 | 1077.5435 | 1093.2376 | 1135.5892 | 1151.5992 | 1175.6352 | 1200.4667 | 1225.6765 | 1251.4157 | 1277.6954 | 1304.5271
Other_D | 1125.5897 | 1035.2442 | 971.1271 | 995.5197 | 1044.9303 | 1245.7631 | 1326.7403 | 1371.6085 | 1511.9498 | 1576.4131 | 1628.584 | 1690.4316 | 1848.5508 | 1856.1015 | 1955.9834 | 2253.79 | 2335.6857 | 2272.419 | 2404.2567 | 2283.5397 | 2391.6349 | 2382.2107 | 2407.8137 | 2459.6677 | 2508.0646 | 2560.7339 | 2614.5093 | 2669.414 | 2725.4717
Total | 170.3579 | 183.128 | 188.7471 | 193.5761 | 243.9224 | 275.1644 | 281.1738 | 293.1064 | 293.2669 | 304.4488 | 323.2915 | 328.571 | 272.6115 | 280.0754 | 291.0367 | 311.6173 | 320.4353 | 325.2903 | 324.874 | 323.0058 | 344.9384 | 353.9807 | 391.6651 | 403.6318 | 404.2013 | 413.7431 | 423.7304 | 434.1954 | 445.1749
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Lanai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2168 | 0.2554 | 0.050647 | 0.55756 | 0.60805 | 0.0023263 | 0.040359 | 0.12309
Ventilation | Ventilation | 0.27998 | 0.017457 | 0.033839 | 0.061734 | 0.15359 | 0.004712 | 0.035289 | 0.039039
Water Heating | Water Heating | 0.055525 | 0.0029599 | 0.010416 | 0.011693 | 1.4424 | 0.0019821 | 0.017553 | 0.06566
Interior Lighting | Interior Lighting | 0.067235 | 0.42953 | 0.0098935 | 0.042997 | 1.5813 | 0.18942 | 0.023534 | 0.058045
Exterior Lighting | Exterior Lighting | 0.027702 | 0.054322 | 0.0059452 | 0.013038 | 0.22405 | 0.087381 | 0.0051245 | 0.069507
Appliances | Res Appliances | 0.0093809 | 0.010355 | 0.024575 | 0.035913 | 0.23778 | 0.00032957 | 0.039304 | 0.55284
Refrigeration | Com Refrigeration | 0.037538 | 0.00010515 | 0.00023473 | 0.016388 | 0.36094 | 0.015546 | 0.056707 | 0.096018
Electronics | Electronics | 0.11483 | 0.0021958 | 0.0050253 | 0.0011956 | 0.096804 | 0.001012 | 0.053266 | 0.016791
Office Equipment | Electronics | 0.0058409 | 0 | 0 | 0.0022599 | 0.15576 | 0.00784 | 8.6958e-05 | 0.011114
Food Preparation | Food Preparation | 0.0094283 | 0.0013658 | 0 | 2.3411e-05 | 0.063224 | 0.001983 | 6.4376e-07 | 8.5159e-05
Miscellaneous | Miscellaneous | 0.035271 | 0.004429 | 0.010521 | 0.002783 | 0.18623 | 0.00012498 | 0.055802 | 0.053632
| Total | 2.8596 | 0.77813 | 0.1511 | 0.74558 | 5.1102 | 0.31266 | 0.32703 | 1.0858