## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.472 | 6.4645 | 7.4859 | 8.517 | 9.4731 | 10.3869 | 11.3525 | 11.9269 | 12.1139 | 12.5399 | 11.9792 | 11.9024 | 9.2674 | 8.4369 | 8.082 | 7.813 | 7.7063 | 8.2603 | 7.7966 | 6.5291 | 5.6922 | 5.4272 | 4.798 | 4.7707 | 4.7329 | 4.6846 | 4.6258 | 4.5565 | 4.4766
Other_A | 6.4825 | 7.2114 | 7.9965 | 8.5538 | 8.6919 | 7.112 | 7.2157 | 7.5572 | 7.6646 | 7.7582 | 7.3308 | 7.3507 | 7.2169 | 6.2675 | 6.3538 | 4.8726 | 4.6831 | 4.7891 | 5.0454 | 4.8739 | 4.3516 | 4.0372 | 3.4562 | 3.4322 | 3.3997 | 3.3587 | 3.3093 | 3.2514 | 3.185
Peak_B | 2.4169 | 2.3752 | 2.5132 | 2.5033 | 2.0878 | 1.8507 | 1.8024 | 1.789 | 1.7544 | 1.776 | 1.7396 | 1.7641 | 1.8055 | 1.7521 | 1.6875 | 1.6503 | 1.5174 | 1.5664 | 1.426 | 0.99387 | 0.91002 | 0.9797 | 0.88584 | 0.88344 | 0.8791 | 0.87284 | 0.86464 | 0.85451 | 0.84245
Other_B | 1.0281 | 0.71705 | 0.68973 | 0.70464 | 0.4035 | 0.22898 | 0.15577 | 0.15102 | 0.13539 | 0.13947 | 0.11439 | 0.11408 | 0.095642 | 0.089542 | 0.087616 | 0.085798 | 0.20542 | 0.20411 | 0.19616 | 0.15044 | 0.1387 | 0.1283 | 0.032137 | 0.032043 | 0.031924 | 0.031778 | 0.031607 | 0.03141 | 0.031187
Peak_C | 0.41463 | 0.49324 | 0.61385 | 0.70408 | 0.77743 | 0.85179 | 0.92456 | 0.99344 | 0.99156 | 1.005 | 1.0183 | 1.034 | 0.6888 | 0.66869 | 0.65794 | 0.64692 | 0.63857 | 0.68783 | 0.65994 | 0.50574 | 0.46984 | 0.44452 | 0.43733 | 0.43535 | 0.4327 | 0.4294 | 0.42543 | 0.42081 | 0.41552
Other_C | 0.11093 | 0.12459 | 0.13516 | 0.14501 | 0.15488 | 0.16336 | 0.17236 | 0.1807 | 0.19136 | 0.20337 | 0.18925 | 0.19355 | 0.1979 | 0.21951 | 0.2101 | 0.2005 | 0.18479 | 0.17632 | 0.1592 | 0.14291 | 0.12864 | 0.11635 | 0.1005 | 0.099724 | 0.098707 | 0.097451 | 0.095956 | 0.094222 | 0.09225
Peak_D | 2.1378 | 2.5299 | 3.0997 | 3.4918 | 3.8528 | 4.2538 | 4.5307 | 4.8162 | 4.7494 | 4.6843 | 4.6357 | 4.5295 | 2.4368 | 2.2593 | 2.1704 | 2.0922 | 2.0486 | 2.2205 | 2.1097 | 1.6628 | 1.5194 | 1.4528 | 1.4379 | 1.4324 | 1.425 | 1.4154 | 1.4039 | 1.3903 | 1.3747
Other_D | 0.70582 | 0.76753 | 0.82347 | 0.86748 | 0.90928 | 0.9079 | 0.94333 | 0.97831 | 0.99195 | 1.0101 | 1.0226 | 1.0298 | 0.93466 | 0.92442 | 0.93192 | 0.94 | 0.92045 | 0.92718 | 0.85558 | 0.7245 | 0.68449 | 0.65789 | 0.51981 | 0.51714 | 0.51345 | 0.50874 | 0.50303 | 0.4963 | 0.48855
Total | 18.7687 | 20.6834 | 23.3574 | 25.4871 | 26.3507 | 25.7554 | 27.0973 | 28.3928 | 28.5925 | 29.1164 | 28.0299 | 27.9182 | 22.6436 | 20.618 | 20.1813 | 18.3013 | 17.9047 | 18.8318 | 18.2485 | 15.5832 | 13.8949 | 13.2439 | 11.6676 | 11.603 | 11.5134 | 11.399 | 11.2596 | 11.0954 | 10.9062
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 5.472 | 11.9365 | 19.4223 | 27.9393 | 37.4124 | 47.7993 | 59.1519 | 71.0788 | 83.1927 | 95.7326 | 107.7118 | 119.6142 | 128.8816 | 137.3186 | 145.4005 | 153.2135 | 160.9198 | 169.1802 | 176.9768 | 183.5059 | 189.198 | 194.6252 | 199.4232 | 204.1939 | 208.9268 | 213.6114 | 218.2372 | 222.7936 | 227.2702
Other_A | 6.4825 | 13.694 | 21.6905 | 30.2442 | 38.9361 | 46.048 | 53.2637 | 60.8209 | 68.4855 | 76.2438 | 83.5746 | 90.9253 | 98.1422 | 104.4096 | 110.7634 | 115.636 | 120.3191 | 125.1082 | 130.1536 | 135.0275 | 139.3791 | 143.4163 | 146.8725 | 150.3046 | 153.7043 | 157.063 | 160.3723 | 163.6236 | 166.8086
Peak_B | 2.4169 | 4.7921 | 7.3053 | 9.8086 | 11.8964 | 13.7471 | 15.5495 | 17.3385 | 19.0929 | 20.8689 | 22.6085 | 24.3726 | 26.1782 | 27.9303 | 29.6178 | 31.268 | 32.7854 | 34.3518 | 35.7778 | 36.7717 | 37.6817 | 38.6614 | 39.5472 | 40.4307 | 41.3098 | 42.1826 | 43.0473 | 43.9018 | 44.7442
Other_B | 1.0281 | 1.7451 | 2.4348 | 3.1395 | 3.543 | 3.772 | 3.9277 | 4.0788 | 4.2141 | 4.3536 | 4.468 | 4.5821 | 4.6777 | 4.7673 | 4.8549 | 4.9407 | 5.1461 | 5.3502 | 5.5464 | 5.6968 | 5.8355 | 5.9638 | 5.996 | 6.028 | 6.0599 | 6.0917 | 6.1233 | 6.1547 | 6.1859
Peak_C | 0.41463 | 0.90787 | 1.5217 | 2.2258 | 3.0032 | 3.855 | 4.7796 | 5.773 | 6.7646 | 7.7696 | 8.7879 | 9.8219 | 10.5107 | 11.1794 | 11.8373 | 12.4842 | 13.1228 | 13.8106 | 14.4706 | 14.9763 | 15.4461 | 15.8907 | 16.328 | 16.7634 | 17.1961 | 17.6255 | 18.0509 | 18.4717 | 18.8872
Other_C | 0.11093 | 0.23552 | 0.37068 | 0.51569 | 0.67057 | 0.83394 | 1.0063 | 1.187 | 1.3784 | 1.5817 | 1.771 | 1.9645 | 2.1624 | 2.3819 | 2.592 | 2.7925 | 2.9773 | 3.1537 | 3.3129 | 3.4558 | 3.5844 | 3.7008 | 3.8013 | 3.901 | 3.9997 | 4.0971 | 4.1931 | 4.2873 | 4.3796
Peak_D | 2.1378 | 4.6677 | 7.7674 | 11.2592 | 15.1121 | 19.3658 | 23.8965 | 28.7128 | 33.4621 | 38.1464 | 42.7821 | 47.3116 | 49.7484 | 52.0077 | 54.1781 | 56.2704 | 58.319 | 60.5395 | 62.6492 | 64.312 | 65.8314 | 67.2842 | 68.7221 | 70.1545 | 71.5794 | 72.9949 | 74.3988 | 75.7891 | 77.1638
Other_D | 0.70582 | 1.4734 | 2.2968 | 3.1643 | 4.0736 | 4.9815 | 5.9248 | 6.9031 | 7.8951 | 8.9051 | 9.9277 | 10.9575 | 11.8922 | 12.8166 | 13.7485 | 14.6885 | 15.609 | 16.5362 | 17.3917 | 18.1162 | 18.8007 | 19.4586 | 19.9785 | 20.4956 | 21.009 | 21.5178 | 22.0208 | 22.5171 | 23.0057
Total | 18.7687 | 39.4521 | 62.8095 | 88.2966 | 114.6474 | 140.4027 | 167.5 | 195.8929 | 224.4854 | 253.6017 | 281.6316 | 309.5498 | 332.1934 | 352.8113 | 372.9926 | 391.2939 | 409.1986 | 428.0304 | 446.2789 | 461.8622 | 475.757 | 489.0009 | 500.6686 | 512.2716 | 523.785 | 535.184 | 546.4436 | 557.539 | 568.4452
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.71084 | 1.1667 | 1.2279 | 1.2769 | 1.5807 | 1.7759 | 1.8853 | 1.958 | 1.8245 | 1.8801 | 2.1095 | 1.5462 | 1.6725 | 1.3851 | 0.93852 | 1.3037 | 1.3176 | 1.0731 | 1.4058 | 0.98337 | 0.85342 | 0.90557 | 0.81733 | 0.86829 | 0.79259 | 0.73022 | 0.73184 | 0.83767 | 0.64047
Other_A | 0.75827 | 0.9097 | 1.0514 | 0.99177 | 1.1117 | 0.97683 | 0.90723 | 0.99747 | 1.0059 | 0.89953 | 1.0034 | 0.85982 | 0.91039 | 0.82723 | 0.73286 | 0.62318 | 0.64323 | 0.56018 | 0.63367 | 0.63966 | 0.50455 | 0.51634 | 0.47322 | 0.43815 | 0.46171 | 0.46334 | 0.4664 | 0.4969 | 0.42962
Peak_B | 0.48849 | 0.50762 | 0.51457 | 0.51143 | 0.43034 | 0.38528 | 0.3716 | 0.36717 | 0.35016 | 0.36284 | 0.36567 | 0.35655 | 0.38588 | 0.35959 | 0.33071 | 0.34016 | 0.31588 | 0.3166 | 0.30459 | 0.19837 | 0.18592 | 0.20194 | 0.18393 | 0.19005 | 0.18338 | 0.17937 | 0.18017 | 0.18976 | 0.18578
Other_B | 0.14055 | 0.098929 | 0.10376 | 0.093811 | 0.057249 | 0.03685 | 0.021476 | 0.022815 | 0.020613 | 0.018568 | 0.018353 | 0.015596 | 0.013195 | 0.013527 | 0.011907 | 0.012173 | 0.033059 | 0.027904 | 0.026937 | 0.022906 | 0.018466 | 0.018204 | 0.0051654 | 0.0044685 | 0.0049498 | 0.0050652 | 0.005139 | 0.0055766 | 0.0048577
Peak_C | 0.06394 | 0.083514 | 0.097227 | 0.11004 | 0.1251 | 0.13864 | 0.15139 | 0.15785 | 0.15582 | 0.15707 | 0.16736 | 0.15944 | 0.11663 | 0.10625 | 0.09778 | 0.1041 | 0.10393 | 0.10607 | 0.1114 | 0.079476 | 0.073429 | 0.071533 | 0.070953 | 0.074448 | 0.070324 | 0.070098 | 0.070542 | 0.073998 | 0.0709
Other_C | 0.012474 | 0.014747 | 0.015921 | 0.015729 | 0.018122 | 0.019946 | 0.020139 | 0.021521 | 0.02306 | 0.02206 | 0.023188 | 0.021765 | 0.023424 | 0.026142 | 0.022923 | 0.02346 | 0.022562 | 0.019827 | 0.018628 | 0.017221 | 0.013954 | 0.013613 | 0.01224 | 0.011896 | 0.011971 | 0.012114 | 0.012073 | 0.012277 | 0.011309
Peak_D | 0.331 | 0.47075 | 0.52767 | 0.57677 | 0.66493 | 0.76465 | 0.78677 | 0.81969 | 0.76775 | 0.77374 | 0.85286 | 0.7013 | 0.45343 | 0.38452 | 0.31276 | 0.36108 | 0.36826 | 0.3438 | 0.39255 | 0.2688 | 0.25097 | 0.25073 | 0.25768 | 0.26843 | 0.2466 | 0.2355 | 0.23648 | 0.26559 | 0.23074
Other_D | 0.074085 | 0.10563 | 0.11526 | 0.10737 | 0.12579 | 0.13183 | 0.12887 | 0.13744 | 0.13764 | 0.12502 | 0.14834 | 0.10809 | 0.12863 | 0.12987 | 0.094187 | 0.13004 | 0.13365 | 0.097319 | 0.11722 | 0.10053 | 0.084718 | 0.091014 | 0.075231 | 0.071464 | 0.072829 | 0.071765 | 0.071278 | 0.074607 | 0.0537
Total | 2.5797 | 3.3576 | 3.6537 | 3.6838 | 4.1139 | 4.2299 | 4.2728 | 4.4819 | 4.2855 | 4.2389 | 4.6886 | 3.7688 | 3.7041 | 3.2322 | 2.5416 | 2.8979 | 2.9382 | 2.5448 | 3.0108 | 2.3103 | 1.9854 | 2.0689 | 1.8958 | 1.9272 | 1.8444 | 1.7675 | 1.7739 | 1.9564 | 1.6274
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.71084 | 1.8775 | 3.1054 | 4.3823 | 5.963 | 7.7389 | 9.6242 | 11.5822 | 13.4067 | 15.2868 | 17.3963 | 18.9424 | 20.615 | 22 | 22.9385 | 24.2422 | 25.5598 | 26.6329 | 28.0387 | 29.0221 | 29.8755 | 30.7811 | 31.5984 | 32.4667 | 33.2593 | 33.9895 | 34.7213 | 35.559 | 36.1995
Other_A | 0.75827 | 1.668 | 2.7194 | 3.7111 | 4.8228 | 5.7996 | 6.7068 | 7.7043 | 8.7102 | 9.6098 | 10.6132 | 11.473 | 12.3834 | 13.2106 | 13.9435 | 14.5667 | 15.2099 | 15.7701 | 16.4037 | 17.0434 | 17.5479 | 18.0643 | 18.5375 | 18.9757 | 19.4374 | 19.9007 | 20.3671 | 20.864 | 21.2936
Peak_B | 0.48849 | 0.99611 | 1.5107 | 2.0221 | 2.4525 | 2.8377 | 3.2093 | 3.5765 | 3.9267 | 4.2895 | 4.6552 | 5.0117 | 5.3976 | 5.7572 | 6.0879 | 6.428 | 6.7439 | 7.0605 | 7.3651 | 7.5635 | 7.7494 | 7.9513 | 8.1353 | 8.3253 | 8.5087 | 8.6881 | 8.8682 | 9.058 | 9.2438
Other_B | 0.14055 | 0.23948 | 0.34324 | 0.43705 | 0.4943 | 0.53115 | 0.55263 | 0.57544 | 0.59605 | 0.61462 | 0.63298 | 0.64857 | 0.66177 | 0.67529 | 0.6872 | 0.69937 | 0.73243 | 0.76034 | 0.78727 | 0.81018 | 0.82864 | 0.84685 | 0.85201 | 0.85648 | 0.86143 | 0.8665 | 0.87164 | 0.87721 | 0.88207
Peak_C | 0.06394 | 0.14745 | 0.24468 | 0.35472 | 0.47982 | 0.61846 | 0.76985 | 0.9277 | 1.0835 | 1.2406 | 1.408 | 1.5674 | 1.684 | 1.7903 | 1.8881 | 1.9922 | 2.0961 | 2.2022 | 2.3136 | 2.393 | 2.4665 | 2.538 | 2.6089 | 2.6834 | 2.7537 | 2.8238 | 2.8944 | 2.9684 | 3.0393
Other_C | 0.012474 | 0.027221 | 0.043142 | 0.058871 | 0.076993 | 0.09694 | 0.11708 | 0.1386 | 0.16166 | 0.18372 | 0.20691 | 0.22867 | 0.2521 | 0.27824 | 0.30116 | 0.32462 | 0.34718 | 0.36701 | 0.38564 | 0.40286 | 0.41681 | 0.43043 | 0.44267 | 0.45456 | 0.46653 | 0.47865 | 0.49072 | 0.503 | 0.51431
Peak_D | 0.331 | 0.80175 | 1.3294 | 1.9062 | 2.5711 | 3.3358 | 4.1225 | 4.9422 | 5.71 | 6.4837 | 7.3366 | 8.0379 | 8.4913 | 8.8758 | 9.1886 | 9.5497 | 9.9179 | 10.2617 | 10.6543 | 10.9231 | 11.1741 | 11.4248 | 11.6825 | 11.9509 | 12.1975 | 12.433 | 12.6695 | 12.9351 | 13.1658
Other_D | 0.074085 | 0.17971 | 0.29498 | 0.40234 | 0.52813 | 0.65996 | 0.78883 | 0.92626 | 1.0639 | 1.1889 | 1.3373 | 1.4453 | 1.574 | 1.7038 | 1.798 | 1.9281 | 2.0617 | 2.159 | 2.2763 | 2.3768 | 2.4615 | 2.5525 | 2.6278 | 2.6992 | 2.772 | 2.8438 | 2.9151 | 2.9897 | 3.0434
Total | 2.5797 | 5.9372 | 9.5909 | 13.2747 | 17.3886 | 21.6185 | 25.8913 | 30.3732 | 34.6587 | 38.8976 | 43.5863 | 47.355 | 51.0591 | 54.2913 | 56.8329 | 59.7308 | 62.669 | 65.2137 | 68.2246 | 70.5349 | 72.5203 | 74.5893 | 76.485 | 78.4122 | 80.2566 | 82.0241 | 83.798 | 85.7544 | 87.3817
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 57.9762 | 57.9305 | 58.5491 | 58.0614 | 57.85 | 57.6857 | 56.5728 | 57.1991 | 56.7482 | 55.9176 | 57.2511 | 57.8157 | 57.3518 | 67.0753 | 66.216 | 66.891 | 67.1829 | 67.4789 | 67.3728 | 70.9709 | 72.6102 | 71.7478 | 73.9298 | 75.4319 | 74.2139 | 74.2139 | 74.2139 | 74.2139 | 74.2139
Other_A | -3.4561 | -13.1334 | -20.8894 | -23.2603 | -21.2416 | 31.1797 | 35.896 | 35.4179 | 31.2924 | 31.8747 | 31.7137 | 32.1016 | 34.2874 | 39.6071 | 39.7963 | 39.3346 | 40.1202 | 39.5053 | 40.001 | 36.7144 | 37.3657 | 37.6425 | 37.6571 | 37.6585 | 37.654 | 37.654 | 37.654 | 37.654 | 37.654
Peak_B | 54.1849 | 69.0902 | 71.0474 | 35.0785 | 39.3918 | 58.1797 | 67.7683 | 74.7973 | 71.4235 | 76.2685 | 80.4976 | 83.4473 | 82.0308 | 81.0872 | 76.6926 | 77.5384 | 81.0718 | 80.661 | 106.9999 | 86.5342 | 85.7857 | 73.726 | 69.6078 | 69.5889 | 69.6186 | 69.6186 | 69.6186 | 69.6186 | 69.6186
Other_B | 6.2416 | 14.1316 | 17.4846 | 14.4344 | 39.1399 | 85.7729 | 141.3683 | 155.9307 | 181.3406 | 181.9007 | 227.488 | 234.6454 | 252.0167 | 253.1907 | 256.9423 | 260.1627 | 93.9079 | 92.3077 | 93.5008 | 51.3535 | 44.461 | 47.0672 | 216.6801 | 216.6858 | 216.6683 | 216.6683 | 216.6683 | 216.6683 | 216.6683
Peak_C | 157.5605 | 158.8148 | 145.9245 | 147.3738 | 147.6279 | 147.4717 | 147.0928 | 146.6672 | 168.2268 | 169.3392 | 170.0543 | 170.7091 | 179.4805 | 177.909 | 178.756 | 179.8587 | 180.7643 | 178.7521 | 179.7364 | 179.7117 | 181.7291 | 184.0885 | 184.109 | 183.7156 | 184.3925 | 184.3925 | 184.3925 | 184.3925 | 184.3925
Other_C | 233.7552 | 232.9337 | 232.4831 | 232.2764 | 232.1156 | 232.0829 | 231.9586 | 231.7939 | 219.0546 | 218.8053 | 221.0489 | 221.4708 | 221.0923 | 219.6586 | 219.7387 | 221.6667 | 223.7018 | 225.5641 | 228.1859 | 230.1352 | 232.9889 | 236.2244 | 235.7017 | 235.7426 | 235.637 | 235.637 | 235.637 | 235.637 | 235.637
Peak_D | 615.6219 | 624.8402 | 591.0944 | 594.4375 | 598.4834 | 598.3529 | 599.6107 | 601.0809 | 601.1722 | 602.6596 | 601.4858 | 592.8793 | 487.0584 | 452.2003 | 459.2585 | 466.7121 | 474.8775 | 449.7707 | 449.9613 | 432.8524 | 440.3494 | 461.8357 | 466.6299 | 466.4399 | 466.792 | 466.792 | 466.792 | 466.792 | 466.792
Other_D | 2190.7529 | 2188.9671 | 2189.8668 | 2210.9808 | 2232.6183 | 2304.6489 | 2310.2372 | 2310.8474 | 2308.2524 | 2295.1053 | 2291.4578 | 2279.3917 | 2140.532 | 2134.9232 | 2132.7082 | 2132.9124 | 2178.8172 | 2180.763 | 2250.2963 | 2348.4654 | 2369.1225 | 2367.6363 | 1892.5829 | 1893.2319 | 1891.405 | 1891.405 | 1891.405 | 1891.405 | 1891.405
Total | 180.3994 | 184.7979 | 180.6001 | 177.5256 | 187.7772 | 223.2309 | 225.7558 | 227.1874 | 224.9096 | 222.0505 | 229.4266 | 227.4607 | 190.1672 | 200.8588 | 202.5653 | 218.9345 | 222.4579 | 216.3991 | 215.2253 | 210.5497 | 220.6727 | 223.3142 | 198.1923 | 198.934 | 198.6133 | 198.8673 | 199.1861 | 199.5742 | 200.0375
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 57.9762 | 59.1471 | 61.034 | 61.7966 | 62.8646 | 64.0025 | 64.0859 | 66.156 | 67.0128 | 67.4187 | 70.476 | 72.6657 | 73.5963 | 87.8815 | 88.5775 | 91.3595 | 93.6852 | 96.0739 | 97.9372 | 105.3342 | 110.0303 | 111.0067 | 116.7847 | 121.6597 | 122.2089 | 124.7753 | 127.3956 | 130.0709 | 132.8024
Other_A | -3.4561 | -13.4092 | -21.7759 | -24.7567 | -23.0829 | 34.5939 | 40.6631 | 40.9641 | 36.9526 | 38.4306 | 39.0396 | 40.3468 | 43.9991 | 51.8929 | 53.2358 | 53.723 | 55.9467 | 56.2461 | 58.1479 | 54.4911 | 56.6223 | 58.2397 | 59.4859 | 60.7373 | 62.0053 | 63.3074 | 64.6369 | 65.9942 | 67.3801
Peak_B | 54.1849 | 70.5411 | 74.0627 | 37.3352 | 42.8065 | 64.5506 | 76.7682 | 86.5099 | 84.3427 | 91.9554 | 99.0924 | 104.8806 | 105.2655 | 106.2397 | 102.5921 | 105.9017 | 113.0529 | 114.8422 | 155.5417 | 128.4331 | 129.9959 | 114.0673 | 109.9573 | 112.236 | 114.6418 | 117.0493 | 119.5074 | 122.017 | 124.5794
Other_B | 6.2416 | 14.4284 | 18.2267 | 15.363 | 42.5327 | 95.1653 | 160.1424 | 180.3482 | 214.1415 | 219.3138 | 280.0374 | 294.9138 | 323.3986 | 331.7282 | 343.713 | 355.3295 | 130.9525 | 131.4243 | 135.9185 | 76.2184 | 67.3742 | 72.8215 | 342.283 | 349.4802 | 356.7905 | 364.2831 | 371.933 | 379.7436 | 387.7182
Peak_C | 157.5605 | 162.1499 | 152.1177 | 156.8546 | 160.4248 | 163.6203 | 166.6272 | 169.6341 | 198.6557 | 204.1687 | 209.3366 | 214.5556 | 230.3171 | 233.0948 | 239.1228 | 245.6505 | 252.0719 | 254.5006 | 261.2759 | 266.7261 | 275.3844 | 284.8179 | 290.8314 | 296.3044 | 303.6415 | 310.018 | 316.5283 | 323.1754 | 329.9621
Other_C | 233.7552 | 237.8253 | 242.3499 | 247.2192 | 252.2362 | 257.4968 | 262.7635 | 268.0909 | 258.6772 | 263.809 | 272.1108 | 278.3553 | 283.7152 | 287.7947 | 293.9456 | 302.7517 | 311.9474 | 321.1498 | 331.7051 | 341.564 | 353.0612 | 365.4814 | 372.3309 | 380.2158 | 388.0264 | 396.1749 | 404.4946 | 412.989 | 421.6618
Peak_D | 615.6219 | 637.9618 | 616.1811 | 632.679 | 650.3619 | 663.8747 | 679.2409 | 695.2054 | 709.9125 | 726.614 | 740.4279 | 745.1599 | 625.0143 | 592.4689 | 614.3524 | 637.4339 | 662.2065 | 640.3667 | 654.0916 | 642.4346 | 667.2864 | 714.5425 | 737.1212 | 752.2942 | 768.6723 | 784.8145 | 801.2956 | 818.1228 | 835.3034
Other_D | 2190.7529 | 2234.9354 | 2282.8069 | 2353.2182 | 2426.1489 | 2557.0162 | 2617.044 | 2672.7077 | 2725.7702 | 2767.1602 | 2820.7804 | 2864.8515 | 2746.8227 | 2797.1574 | 2852.9347 | 2913.1253 | 3038.3141 | 3104.8891 | 3271.1696 | 3485.5656 | 3590.0654 | 3663.1574 | 2989.6562 | 3053.4857 | 3114.6005 | 3180.0071 | 3246.7873 | 3314.9698 | 3384.5842
Total | 180.3994 | 188.6786 | 188.265 | 188.9462 | 204.0544 | 247.6755 | 255.7369 | 262.7632 | 265.5914 | 267.7216 | 282.4238 | 285.8837 | 244.0307 | 263.1635 | 270.9726 | 299.02 | 310.2128 | 308.1009 | 312.8648 | 312.4954 | 334.3978 | 345.5071 | 313.0783 | 320.8493 | 327.0591 | 334.3543 | 341.9229 | 349.7836 | 357.9581
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 446293.3803 | 320994.3731 | 356951.3439 | 387260.4286 | 346698.4711 | 337394.8465 | 340659.2874 | 348421.449 | 376780.035 | 372961.4367 | 325118.1168 | 445058.1976 | 317787.5415 | 408581.4297 | 570212.3162 | 400881.5939 | 392942.5987 | 519443.9252 | 373641.3503 | 471211.5919 | 484298.3009 | 429988.5674 | 433990.5166 | 414449.3556 | 443162.4494 | 476108.8876 | 469091.648 | 403679.7331 | 518719.9237
Other_A | -29546.1862 | -104111.7462 | -158877.9974 | -200614.58 | -166084.3011 | 227008.75 | 285499.7019 | 268340.7745 | 238432.2212 | 274910.9374 | 231698.3048 | 274439.8379 | 271804.6989 | 300079.8186 | 345030.4635 | 307549.6347 | 292101.7415 | 337734.8976 | 318497.3408 | 279745.1038 | 322269.5204 | 294319.9426 | 275028.1963 | 294987.9291 | 277254.8236 | 272949.4667 | 267165.9188 | 246379.9133 | 279151.0508
Peak_B | 268093.0391 | 323272.6722 | 347002.346 | 171701.4947 | 191110.3787 | 279471.9859 | 328695.2737 | 364452.3153 | 357840.6666 | 373317.2753 | 382950.5432 | 412875.7571 | 383821.931 | 395100.0138 | 391336.096 | 376178.9938 | 389436.3776 | 399090.1784 | 500927.7493 | 433547.157 | 419901.5017 | 357683.0398 | 335233.8378 | 323476.1478 | 333742.3434 | 338774.4745 | 334109.8713 | 313509.6495 | 315689.8392
Other_B | 45655.4563 | 102427.6427 | 116222.8974 | 108421.0101 | 275866.0281 | 532979.2644 | 1025349.8324 | 1032175.6346 | 1191045.6689 | 1366312.4664 | 1417876.2009 | 1716364.1618 | 1826645.9665 | 1675983.3484 | 1890663.6433 | 1833680.6595 | 583528.7708 | 675204.8797 | 680889.1562 | 337290.3638 | 333960.2214 | 331739.6899 | 1348092.2752 | 1553842.678 | 1397394.5313 | 1359352.7692 | 1332601.1699 | 1220390.8043 | 1391051.3876
Peak_C | 1021738.8547 | 937964.7195 | 921302.7256 | 942983.1025 | 917397.4726 | 906066.7482 | 898302.9637 | 923081.1521 | 1070494.4517 | 1083530.7719 | 1034693.5712 | 1107004.1343 | 1060016.8327 | 1119707.9284 | 1202809.2745 | 1117687.7111 | 1110616.6959 | 1159160.8438 | 1064810.1936 | 1143577.7034 | 1162808.7056 | 1143972.7331 | 1134791.8637 | 1074316.0951 | 1134565.6746 | 1129529.0987 | 1112048.9249 | 1048585.9089 | 1080661.987
Other_C | 2078706.5383 | 1967971.1463 | 1973643.8834 | 2141384.5928 | 1983834.93 | 1900804.2503 | 1985213.9425 | 1946326.8285 | 1817786.3061 | 2017193.3254 | 1804141.7156 | 1969464.9919 | 1867927.4966 | 1844429.0341 | 2013998.8363 | 1894530.6871 | 1832161.1679 | 2005865.8246 | 1950115.4116 | 1909736.8627 | 2147953.1097 | 2018951.3071 | 1935380.0188 | 1976180.0705 | 1943014.0262 | 1895616.867 | 1872793.8169 | 1808478.719 | 1922180.2824
Peak_D | 3976113.7415 | 3357983.0774 | 3472225.9981 | 3598792.3529 | 3467834.1918 | 3328660.7521 | 3452935.2598 | 3531731.8447 | 3718903.4612 | 3648570.1273 | 3269323.2505 | 3829226.2222 | 2617523.6559 | 2656963.8654 | 3187033.2961 | 2704302.4688 | 2641762.0651 | 2904931.2136 | 2418235.6959 | 2677662.6184 | 2665925.6718 | 2676046.6803 | 2603849.8915 | 2489058.7374 | 2697339.3872 | 2805551.0077 | 2771186.8046 | 2443522.0399 | 2781081.4503
Other_D | 20871761.4528 | 15905645.6019 | 15644952.2878 | 17863964.4963 | 16138513.5981 | 15872079.9368 | 16911355.1476 | 16449131.2265 | 16635756.2137 | 18543661.7697 | 15795993.8041 | 21716241.5251 | 15553702.8157 | 15196863.0221 | 21101768.8854 | 15417788.2957 | 15005479.1474 | 20776585.7813 | 16424281.9453 | 16925574.141 | 19141694.9956 | 17114493.2959 | 13077011.3932 | 13699985.3284 | 13334475.7022 | 13408276.7767 | 13348038.8396 | 12581942.7183 | 17207459.2349
Total | 1312528.285 | 1138400.8199 | 1154553.1713 | 1228229.8456 | 1202774.253 | 1359226.035 | 1431710.042 | 1439219.8335 | 1500583.6891 | 1525229.4906 | 1371566.9705 | 1684974.6054 | 1162521.1485 | 1281269.5397 | 1608415.2777 | 1382664.2301 | 1355626.3287 | 1601395.754 | 1304474.0692 | 1420163.8725 | 1544367.5223 | 1429499.8436 | 1219798.0804 | 1197706.3316 | 1239847.6133 | 1282555.2596 | 1264297.9201 | 1131858.8719 | 1340599.1846
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 446293.3803 | 327735.255 | 372100.7159 | 412173.7676 | 376751.4173 | 374340.7923 | 385899.9179 | 402981.4704 | 444932.1814 | 449671.7535 | 400219.8193 | 559371.0266 | 407798.6392 | 535319.7555 | 762775.9347 | 547522.8491 | 547950.0695 | 739564.893 | 543148.1323 | 699366.8861 | 733884.6214 | 665269.315 | 685561.7291 | 668441.7026 | 729761.1919 | 800478.8115 | 805243.068 | 707509.0222 | 928225.9545
Other_A | -29546.1862 | -106298.0928 | -165620.9385 | -213520.5695 | -180481.0262 | 251867.0223 | 323414.965 | 310360.8007 | 281559.9512 | 331454.3305 | 285220.1981 | 344929.4827 | 348791.4782 | 393161.9096 | 461549.0175 | 420050.3461 | 407329.6458 | 480854.3547 | 462987.396 | 415194.5017 | 488353.2412 | 455365.6573 | 434453.7463 | 475769.1884 | 456559.013 | 458908.1835 | 458617.2127 | 431817.595 | 499528.24
Peak_B | 268093.0391 | 330061.3983 | 361729.4726 | 182747.4401 | 207676.4452 | 310075.1706 | 372347.0453 | 421522.6426 | 422567.0513 | 450100.7807 | 471411.4327 | 518922.5529 | 492536.8075 | 517656.5243 | 523492.2992 | 513784.1139 | 543060.7191 | 568209.7157 | 728179.4994 | 643465.7601 | 636300.5075 | 553399.7156 | 529558.7822 | 521716.2098 | 549577.724 | 569579.3459 | 573533.2509 | 549472.4836 | 564912.7571
Other_B | 45655.4563 | 104578.6232 | 121155.5134 | 115395.9788 | 299778.9888 | 591342.4054 | 1161519.5321 | 1193806.1107 | 1406482.5583 | 1647334.1805 | 1745403.0631 | 2157210.8736 | 2344030.6562 | 2195858.4776 | 2529150.4353 | 2504435.4103 | 813718.4199 | 961331.5324 | 989782.5098 | 500602.5222 | 506068.8221 | 513260.7075 | 2129540.7062 | 2506104.1384 | 2301107.1899 | 2285471.071 | 2287544.1483 | 2138917.151 | 2489223.8431
Peak_C | 1021738.8547 | 957661.9787 | 960403.7345 | 1003647.3376 | 996920.4565 | 1005284.3067 | 1017600.4375 | 1067628.3019 | 1264125.9814 | 1306390.2439 | 1273705.9324 | 1391337.2283 | 1360259.1841 | 1467031.3696 | 1609004.1245 | 1526534.4414 | 1548731.2849 | 1650369.9897 | 1547873.8298 | 1697285.0226 | 1762069.834 | 1769930.678 | 1792596.4797 | 1732703.0914 | 1868303.5985 | 1899070.0113 | 1908944.0023 | 1837803.4127 | 1933795.9821
Other_C | 2078706.5383 | 2009298.5404 | 2057407.3034 | 2279144.7054 | 2155800.1664 | 2108949.133 | 2248856.6309 | 2251106.0941 | 2146588.3308 | 2432087.5315 | 2220895.2197 | 2475320.442 | 2397004.8908 | 2416554.5169 | 2694136.5544 | 2587544.191 | 2554909.6552 | 2855876.9716 | 2834808.1461 | 2834409.7341 | 3254914.8979 | 3123679.2209 | 3057261.4411 | 3187268.0053 | 3199585.6901 | 3187088.4505 | 3214839.2434 | 3169629.053 | 3439655.0929
Peak_D | 3976113.7415 | 3428500.7221 | 3619590.7417 | 3830310.8019 | 3768437.2901 | 3693161.0427 | 3911495.9798 | 4084772.8973 | 4391580.4329 | 4399004.2018 | 4024531.0642 | 4812759.8022 | 3358918.9176 | 3481130.4266 | 4263310.7569 | 3693528.0022 | 3683880.8317 | 4135932.7505 | 3515296.6891 | 3974156.4078 | 4039828.0331 | 4140323.4342 | 4113223.1368 | 4014460.7241 | 4441742.7709 | 4716954.8709 | 4757021.307 | 4282637.3171 | 4976620.0713
Other_D | 20871761.4528 | 16239664.1595 | 16308939.7078 | 19013193.7228 | 17537452.2211 | 17610129.6149 | 19157236.5816 | 19024934.0474 | 19644839.4633 | 22357702.6604 | 19444840.0733 | 27294040.1539 | 19959180.3151 | 19910794.7777 | 28227944.2728 | 21057567.8788 | 20924820.4945 | 29580928.1722 | 23875350.1331 | 25120744.662 | 29006493.6393 | 26479185.95 | 20657360.4712 | 22095924.1322 | 21958049.23 | 22543249.5359 | 22913253.2891 | 22051733.7384 | 30791973.7464
Total | 1312528.285 | 1162307.2371 | 1203553.5625 | 1307244.6486 | 1307034.6205 | 1508066.1607 | 1621845.6624 | 1664590.1863 | 1772009.9582 | 1838937.0915 | 1688396.4834 | 2117758.9356 | 1491797.1301 | 1678707.9559 | 2151585.3516 | 1888438.5569 | 1890391.99 | 2280007.5658 | 1896264.0342 | 2107791.0695 | 2340267.501 | 2211692.2494 | 1926878.2363 | 1931712.1589 | 2041672.694 | 2156351.9118 | 2170294.7395 | 1983751.7171 | 2398941.8969
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 446293.3803 | 368300.6319 | 366190.8435 | 370168.7121 | 362956.6802 | 356296.6119 | 347706.026 | 351025.2692 | 352139.8627 | 350180.3952 | 354479.5644 | 365084.0346 | 358554.7831 | 418667.1445 | 419723.6992 | 422758.7425 | 422971.7695 | 428646.9206 | 425248.6453 | 448747.2492 | 459831.9563 | 453653.2698 | 466584.5872 | 474416.3652 | 466193.7759 | 466406.7887 | 466463.3785 | 464984.3658 | 465935.1007 | 395244.131
Other_A | -29546.1862 | -107824.6026 | -166620.2514 | -189562.6961 | -171491.3103 | 247561.7697 | 285075.34 | 279603.2392 | 246041.4637 | 252893.3101 | 249733.3987 | 254410.2058 | 271738.576 | 313033.3355 | 316132.2075 | 312253.7476 | 317374.3343 | 313406.1094 | 317383.5825 | 290872.5522 | 296786.5751 | 298852.2773 | 298357.165 | 298290.1387 | 297755.2427 | 297177.6988 | 296490.4327 | 295296.985 | 294971.2273 | 184549.3239
Peak_B | 268093.0391 | 332378.2904 | 343568.1576 | 170154.9216 | 191083.235 | 281847.0271 | 328344.2336 | 362610.8083 | 347288.2702 | 371055.525 | 390948.538 | 405814.9518 | 397846.6902 | 393384.3627 | 373111.6465 | 377170.7238 | 394128.0885 | 392443.0803 | 519777.3514 | 420706.355 | 417135.0422 | 358473.764 | 338377.429 | 337947.7425 | 337998.1446 | 338014.1723 | 337934.8531 | 337423.1723 | 336986.3682 | 342343.727
Other_B | 45655.4563 | 102980.0104 | 124030.6888 | 103687.103 | 280542.9226 | 609118.0602 | 1004762.3537 | 1105246.6307 | 1282091.8854 | 1288476.6219 | 1605779.7823 | 1657745.6134 | 1781392.8286 | 1787413.6648 | 1815228.3901 | 1837905.2498 | 659801.6766 | 649536.8928 | 658717.5668 | 361095.5797 | 313105.3516 | 331465.4175 | 1524865.2665 | 1525056.353 | 1524200.486 | 1523236.8588 | 1522112.9048 | 1520194.8182 | 1519483.6048 | 497271.3792
Peak_C | 1021738.8547 | 977818.3024 | 907532.77 | 924746.8848 | 924009.7433 | 919228.7149 | 913216.5622 | 912702.2256 | 1050264.4003 | 1060541.7888 | 1061415.487 | 1069724.4791 | 1120210.0446 | 1110953.9023 | 1120726.1497 | 1127119.7475 | 1131694.9525 | 1121027.4449 | 1124196.0812 | 1124690.6438 | 1138075.0124 | 1152600.394 | 1152240.7854 | 1147685.1314 | 1151470.9603 | 1150926.2786 | 1149978.7452 | 1147451.1153 | 1145893.0514 | 1049447.437
Other_C | 2078706.5383 | 2015369.4759 | 1997510.9122 | 2034648.5773 | 2021611.8178 | 1996528.3972 | 1993696.8736 | 1985145.4391 | 1867732.5763 | 1883808.9056 | 1892032.178 | 1902669.3546 | 1896492.2053 | 1880457.4282 | 1891256.1555 | 1906887.5271 | 1918400.2539 | 1938233.5584 | 1960247.6683 | 1974118.0666 | 2003597.1989 | 2031026.6493 | 2024012.7979 | 2023102.9192 | 2020164.6386 | 2017012.5534 | 2013464.318 | 2008461.1878 | 2006564.0028 | 1938999.142
Peak_D | 3976113.7415 | 3637757.3688 | 3453570.8418 | 3511133.3241 | 3517653.2856 | 3473740.1035 | 3475677.9584 | 3492083.734 | 3523040.2246 | 3545696.8157 | 3507465.6504 | 3489730.8902 | 2853547.0659 | 2649653.7103 | 2707894.1831 | 2750044.8933 | 2792351.4326 | 2653437.3991 | 2645855.0544 | 2548509.7374 | 2594295.7014 | 2719897.0311 | 2744949.3725 | 2738108.9308 | 2739310.3186 | 2740565.0428 | 2741136.607 | 2735025.711 | 2735832.853 | 3204726.1439
Other_D | 20871761.4528 | 17945853.6269 | 17051262.7622 | 17388665.1235 | 17220546.1964 | 17395793.9993 | 17351943.9666 | 17221889.5857 | 17129224.7716 | 17190651.322 | 17011656.2542 | 17280617.6717 | 16172792.6839 | 16059259.9024 | 16307616.3248 | 16249057.1435 | 16495485.9098 | 16702524.9209 | 17193327.3923 | 17900337.3173 | 18095093.7801 | 18049182.5751 | 14389042.3957 | 14375602.5118 | 14334741.9946 | 14311362.3129 | 14287807.6103 | 14245238.5293 | 14297506.5622 | 16533890.3361
Total | 1312528.285 | 1227961.6079 | 1182729.0261 | 1180808.6866 | 1238061.7525 | 1449787.1382 | 1460495.7975 | 1465251.2009 | 1456745.7756 | 1447708.3382 | 1482434.703 | 1486861.891 | 1237238.1355 | 1305278.7139 | 1329428.8909 | 1434229.7836 | 1452544.1651 | 1420335.2038 | 1407858.0877 | 1378678.1474 | 1447685.0201 | 1464029.4225 | 1297360.5686 | 1299647.3466 | 1296226.3776 | 1297553.5354 | 1298885.3139 | 1297548.075 | 1301305.9794 | 1356568.81
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 446293.3803 | 376034.9451 | 381732.3491 | 393982.5023 | 394418.9407 | 395312.3688 | 393882.4857 | 405993.028 | 415835.0834 | 422205.1314 | 436363.7087 | 458855.5662 | 460112.9167 | 548533.9693 | 561466.5412 | 577402.5914 | 589825.1075 | 610291.5033 | 618167.6821 | 666025.564 | 696809.3849 | 701882.8475 | 737049.5994 | 765159.0685 | 767687.1675 | 784166.735 | 800731.3787 | 814954.5469 | 833769.8898
Other_A | -29546.1862 | -110088.9192 | -173691.7815 | -201757.693 | -186356.7324 | 274670.6714 | 322934.2465 | 323386.8776 | 290545.557 | 304908.1407 | 307421.3664 | 319755.2562 | 348706.6264 | 410133.4922 | 422891.6725 | 426475.209 | 442571.7372 | 446215.9331 | 461368.3681 | 431709.7342 | 449737.4921 | 462377.9907 | 471305.8145 | 481095.1338 | 490317.3116 | 499642.9543 | 508955.6948 | 517552.0691 | 527837.7338
Peak_B | 268093.0391 | 339358.2345 | 358149.5338 | 181101.3724 | 207646.9487 | 312710.2874 | 371949.386 | 419392.7703 | 410105.9325 | 447373.836 | 481256.9499 | 510048.1857 | 510533.9816 | 515408.6934 | 499113.3597 | 515138.6156 | 549603.2098 | 558745.8253 | 755580.4447 | 624407.5878 | 632108.3347 | 554623.1075 | 534524.6186 | 545056.6186 | 556585.8054 | 568301.0545 | 580099.2174 | 591384.504 | 603021.9372
Other_B | 45655.4563 | 105142.5906 | 129294.6753 | 110357.5288 | 304861.2917 | 675818.6724 | 1138197.9711 | 1278319.4422 | 1513997.2564 | 1553489.1412 | 1976712.0351 | 2083536.1996 | 2285959.8836 | 2341853.4872 | 2428240.3108 | 2510205.3427 | 920079.3597 | 924786.4097 | 957552.5188 | 535933.9531 | 474466.2576 | 512836.3589 | 2408783.6688 | 2459676.3183 | 2509920.1541 | 2561008.3371 | 2612860.1318 | 2664368.4614 | 2719047.5148
Peak_C | 1021738.8547 | 998352.4868 | 946049.3683 | 984237.9427 | 1004105.9002 | 1019887.556 | 1034494.6091 | 1055624.1182 | 1240236.709 | 1278672.9109 | 1306600.5629 | 1344482.3245 | 1437501.702 | 1455561.9225 | 1499201.1082 | 1539416.6878 | 1578124.4639 | 1596077.0781 | 1634200.8221 | 1669253.0636 | 1724589.4689 | 1783279.2144 | 1820160.015 | 1851035.821 | 1896141.7456 | 1935044.9523 | 1974054.3599 | 2011079.4524 | 2050524.0357
Other_C | 2078706.5383 | 2057692.2349 | 2082287.2728 | 2165542.1206 | 2196851.6771 | 2215155.4172 | 2258466.1221 | 2296003.3897 | 2205568.9053 | 2271268.7442 | 2329088.2214 | 2391368.4007 | 2433660.3535 | 2463758.5985 | 2529943.0418 | 2604421.1251 | 2675168.2206 | 2759584.6726 | 2849537.0199 | 2929963.5847 | 3036164.2174 | 3142361.9377 | 3197271.9688 | 3262947.1889 | 3326630.5762 | 3391190.2376 | 3456314.3291 | 3520128.1972 | 3590655.9621
Peak_D | 3976113.7415 | 3714150.2735 | 3600143.8419 | 3737012.4695 | 3822574.8643 | 3854127.1034 | 3937258.9807 | 4038916.2085 | 4160289.3638 | 4274972.0154 | 4317683.9318 | 4386065.3758 | 3661794.3072 | 3471552.7265 | 3622363.9123 | 3756002.865 | 3893874.4915 | 3777865.2343 | 3846178.24 | 3782469.1706 | 3931283.0854 | 4208167.7795 | 4336113.731 | 4416139.5616 | 4510856.8327 | 4607694.3859 | 4705437.1157 | 4793541.0372 | 4895649.7432
Other_D | 20871761.4528 | 18322716.5531 | 17774935.4051 | 18507317.2667 | 18713278.9091 | 19300695.832 | 19656336.9889 | 19918700.2055 | 20227566.8413 | 20726406.4439 | 20941318.3714 | 21719129.9918 | 20753623.0569 | 21040699.5005 | 21814781.8478 | 22192912.3168 | 23002603.1318 | 23780432.2221 | 24993282.0692 | 26567477.0832 | 27420519.5911 | 27925317.6469 | 22729936.2726 | 23185588.5129 | 23605200.343 | 24061601.4416 | 24526461.0521 | 24966908.0619 | 25584744.4233
Total | 1312528.285 | 1253748.8017 | 1232925.2287 | 1256772.7792 | 1345380.9547 | 1608544.0295 | 1654454.2572 | 1694697.8583 | 1720242.6228 | 1745471.4698 | 1824874.4636 | 1868761.1348 | 1587677.1809 | 1710164.5624 | 1778383.8337 | 1958866.6314 | 2025541.8449 | 2022220.3053 | 2046549.4257 | 2046218.428 | 2193759.0343 | 2265115.6914 | 2049401.3595 | 2096127.0016 | 2134512.316 | 2181568.4164 | 2229667.4851 | 2274146.7914 | 2328628.4748
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Hawaii
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 109.1791 | 9.988 | 2.8743 | 26.8378 | 19.6231 | 0.083453 | 0.81971 | 4.6035
Ventilation | Ventilation | 2.1858 | 0.30146 | 0.18202 | 0.31517 | 11.7866 | 0.51425 | 0.80651 | 4.2299
Water Heating | Water Heating | 44.8479 | 6.0471 | 0.58431 | 4.0648 | 14.4288 | 0.0043809 | 0.060349 | 0.31007
Interior Lighting | Interior Lighting | 2.9261 | 22.0125 | 0.83795 | 0.76366 | 75.5395 | 5.9643 | 0.2825 | 2.1408
Exterior Lighting | Exterior Lighting | 1.1972 | 2.743 | 0.41413 | 0.4936 | 9.7608 | 2.8303 | 0.05337 | 2.3526
Appliances | Res Appliances | 15.0858 | 1.9912 | 5.9618 | 27.4784 | 0 | 0 | 0.11479 | 0.35529
Refrigeration | Com Refrigeration | 1.2326 | 0.0045576 | 0.0073826 | 0.48575 | 11.7084 | 0.51276 | 1.7939 | 3.1747
Electronics | Electronics | 12.0851 | 0.68286 | 2.6484 | 0.68063 | 0.40326 | 0 | 0.028419 | 0.06666
Office Equipment | Electronics | 0.17009 | 0.00024873 | 0 | 0.077131 | 5.0508 | 0.26826 | 0.0024275 | 0.37826
Food Preparation | Food Preparation | 0.29555 | 0.044307 | 0 | 0.00017411 | 1.9923 | 0.062594 | 1.6422e-05 | 0.0035987
Miscellaneous | Miscellaneous | 10.202 | 1.1093 | 2.5196 | 0.27207 | 2.1319 | 0.00010278 | 0.15697 | 0.97674
| Total | 199.4073 | 44.9246 | 16.03 | 61.4693 | 152.4255 | 10.2404 | 4.1189 | 18.5921