## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.086334 | 0.10066 | 0.12278 | 0.12794 | 0.12854 | 0.1397 | 0.13647 | 0.14361 | 0.15024 | 0.14349 | 0.1438 | 0.13377 | 0.1233 | 0.12736 | 0.12967 | 0.13216 | 0.14372 | 0.13451 | 0.11077 | 0.10098 | 0.095817 | 0.089276 | 0.088841 | 0.088268 | 0.087557 | 0.086708 | 0.085721 | 0.084597
Other_A | 0.19425 | 0.20976 | 0.23834 | 0.27756 | 0.25224 | 0.26379 | 0.28093 | 0.30294 | 0.31661 | 0.31235 | 0.29771 | 0.30483 | 0.28176 | 0.27597 | 0.26208 | 0.24358 | 0.2401 | 0.23864 | 0.24728 | 0.23676 | 0.20676 | 0.19896 | 0.17633 | 0.17549 | 0.17433 | 0.17287 | 0.1711 | 0.16903 | 0.16664
Peak_B | 0.037648 | 0.053296 | 0.060463 | 0.062124 | 0.049309 | 0.028936 | 0.027946 | 0.029666 | 0.028299 | 0.025997 | 0.023984 | 0.024354 | 0.026738 | 0.023005 | 0.025051 | 0.024054 | 0.023171 | 0.025367 | 0.023559 | 0.018113 | 0.018611 | 0.018438 | 0.017242 | 0.017193 | 0.017121 | 0.017027 | 0.01691 | 0.016771 | 0.016609
Other_B | 0.039618 | 0.035921 | 0.036948 | 0.037994 | 0.015314 | 0.0052973 | 0.0060063 | 0.0052067 | 0.0049179 | 0.00488 | 0.0030537 | 0.003011 | 0.0023681 | 0.0022208 | 0.0021811 | 0.0021467 | 0.0066271 | 0.0065055 | 0.0064751 | 0.0040394 | 0.0045393 | 0.0039729 | 0.00048572 | 0.00048403 | 0.00048201 | 0.00047966 | 0.00047696 | 0.00047393 | 0.00047057
Peak_C | 0.0032706 | 0.0052459 | 0.0058993 | 0.0074715 | 0.007667 | 0.0058135 | 0.0061931 | 0.0065512 | 0.0068585 | 0.0071611 | 0.0074618 | 0.0077663 | 0.0078157 | 0.0079122 | 0.0080323 | 0.0081537 | 0.0085313 | 0.0084282 | 0.0080701 | 0.0058059 | 0.0054265 | 0.0053926 | 0.0052729 | 0.0052549 | 0.0052285 | 0.0051937 | 0.0051504 | 0.0050986 | 0.0050385
Other_C | 0.012506 | 0.014009 | 0.015252 | 0.017006 | 0.017625 | 0.017661 | 0.018375 | 0.019046 | 0.0195 | 0.016482 | 0.014741 | 0.01529 | 0.015539 | 0.016634 | 0.016344 | 0.015994 | 0.016051 | 0.015828 | 0.015126 | 0.0079075 | 0.0065203 | 0.0060238 | 0.0056978 | 0.0056572 | 0.0056005 | 0.0055276 | 0.0054385 | 0.0053333 | 0.0052118
Peak_D | 0.034558 | 0.040712 | 0.04515 | 0.050594 | 0.05446 | 0.055343 | 0.058542 | 0.061445 | 0.059099 | 0.058409 | 0.050036 | 0.043438 | 0.028282 | 0.02708 | 0.027178 | 0.027369 | 0.0281 | 0.028126 | 0.026955 | 0.019323 | 0.017713 | 0.017273 | 0.0169 | 0.01685 | 0.016778 | 0.016685 | 0.01657 | 0.016435 | 0.016278
Other_D | 0.031776 | 0.042317 | 0.051813 | 0.058294 | 0.062074 | 0.055604 | 0.055401 | 0.058543 | 0.055139 | 0.055739 | 0.056783 | 0.057146 | 0.044119 | 0.04526 | 0.044529 | 0.039806 | 0.040006 | 0.043097 | 0.039889 | 0.03845 | 0.035896 | 0.035523 | 0.034632 | 0.034561 | 0.034461 | 0.034331 | 0.034172 | 0.033983 | 0.033764
Total | 0.42783 | 0.48759 | 0.55453 | 0.63382 | 0.58663 | 0.56099 | 0.5931 | 0.61986 | 0.63403 | 0.63126 | 0.59726 | 0.59964 | 0.5404 | 0.52138 | 0.51276 | 0.49077 | 0.49475 | 0.50972 | 0.50187 | 0.44117 | 0.39645 | 0.38141 | 0.34584 | 0.34433 | 0.34227 | 0.33967 | 0.33653 | 0.33284 | 0.32861
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.074206 | 0.16054 | 0.2612 | 0.38398 | 0.51191 | 0.64046 | 0.78016 | 0.91663 | 1.0602 | 1.2105 | 1.354 | 1.4978 | 1.6315 | 1.7548 | 1.8822 | 2.0119 | 2.144 | 2.2878 | 2.4223 | 2.533 | 2.634 | 2.7298 | 2.8191 | 2.908 | 2.9962 | 3.0838 | 3.1705 | 3.2562 | 3.3408
Other_A | 0.19425 | 0.404 | 0.64234 | 0.9199 | 1.1721 | 1.4359 | 1.7169 | 2.0198 | 2.3364 | 2.6488 | 2.9465 | 3.2513 | 3.5331 | 3.8091 | 4.0711 | 4.3147 | 4.5548 | 4.7935 | 5.0407 | 5.2775 | 5.4843 | 5.6832 | 5.8596 | 6.035 | 6.2094 | 6.3823 | 6.5534 | 6.7224 | 6.889
Peak_B | 0.037648 | 0.090945 | 0.15141 | 0.21353 | 0.26284 | 0.29178 | 0.31972 | 0.34939 | 0.37769 | 0.40368 | 0.42767 | 0.45202 | 0.47876 | 0.50177 | 0.52682 | 0.55087 | 0.57404 | 0.59941 | 0.62297 | 0.64108 | 0.65969 | 0.67813 | 0.69537 | 0.71256 | 0.72969 | 0.74671 | 0.76362 | 0.78039 | 0.797
Other_B | 0.039618 | 0.075539 | 0.11249 | 0.15048 | 0.16579 | 0.17109 | 0.1771 | 0.18231 | 0.18722 | 0.1921 | 0.19516 | 0.19817 | 0.20054 | 0.20276 | 0.20494 | 0.20708 | 0.21371 | 0.22022 | 0.22669 | 0.23073 | 0.23527 | 0.23924 | 0.23973 | 0.24021 | 0.2407 | 0.24118 | 0.24165 | 0.24213 | 0.2426
Peak_C | 0.0032706 | 0.0085165 | 0.014416 | 0.021887 | 0.029554 | 0.035368 | 0.041561 | 0.048112 | 0.054971 | 0.062132 | 0.069594 | 0.07736 | 0.085176 | 0.093088 | 0.10112 | 0.10927 | 0.11781 | 0.12623 | 0.1343 | 0.14011 | 0.14554 | 0.15093 | 0.1562 | 0.16146 | 0.16668 | 0.17188 | 0.17703 | 0.18213 | 0.18717
Other_C | 0.012506 | 0.026515 | 0.041766 | 0.058772 | 0.076397 | 0.094059 | 0.11243 | 0.13148 | 0.15098 | 0.16746 | 0.1822 | 0.19749 | 0.21303 | 0.22967 | 0.24601 | 0.262 | 0.27805 | 0.29388 | 0.30901 | 0.31691 | 0.32343 | 0.32946 | 0.33516 | 0.34081 | 0.34641 | 0.35194 | 0.35738 | 0.36271 | 0.36793
Peak_D | 0.034558 | 0.07527 | 0.12042 | 0.17101 | 0.22547 | 0.28082 | 0.33936 | 0.4008 | 0.4599 | 0.51831 | 0.56835 | 0.61179 | 0.64007 | 0.66715 | 0.69433 | 0.72169 | 0.74979 | 0.77792 | 0.80487 | 0.8242 | 0.84191 | 0.85918 | 0.87608 | 0.89293 | 0.90971 | 0.9264 | 0.94297 | 0.9594 | 0.97568
Other_D | 0.031776 | 0.074092 | 0.12591 | 0.1842 | 0.24627 | 0.30188 | 0.35728 | 0.41582 | 0.47096 | 0.5267 | 0.58348 | 0.64063 | 0.68475 | 0.73001 | 0.77454 | 0.81434 | 0.85435 | 0.89744 | 0.93733 | 0.97578 | 1.0117 | 1.0472 | 1.0818 | 1.1164 | 1.1509 | 1.1852 | 1.2194 | 1.2533 | 1.2871
Total | 0.42783 | 0.91542 | 1.4699 | 2.1038 | 2.6904 | 3.2514 | 3.8445 | 4.4643 | 5.0984 | 5.7296 | 6.3269 | 6.9265 | 7.4669 | 7.9883 | 8.5011 | 8.9919 | 9.4866 | 9.9963 | 10.4982 | 10.9394 | 11.3358 | 11.7172 | 12.0631 | 12.4074 | 12.7497 | 13.0893 | 13.4259 | 13.7587 | 14.0873
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.012552 | 0.013367 | 0.024281 | 0.02679 | 0.025612 | 0.030252 | 0.030573 | 0.032621 | 0.017219 | 0.032782 | 0.028729 | 0.024325 | 0.020712 | 0.029473 | 0.015344 | 0.025958 | 0.031104 | 0.024311 | 0.021011 | 0.013281 | 0.022034 | 0.019182 | 0.019926 | 0.013864 | 0.021489 | 0.010831 | 0.02488 | 0.021525 | 0.015587
Other_A | 0.02222 | 0.024829 | 0.028504 | 0.032542 | 0.0305 | 0.030719 | 0.032804 | 0.036417 | 0.035917 | 0.036622 | 0.035825 | 0.03487 | 0.033353 | 0.033176 | 0.029638 | 0.029453 | 0.027961 | 0.027298 | 0.029131 | 0.026859 | 0.024242 | 0.024058 | 0.020214 | 0.020983 | 0.021467 | 0.020451 | 0.02229 | 0.02152 | 0.021463
Peak_B | 0.0088943 | 0.011118 | 0.015448 | 0.015368 | 0.011435 | 0.0073518 | 0.006915 | 0.0075346 | 0.0063102 | 0.0064313 | 0.0055593 | 0.0057536 | 0.0055777 | 0.0058428 | 0.005606 | 0.0055781 | 0.0058871 | 0.0059928 | 0.0049532 | 0.0040389 | 0.0046039 | 0.0042757 | 0.0042302 | 0.0036106 | 0.0044177 | 0.0039022 | 0.0048971 | 0.004515 | 0.0042372
Other_B | 0.0052589 | 0.005047 | 0.0058795 | 0.0051835 | 0.0022937 | 0.00079881 | 0.00081859 | 0.00083231 | 0.00068528 | 0.00066578 | 0.000456 | 0.00039968 | 0.00033272 | 0.00035501 | 0.00030187 | 0.00032153 | 0.00099934 | 0.00086355 | 0.00090523 | 0.00056288 | 0.0006193 | 0.00059506 | 6.4684e-05 | 6.8785e-05 | 7.9164e-05 | 7.0047e-05 | 7.6512e-05 | 7.8869e-05 | 7.1136e-05
Peak_C | 0.00044738 | 0.00082546 | 0.0010624 | 0.0013319 | 0.0012367 | 0.0010655 | 0.0011038 | 0.001175 | 0.00071747 | 0.0012766 | 0.0012022 | 0.0010624 | 0.0012298 | 0.0014191 | 0.00084266 | 0.0013153 | 0.0015636 | 0.0011529 | 0.0012749 | 0.00060736 | 0.00096737 | 0.00086986 | 0.00088215 | 0.00083918 | 0.00096804 | 0.00057173 | 0.0010822 | 0.0010288 | 0.00077879
Other_C | 0.0017129 | 0.0018655 | 0.0021412 | 0.0024318 | 0.0023897 | 0.002514 | 0.0026226 | 0.0026903 | 0.0026854 | 0.002357 | 0.0019938 | 0.0020943 | 0.0020692 | 0.0023497 | 0.0022386 | 0.0021685 | 0.0022847 | 0.0021679 | 0.0020018 | 0.001089 | 0.00093241 | 0.00081673 | 0.00079043 | 0.00075951 | 0.00080599 | 0.00078559 | 0.0008406 | 0.00081005 | 0.00077779
Peak_D | 0.0064307 | 0.0059571 | 0.01093 | 0.011284 | 0.010464 | 0.013195 | 0.013088 | 0.014666 | 0.0092142 | 0.013027 | 0.0096144 | 0.0080832 | 0.0041382 | 0.0064634 | 0.0042758 | 0.0052584 | 0.0066996 | 0.0052337 | 0.0040011 | 0.0030127 | 0.0039507 | 0.0033187 | 0.0036703 | 0.0024807 | 0.0040627 | 0.0026667 | 0.0049255 | 0.0041272 | 0.0032444
Other_D | 0.0045447 | 0.0060768 | 0.0075811 | 0.0085346 | 0.0089741 | 0.0080098 | 0.0080887 | 0.0086104 | 0.0075941 | 0.0081605 | 0.0081838 | 0.0081733 | 0.0063356 | 0.0066568 | 0.0061124 | 0.0057548 | 0.0057628 | 0.006164 | 0.0056988 | 0.0052956 | 0.0052554 | 0.0051356 | 0.00489 | 0.0050129 | 0.0051835 | 0.0049082 | 0.0053188 | 0.0052728 | 0.0053171
Total | 0.062061 | 0.069086 | 0.095827 | 0.10347 | 0.092905 | 0.093906 | 0.096013 | 0.10455 | 0.080343 | 0.10132 | 0.091563 | 0.084761 | 0.073748 | 0.085735 | 0.064359 | 0.075807 | 0.082262 | 0.073184 | 0.068977 | 0.054746 | 0.062605 | 0.058251 | 0.054668 | 0.047619 | 0.058473 | 0.044186 | 0.064311 | 0.058878 | 0.051477
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 0.012552 | 0.025919 | 0.0502 | 0.07699 | 0.1026 | 0.13285 | 0.16343 | 0.19605 | 0.21327 | 0.24605 | 0.27478 | 0.2991 | 0.31981 | 0.34929 | 0.36463 | 0.39059 | 0.42169 | 0.446 | 0.46702 | 0.4803 | 0.50233 | 0.52151 | 0.54144 | 0.5553 | 0.57679 | 0.58762 | 0.6125 | 0.63403 | 0.64962
Other_A | 0.02222 | 0.047049 | 0.075553 | 0.1081 | 0.1386 | 0.16931 | 0.20212 | 0.23853 | 0.27445 | 0.31107 | 0.3469 | 0.38177 | 0.41512 | 0.4483 | 0.47793 | 0.50739 | 0.53535 | 0.56265 | 0.59178 | 0.61864 | 0.64288 | 0.66694 | 0.68715 | 0.70813 | 0.7296 | 0.75005 | 0.77234 | 0.79386 | 0.81532
Peak_B | 0.0088943 | 0.020012 | 0.03546 | 0.050828 | 0.062263 | 0.069614 | 0.07653 | 0.084064 | 0.090374 | 0.096806 | 0.10236 | 0.10812 | 0.1137 | 0.11954 | 0.12515 | 0.13072 | 0.13661 | 0.1426 | 0.14756 | 0.1516 | 0.1562 | 0.16047 | 0.1647 | 0.16832 | 0.17273 | 0.17664 | 0.18153 | 0.18605 | 0.19028
Other_B | 0.0052589 | 0.010306 | 0.016185 | 0.021369 | 0.023663 | 0.024461 | 0.02528 | 0.026112 | 0.026798 | 0.027463 | 0.027919 | 0.028319 | 0.028652 | 0.029007 | 0.029309 | 0.02963 | 0.03063 | 0.031493 | 0.032398 | 0.032961 | 0.033581 | 0.034176 | 0.03424 | 0.034309 | 0.034388 | 0.034458 | 0.034535 | 0.034614 | 0.034685
Peak_C | 0.00044738 | 0.0012728 | 0.0023352 | 0.0036671 | 0.0049039 | 0.0059694 | 0.0070732 | 0.0082482 | 0.0089657 | 0.010242 | 0.011445 | 0.012507 | 0.013737 | 0.015156 | 0.015998 | 0.017314 | 0.018877 | 0.02003 | 0.021305 | 0.021912 | 0.02288 | 0.02375 | 0.024632 | 0.025471 | 0.026439 | 0.027011 | 0.028093 | 0.029122 | 0.029901
Other_C | 0.0017129 | 0.0035783 | 0.0057195 | 0.0081513 | 0.010541 | 0.013055 | 0.015678 | 0.018368 | 0.021053 | 0.02341 | 0.025404 | 0.027498 | 0.029568 | 0.031917 | 0.034156 | 0.036324 | 0.038609 | 0.040777 | 0.042779 | 0.043868 | 0.0448 | 0.045617 | 0.046407 | 0.047167 | 0.047973 | 0.048758 | 0.049599 | 0.050409 | 0.051187
Peak_D | 0.0064307 | 0.012388 | 0.023318 | 0.034602 | 0.045066 | 0.058261 | 0.071349 | 0.086014 | 0.095229 | 0.10826 | 0.11787 | 0.12595 | 0.13009 | 0.13655 | 0.14083 | 0.14609 | 0.15279 | 0.15802 | 0.16202 | 0.16504 | 0.16899 | 0.17231 | 0.17598 | 0.17846 | 0.18252 | 0.18519 | 0.19011 | 0.19424 | 0.19748
Other_D | 0.0045447 | 0.010622 | 0.018203 | 0.026737 | 0.035711 | 0.043721 | 0.05181 | 0.06042 | 0.068014 | 0.076175 | 0.084359 | 0.092532 | 0.098868 | 0.10552 | 0.11164 | 0.11739 | 0.12315 | 0.12932 | 0.13502 | 0.14031 | 0.14557 | 0.1507 | 0.15559 | 0.16061 | 0.16579 | 0.1707 | 0.17602 | 0.18129 | 0.18661
Total | 0.062061 | 0.13115 | 0.22697 | 0.33044 | 0.42334 | 0.51725 | 0.61326 | 0.71781 | 0.79815 | 0.89947 | 0.99104 | 1.0758 | 1.1495 | 1.2353 | 1.2996 | 1.3754 | 1.4577 | 1.5309 | 1.5999 | 1.6546 | 1.7172 | 1.7755 | 1.8301 | 1.8778 | 1.9362 | 1.9804 | 2.0447 | 2.1036 | 2.1551
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 58.3205 | 60.7172 | 62.9071 | 60.7095 | 61.3366 | 60.0558 | 63.1827 | 61.9145 | 60.9588 | 64.3189 | 64.6505 | 64.5628 | 64.1161 | 63.3733 | 64.5086 | 65.1658 | 65.7789 | 65.6372 | 70.2683 | 72.2493 | 72.1251 | 73.6132 | 73.6122 | 73.612 | 73.612 | 73.612 | 73.612 | 73.612
Other_A | -0.81124 | -0.65142 | 2.467 | 16.0571 | 43.6629 | 46.3374 | 46.6534 | 46.6953 | 44.3702 | 44.7239 | 43.458 | 43.817 | 44.4291 | 46.0157 | 44.0905 | 44.6734 | 44.059 | 43.2449 | 43.3666 | 43.7639 | 44.9919 | 45.7751 | 58.5863 | 62.2407 | 52.2162 | 52.2162 | 52.2162 | 52.2162 | 52.2162
Peak_B | 68.6356 | 61.8432 | 63.4568 | 18.2674 | 19.5531 | 46.8695 | 54.2726 | 57.8763 | 46.5978 | 57.5759 | 69.7417 | 89.7188 | 84.6887 | 70.7497 | 61.3696 | 66.0847 | 69.6193 | 87.3414 | 88.6341 | 86.6383 | 79.8319 | 66.794 | 66.8245 | 66.8446 | 66.7985 | 66.7985 | 66.7985 | 66.7985 | 66.7985
Other_B | 2.112 | 4.1762 | 5.6222 | 0.52008 | 22.9631 | 101.4091 | 96.3142 | 121.6437 | 134.763 | 133.6135 | 225.0923 | 236.7455 | 255.9536 | 264.4685 | 268.4179 | 271.5382 | 79.6862 | 80.7351 | 79.2036 | 26.2627 | 11.6159 | 14.4248 | 201.2014 | 201.2219 | 201.1639 | 201.1639 | 201.1639 | 201.1639 | 201.1639
Peak_C | 211.2057 | 201.7032 | 204.7614 | 208.4768 | 207.3085 | 216.5084 | 217.8036 | 219.0067 | 219.8472 | 220.4932 | 220.9665 | 221.3614 | 219.6354 | 220.6554 | 221.7146 | 222.6212 | 222.4478 | 223.4173 | 222.4449 | 237.2196 | 239.8011 | 239.5779 | 239.3321 | 239.3894 | 239.258 | 239.258 | 239.258 | 239.258 | 239.258
Other_C | 174.4781 | 174.5503 | 177.3206 | 180.777 | 180.7077 | 183.0216 | 183.9948 | 184.8958 | 185.6922 | 192.2112 | 195.8648 | 196.1969 | 193.2458 | 192.3117 | 192.1124 | 191.5719 | 191.6689 | 191.0114 | 190.57 | 205.7649 | 210.4806 | 214.0777 | 214.9199 | 214.7924 | 215.005 | 215.005 | 215.005 | 215.005 | 215.005
Peak_D | 789.4497 | 803.2078 | 830.1017 | 845.6406 | 865.1835 | 907.1431 | 922.5195 | 937.2007 | 961.3077 | 967.2986 | 1052.6537 | 1142.5581 | 795.6519 | 722.7608 | 727.7125 | 730.3451 | 725.0672 | 719.9531 | 718.0606 | 726.0152 | 721.4392 | 733.974 | 729.0126 | 728.9211 | 729.008 | 729.008 | 729.008 | 729.008 | 729.008
Other_D | 1125.5897 | 1013.9512 | 931.5896 | 935.3468 | 961.5777 | 1122.8113 | 1171.2011 | 1185.9052 | 1280.3581 | 1307.4899 | 1322.9784 | 1344.9757 | 1440.5306 | 1416.6647 | 1462.1932 | 1650.1648 | 1674.9527 | 1596.0658 | 1653.9314 | 1538.5778 | 1578.2654 | 1539.7124 | 1524.2512 | 1525.051 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736 | 1523.0736
Total | 170.3579 | 179.3614 | 181.0626 | 181.8756 | 224.465 | 248.0068 | 248.2107 | 253.4225 | 248.346 | 252.5123 | 262.6255 | 261.4243 | 212.4395 | 213.7668 | 217.5642 | 228.1578 | 229.7886 | 228.4722 | 223.4866 | 217.6313 | 227.6285 | 228.791 | 247.9411 | 250.2611 | 245.4596 | 246.0862 | 246.8427 | 247.7366 | 248.7768
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 60.0031 | 59.5452 | 63.2941 | 66.9541 | 65.972 | 68.0532 | 68.0313 | 73.0766 | 73.1136 | 73.4968 | 79.1765 | 81.2559 | 82.8498 | 84.0044 | 84.7747 | 88.1057 | 90.8723 | 93.6535 | 95.4142 | 104.2914 | 109.4835 | 111.5904 | 116.2845 | 118.725 | 121.2178 | 123.7634 | 126.3624 | 129.0161 | 131.7254
Other_A | -0.81124 | -0.6651 | 2.5717 | 17.0901 | 47.4478 | 51.4115 | 52.8492 | 54.0074 | 52.3959 | 53.9226 | 53.4967 | 55.0714 | 57.0133 | 60.2894 | 58.9801 | 61.0148 | 61.4393 | 61.5705 | 63.0404 | 64.9539 | 68.1787 | 70.8223 | 92.5471 | 100.3845 | 85.9851 | 87.7907 | 89.6344 | 91.5167 | 93.4385
Peak_B | 68.6356 | 63.1419 | 66.15 | 19.4426 | 21.248 | 52.0019 | 61.4801 | 66.9393 | 55.0264 | 69.418 | 85.8518 | 112.7629 | 108.6762 | 92.6957 | 82.0944 | 90.2583 | 97.0826 | 124.3534 | 128.844 | 128.5876 | 120.9738 | 103.3422 | 105.5606 | 107.8099 | 109.998 | 112.3079 | 114.6664 | 117.0744 | 119.533
Other_B | 2.112 | 4.2639 | 5.8609 | 0.55353 | 24.9536 | 112.5138 | 109.1051 | 140.6921 | 159.139 | 161.095 | 277.0883 | 297.5534 | 328.4507 | 346.5043 | 359.0639 | 370.866 | 111.1207 | 114.9477 | 115.1352 | 38.9788 | 17.6023 | 22.3177 | 317.8318 | 324.5393 | 331.2591 | 338.2155 | 345.318 | 352.5697 | 359.9737
Peak_C | 211.2057 | 205.939 | 213.4517 | 221.8886 | 225.2787 | 240.2168 | 246.7286 | 253.3014 | 259.6132 | 265.844 | 272.0094 | 278.2179 | 281.8456 | 289.1008 | 296.5887 | 304.0553 | 310.1988 | 318.0932 | 323.3596 | 352.0787 | 363.3842 | 370.6699 | 378.0656 | 386.0975 | 393.9891 | 402.2629 | 410.7104 | 419.3353 | 428.1414
Other_C | 174.4781 | 178.2159 | 184.8462 | 192.4067 | 196.372 | 203.0631 | 208.4299 | 213.8491 | 219.2803 | 231.745 | 241.1092 | 246.5899 | 247.9813 | 251.9651 | 256.9897 | 261.6483 | 267.2782 | 271.9549 | 277.0243 | 305.3939 | 318.9532 | 331.2166 | 339.5026 | 346.4264 | 354.0515 | 361.4865 | 369.0778 | 376.8284 | 384.7418
Peak_D | 789.4497 | 820.0752 | 865.3321 | 900.0426 | 940.1804 | 1006.4786 | 1045.033 | 1083.9589 | 1135.1894 | 1166.2516 | 1295.8148 | 1436.0231 | 1021.0148 | 946.9548 | 973.4648 | 997.5031 | 1011.0908 | 1025.0424 | 1043.8172 | 1077.5435 | 1093.2376 | 1135.5892 | 1151.5992 | 1175.6352 | 1200.4667 | 1225.6765 | 1251.4157 | 1277.6954 | 1304.5271
Other_D | 1125.5897 | 1035.2442 | 971.1271 | 995.5197 | 1044.9303 | 1245.7631 | 1326.7403 | 1371.6085 | 1511.9498 | 1576.4131 | 1628.584 | 1690.4316 | 1848.5508 | 1856.1015 | 1955.9834 | 2253.79 | 2335.6857 | 2272.419 | 2404.2567 | 2283.5397 | 2391.6349 | 2382.2107 | 2407.8137 | 2459.6677 | 2508.0646 | 2560.7339 | 2614.5093 | 2669.414 | 2725.4717
Total | 170.3579 | 183.128 | 188.7471 | 193.5761 | 243.9224 | 275.1644 | 281.1738 | 293.1064 | 293.2669 | 304.4488 | 323.2915 | 328.571 | 272.6115 | 280.0754 | 291.0367 | 311.6173 | 320.4353 | 325.2903 | 324.874 | 323.0058 | 344.9384 | 353.9807 | 391.6651 | 403.6318 | 404.2013 | 413.7431 | 423.7304 | 434.1954 | 445.1749
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 354728.0297 | 376673.9007 | 251712.4786 | 288305.3136 | 303258.3151 | 260619.9095 | 274416.1672 | 264321.4907 | 516387.889 | 279376.2173 | 321256.7721 | 382202.4116 | 416991.5432 | 268226.2987 | 526020.7012 | 322236.0577 | 276890.2793 | 388873.3137 | 420200.844 | 586061.4184 | 331120.832 | 360282.0377 | 329821.9114 | 471702.2481 | 302369.6448 | 595072.4761 | 256536.1498 | 293150.2376 | 399509.2398
Other_A | -7091.899 | -5503.1857 | 20628.6178 | 136953.6212 | 361103.412 | 397909.5867 | 399547.6262 | 388437.9896 | 391123.52 | 381457.3476 | 361144.0238 | 383049.1136 | 375335.8691 | 382785.4358 | 389887.9964 | 369460.3166 | 378344.4085 | 378047.8305 | 368123.5184 | 385779.2008 | 383743.0861 | 378571.5222 | 511056.266 | 520534.2099 | 424041.4604 | 441395.8825 | 400829.7837 | 410124.3781 | 405408.872
Peak_B | 290523.5838 | 296460.9063 | 248375.5304 | 73843.086 | 84317.1819 | 184473.0746 | 219332.2217 | 227879.5419 | 208971.4646 | 232741.0418 | 300883.602 | 379765.131 | 405976.2546 | 278566.5947 | 274235.5835 | 284972.0754 | 274013.654 | 369702.1836 | 421575.0516 | 388536.5167 | 322707.6351 | 288030.6626 | 272373.701 | 318304.2904 | 258886.2726 | 291474.2362 | 230664.9651 | 248125.9671 | 261838.7418
Other_B | 15910.2818 | 29723.1941 | 35331.2058 | 3812.0382 | 153312.3622 | 672498.5473 | 706697.2612 | 760971.534 | 967116.0979 | 979356.5784 | 1507357.6956 | 1783510.5201 | 1821713.0236 | 1654446.3468 | 1939343.3017 | 1812913.3561 | 528442.0663 | 608213.9565 | 566546.8412 | 188471.9654 | 85142.1402 | 96306.3975 | 1510824.6217 | 1415969.0555 | 1224847.8585 | 1377489.6043 | 1254023.9794 | 1208818.3618 | 1330717.1855
Peak_C | 1544018.5178 | 1281855.5146 | 1137041.1581 | 1169443.5108 | 1285180.477 | 1181307.2206 | 1221988.3037 | 1221065.3042 | 2101586.2973 | 1236848.5961 | 1371502.6074 | 1618262.0299 | 1395817.5778 | 1230257.8624 | 2113396.6082 | 1380108.962 | 1213713.9021 | 1633291.4083 | 1408039.2752 | 2267654.9816 | 1345156.1247 | 1485229.7767 | 1430569.4857 | 1499050.2615 | 1292262.1269 | 2173427.4469 | 1138705.479 | 1185718.5459 | 1547907.9309
Other_C | 1273871.8198 | 1310803.6765 | 1263048.3849 | 1264166.9225 | 1332800.4777 | 1285794.725 | 1289112.0385 | 1308942.379 | 1348384.4876 | 1344126.0068 | 1448114.1261 | 1432441.689 | 1451199.2994 | 1361442.1516 | 1402570.5187 | 1412928.8745 | 1346545.0731 | 1394582.1207 | 1439928.5795 | 1494139.8435 | 1471883.7454 | 1578919.8289 | 1549241.5119 | 1599883.5729 | 1493988.5168 | 1512823.2939 | 1391049.0579 | 1415564.9202 | 1440706.9822
Peak_D | 4242461.6088 | 5489291.8202 | 3428878.8978 | 3791503.1912 | 4503047.078 | 3804744.6691 | 4126518.749 | 3926623.3792 | 6165677.0445 | 4336967.247 | 5478244.4318 | 6140047.4676 | 5437653.4281 | 3028177.0364 | 4625531.6396 | 3801249.5039 | 3041080.8611 | 3868990.6487 | 4837413.2315 | 4656548.0289 | 3234635.2964 | 3820137.0281 | 3356773.5909 | 4950982.16 | 3010590.9924 | 4561197.5311 | 2452534.1606 | 2902937.7822 | 3657633.3656
Other_D | 7869849.796 | 7060746.8227 | 6366948.8578 | 6388732.694 | 6651256.5131 | 7794547.9191 | 8021738.7365 | 8063053.399 | 9296397.8662 | 8930595.6285 | 9179527.7273 | 9403743.4627 | 10031273.1515 | 9632003.308 | 10652039.0924 | 11414230.6366 | 11627509.5724 | 11159304.4732 | 11576798.6338 | 11171274.7951 | 10780082.8788 | 10650228.6491 | 10795024.9167 | 10514399.311 | 10125701.9552 | 10653335.0392 | 9785309.9218 | 9815944.2139 | 9671510.2204
Total | 1174393.3872 | 1265886.9498 | 1047765.2638 | 1114143.8195 | 1417347.1462 | 1481573.0209 | 1533259.3212 | 1502561.2904 | 1959850.6745 | 1573215.9445 | 1713098.2265 | 1849450.5635 | 1556671.1723 | 1299988.0931 | 1733368.3436 | 1477078.3905 | 1382027.011 | 1591269.1778 | 1626051.0583 | 1753762.8165 | 1441475.6823 | 1498028.5545 | 1568522.3736 | 1809610.3355 | 1436795.2763 | 1891754.2536 | 1291695.1469 | 1400473.3048 | 1588093.8033
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 354728.0297 | 384584.0526 | 262395.4079 | 306852.6463 | 329545.7279 | 289158.7243 | 310859.5019 | 305712.1291 | 609792.3683 | 336838.0245 | 395466.5109 | 480370.7841 | 535101.4803 | 351427.7111 | 703660.5851 | 440109.0175 | 386117.5864 | 553663.3248 | 610829.8866 | 869825.6925 | 501766.1346 | 557420.8308 | 521009.7254 | 760781.624 | 497915.9056 | 1000491.528 | 440370.1434 | 513789.5737 | 714903.8016
Other_A | -7091.899 | -5618.7526 | 21504.117 | 145764.1573 | 392405.0252 | 441482.1135 | 452608.8142 | 449264.2823 | 461870.1225 | 459915.0946 | 444567.6462 | 481434.9608 | 481647.1279 | 501522.0737 | 521555.1688 | 504607.7651 | 527593.2048 | 538250.4053 | 535127.0712 | 572569.1028 | 581507.6141 | 585717.9385 | 807300.169 | 839539.9071 | 698274.4182 | 742116.0593 | 688064.7014 | 718804.225 | 725460.9278
Peak_B | 290523.5838 | 302686.5853 | 258916.8363 | 78593.5787 | 91626.0683 | 204673.5378 | 248460.2342 | 263563.6615 | 246770.3194 | 280610.975 | 370387.175 | 477307.49 | 520966.1882 | 364975.475 | 366846.3441 | 389213.985 | 382106.1938 | 526368.1846 | 612827.5195 | 576661.4796 | 489017.1413 | 445635.0148 | 430260.5202 | 513374.8162 | 426311.2885 | 490053.7593 | 395959.6487 | 434877.8151 | 468548.6424
Other_B | 15910.2818 | 30347.3812 | 36830.6975 | 4057.2752 | 166601.9743 | 746139.5502 | 800548.892 | 880133.6099 | 1142048.5034 | 1180789.6115 | 1855554.6228 | 2241603.7183 | 2337700.4917 | 2167640.8897 | 2594269.4635 | 2476071.4911 | 736901.186 | 865952.3538 | 823567.4622 | 279727.9477 | 129020.7032 | 149003.2433 | 2386604.0856 | 2283735.6445 | 2016972.4087 | 2315964.415 | 2152658.4853 | 2118634.7172 | 2381258.5042
Peak_C | 1544018.5178 | 1308774.4804 | 1185298.3219 | 1244676.456 | 1396584.0828 | 1310664.598 | 1384272.2141 | 1412274.3968 | 2481722.1951 | 1491242.3172 | 1688317.2525 | 2033911.2904 | 1791173.1407 | 1611872.91 | 2827101.4628 | 1884948.5795 | 1692498.1391 | 2325419.4092 | 2046812.811 | 3365627.7359 | 2038391.1971 | 2297916.4358 | 2259827.4679 | 2417732.5782 | 2127984.3343 | 3654169.5924 | 1954702.6628 | 2078148.8398 | 2769911.5667
Other_C | 1273871.8198 | 1338330.5537 | 1316653.4214 | 1345493.6389 | 1448331.9393 | 1426593.8589 | 1460310.1931 | 1513912.3209 | 1592280.895 | 1620584.4332 | 1782625.8948 | 1800363.1491 | 1862241.3475 | 1783749.399 | 1876225.7636 | 1929773.9151 | 1877728.3728 | 1985554.0258 | 2093169.0722 | 2217585.3643 | 2230428.7321 | 2442871.7243 | 2447290.0883 | 2580360.869 | 2460169.7235 | 2543500.0773 | 2387875.8359 | 2480988.9386 | 2578080.2945
Peak_D | 4242461.6088 | 5604566.9485 | 3574403.9471 | 4035419.1641 | 4893385.7818 | 4221377.8561 | 4674533.4861 | 4541501.2982 | 7280927.5495 | 5228990.1186 | 6743709.0809 | 7717113.5683 | 6977830.7165 | 3967490.6219 | 6187597.3556 | 5191734.892 | 4240722.3723 | 5508524.6287 | 7031962.4947 | 6911195.6301 | 4901625.91 | 5910436.0831 | 5302593.9951 | 7985156.4483 | 4957578.138 | 7668712.0827 | 4210021.9438 | 5087832.0197 | 6545170.2678
Other_D | 7869849.796 | 7209022.506 | 6637168.5343 | 6799734.3131 | 7227808.9676 | 8648078.8713 | 9087051.0039 | 9325663.2842 | 10977934.596 | 10767431.1644 | 11299982.1866 | 11819087.1736 | 12872561.0869 | 12619765.0715 | 14249287.2292 | 15589521.13 | 16214313.9989 | 15888201.6298 | 16828749.1486 | 16580279.0109 | 16335669.6222 | 16477810.9369 | 17052575.2631 | 16958074.3267 | 16674121.0519 | 17911383.7057 | 16797470.2086 | 17203908.2552 | 17306732.1984
Total | 1174393.3872 | 1292470.5757 | 1092233.4694 | 1185819.2105 | 1540207.3869 | 1643810.5804 | 1736881.0069 | 1737850.4103 | 2314349.3676 | 1896793.3489 | 2108820.8477 | 2324480.4072 | 1997587.3905 | 1703232.8381 | 2318735.7076 | 2017389.127 | 1927207.1781 | 2265589.7242 | 2363728.197 | 2602914.8284 | 2184349.6733 | 2317718.437 | 2477747.484 | 2918617.1899 | 2365988.8934 | 3180594.2634 | 2217324.8391 | 2454538.6286 | 2841822.3766
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 354728.0297 | 361228.5854 | 315922.5636 | 313742.35 | 302900.7185 | 295689.3619 | 286690.1561 | 295411.5966 | 307801.8694 | 299896.8032 | 316932.3166 | 323741.2054 | 329369.9998 | 322124.0177 | 327129.1017 | 332275.1949 | 331325.2993 | 337409.3552 | 340439.9793 | 370587.6247 | 378846.055 | 377535.7924 | 383282.5633 | 385485.3511 | 382387.7202 | 386307.8998 | 381036.4472 | 378052.7223 | 378567.5696 | 337740.1982
Other_A | -7091.899 | -5593.6459 | 20974.4886 | 136647.6495 | 369271.7071 | 392982.5713 | 396293.4059 | 395395.0602 | 377725.055 | 380820.7001 | 369123.1363 | 373165.9384 | 378134.1263 | 390982.9341 | 375571.1108 | 379893.5795 | 374860.6607 | 368425.135 | 369395.8052 | 373344.7163 | 383817.078 | 390068.5006 | 499586.0504 | 530445.3667 | 444394.6918 | 444312.9277 | 443058.003 | 442165.2311 | 441197.6283 | 347648.3347
Peak_B | 290523.5838 | 281043.8278 | 270950.7816 | 76742.4635 | 82542.6937 | 196444.7645 | 226737.684 | 240546.2867 | 194738.5071 | 240094.2211 | 291372.4253 | 375096.8162 | 356613.6127 | 296972.4993 | 258344.6404 | 278482.7423 | 292543.1623 | 367125.2621 | 374204.2006 | 366384.4977 | 337162.1256 | 282255.7149 | 282127.5748 | 282986.778 | 282180.2489 | 282385.5697 | 280990.3347 | 280192.788 | 279784.0839 | 253531.1085
Other_B | 15910.2818 | 30609.9004 | 39073.9712 | 3662.3978 | 160893.5694 | 709291.4409 | 674725.9447 | 849263.9336 | 941528.7239 | 934609.5578 | 1573395.6814 | 1656667.317 | 1791434.887 | 1848625.0138 | 1876881.0236 | 1897768.6507 | 555993.9478 | 564544.01 | 554189.8793 | 183841.1273 | 81383.2501 | 100979.6518 | 1408690.366 | 1408848.0955 | 1408018.9184 | 1407956.858 | 1407615.8191 | 1407162.8473 | 1407006.0628 | 291063.4296
Peak_C | 1544018.5178 | 1349584.7705 | 1264044.7499 | 1244290.1016 | 1249388.0193 | 1282784.4299 | 1279773.111 | 1277471.8929 | 1347931.1156 | 1337552.5662 | 1343688.7984 | 1369208.737 | 1361870.7666 | 1355279.9157 | 1401373.6609 | 1405053.1913 | 1388201.3447 | 1408009.7692 | 1402250.2788 | 1516792.6524 | 1525344.1015 | 1522506.6213 | 1517707.9405 | 1517444.708 | 1508397.3813 | 1522473.9681 | 1507690.914 | 1496316.2234 | 1497659.983 | 1400545.5546
Other_C | 1273871.8198 | 1293377.7379 | 1294865.757 | 1303417.4692 | 1309692.409 | 1318631.5484 | 1319532.1021 | 1323496.5116 | 1331644.4116 | 1374943.4149 | 1404770.4444 | 1409078.1203 | 1392314.4174 | 1383807.3329 | 1383696.6213 | 1381781.0038 | 1380354.2778 | 1376627.3314 | 1376557.3806 | 1486509.5736 | 1519564.4428 | 1546131.4192 | 1552163.4746 | 1552025.7312 | 1552560.9091 | 1551920.6586 | 1549194.2322 | 1547046.8727 | 1545431.0285 | 1374326.6131
Peak_D | 4242461.6088 | 4880423.8552 | 4286828.9687 | 4179375.2473 | 4328687.079 | 4372409.9016 | 4387824.5185 | 4367111.2622 | 4642602.06 | 4631273.991 | 5075692.2865 | 5549679.3032 | 3914709.6306 | 3531089.7288 | 3587775.9601 | 3607971.7062 | 3558184.3003 | 3544212.7344 | 3567061.1382 | 3625743.7492 | 3594281.6863 | 3659878.5756 | 3629333.1748 | 3647256.0819 | 3633510.0524 | 3646868.6945 | 3615925.5496 | 3600775.8662 | 3601709.9598 | 4207959.5923
Other_D | 7869849.796 | 7072964.4483 | 6443675.133 | 6443829.9336 | 6631254.3345 | 7752572.164 | 8076545.3108 | 8161571.3259 | 8865738.1834 | 9040432.3635 | 9150629.3546 | 9311696.1536 | 9976971.2538 | 9800343.871 | 10144693.5065 | 11447142.8874 | 11619489.4933 | 11076385.329 | 11482132.9113 | 10699802.8447 | 10968737.7599 | 10699075.9386 | 10598032.4935 | 10600809.1499 | 10572639.6642 | 10574959.9514 | 10551098.8361 | 10529716.814 | 10505263.2633 | 9268679.5536
Total | 1174393.3872 | 1251962.2358 | 1172612.6625 | 1157921.5914 | 1426496.9847 | 1558944.6719 | 1556004.2339 | 1576134.0533 | 1586364.8172 | 1608498.958 | 1676632.1603 | 1683184.107 | 1379911.6196 | 1382387.9239 | 1423109.3522 | 1491558.9468 | 1495437.2529 | 1491861.1661 | 1466495.5078 | 1438849.3642 | 1502631.5847 | 1509902.5709 | 1634259.2842 | 1653609.7973 | 1616294.0479 | 1626474.1511 | 1620787.7385 | 1620326.1782 | 1626197.3389 | 1500642.8718
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 354728.0297 | 368814.3857 | 329330.6331 | 333926.1048 | 329157.1337 | 328068.4075 | 324763.5153 | 341670.6977 | 363477.2134 | 361579.2629 | 390143.1139 | 406893.8655 | 422661.7478 | 422044.0232 | 437602.2742 | 453820.4402 | 462026.0603 | 480390.8595 | 494884.5698 | 550021.9383 | 574086.8658 | 584115.4791 | 605459.9048 | 621727.3134 | 629682.6791 | 649496.9881 | 654087.4455 | 662593.8584 | 677429.6254
Other_A | -7091.899 | -5711.1125 | 21864.6669 | 145438.5018 | 401281.3746 | 436015.5723 | 448922.4232 | 457310.7746 | 446048.137 | 459147.502 | 454389.9195 | 469013.3002 | 485237.9719 | 512262.363 | 502403.3977 | 518857.4836 | 522735.1929 | 524549.9703 | 536976.5459 | 554113.9822 | 581619.7382 | 603505.823 | 789181.0153 | 855525.0461 | 731790.3409 | 747020.4686 | 760553.6938 | 774960.6053 | 789503.2964
Peak_B | 290523.5838 | 286945.7482 | 282450.2037 | 81679.4797 | 89697.7617 | 217956.1708 | 256849.1653 | 278213.9177 | 229962.898 | 289476.5485 | 358678.9336 | 471440.1224 | 457621.9234 | 389090.7275 | 345588.9481 | 380350.8737 | 407945.1977 | 522699.2597 | 543966.3263 | 543783.705 | 510920.8487 | 436700.1366 | 445668.4204 | 456413.2171 | 464669.7729 | 474773.0428 | 482348.2151 | 491079.708 | 500661.0244
Other_B | 15910.2818 | 31252.7083 | 40732.3096 | 3898.0081 | 174840.345 | 786961.3976 | 764331.6835 | 982251.8955 | 1111832.8734 | 1126839.0707 | 1936847.265 | 2082180.9436 | 2298846.2848 | 2422052.0522 | 2510713.3543 | 2591966.5916 | 775321.6968 | 803776.7121 | 805604.6196 | 272854.9104 | 123324.6442 | 156233.6046 | 2225265.6824 | 2272250.6547 | 2318602.5021 | 2367188.8128 | 2416314.3503 | 2466263.0509 | 2517774.0163
Peak_C | 1544018.5178 | 1377926.0507 | 1317692.0731 | 1324338.0972 | 1357689.0189 | 1423253.9256 | 1449731.0265 | 1477513.8076 | 1591745.5169 | 1612658.9742 | 1654078.5035 | 1720888.8657 | 1747611.1328 | 1775675.6923 | 1874624.7208 | 1919017.3312 | 1935817.1547 | 2004671.8111 | 2038397.5684 | 2251206.4056 | 2311440.235 | 2355590.3899 | 2397477.4567 | 2447399.9307 | 2483896.9822 | 2559725.6939 | 2588103.3318 | 2622517.6577 | 2679995.1259
Other_C | 1273871.8198 | 1320538.6704 | 1349821.1545 | 1387269.262 | 1423220.7884 | 1463026.4322 | 1494770.1373 | 1530745.5146 | 1572512.8664 | 1657740.3335 | 1729269.9003 | 1770998.6671 | 1786677.7346 | 1813052.0606 | 1850978.0544 | 1887232.2491 | 1924874.5873 | 1959990.6664 | 2001048.7856 | 2206260.6046 | 2302681.991 | 2392142.1829 | 2451905.8247 | 2503173.6885 | 2556621.6202 | 2609234.2252 | 2659347.9584 | 2711430.6972 | 2765479.2615
Peak_D | 4242461.6088 | 4982912.7561 | 4468766.277 | 4448243.9065 | 4703911.6933 | 4851204.4674 | 4970541.488 | 5050966.0721 | 5482358.0599 | 5583829.5648 | 6248168.1112 | 6975109.8305 | 5023523.7438 | 4626402.3588 | 4799386.2701 | 4927756.6698 | 4961812.0847 | 5046117.9439 | 5185300.271 | 5381287.6405 | 5446618.4366 | 5662487.5586 | 5733148.1489 | 5882451.0935 | 5983346.8065 | 6131456.8885 | 6207100.4579 | 6310897.4846 | 6445097.8503
Other_D | 7869849.796 | 7221496.7017 | 6717151.1493 | 6858376.0827 | 7206072.9354 | 8601506.6205 | 9149136.0646 | 9439608.3331 | 10469376.9913 | 10899859.0038 | 11264408.3415 | 11703397.5895 | 12802878.5566 | 12840323.3801 | 13570608.4415 | 15634472.581 | 16203130.1697 | 15770144.444 | 16691137.2104 | 15880525.7037 | 16621549.0393 | 16553386.4411 | 16741392.2739 | 17097439.8222 | 17410099.0113 | 17779612.1745 | 18112024.022 | 18454901.3394 | 18798695.7392
Total | 1174393.3872 | 1278253.4428 | 1222379.5165 | 1232413.3054 | 1550150.363 | 1729654.7046 | 1762646.5159 | 1822944.0814 | 1873307.2163 | 1939333.3355 | 2063931.1855 | 2115508.5492 | 1770761.9312 | 1811192.3636 | 1903700.6664 | 2037166.6264 | 2085355.3406 | 2124056.3037 | 2131788.3993 | 2135523.8637 | 2277022.673 | 2336089.6668 | 2581590.099 | 2667012.8288 | 2661571.7833 | 2734580.5329 | 2782245.424 | 2839863.6245 | 2910006.9384
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Lanai
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 2.2168 | 0.2554 | 0.050647 | 0.55756 | 0.60805 | 0.0023263 | 0.040359 | 0.12309
Ventilation | Ventilation | 0.27998 | 0.017457 | 0.033839 | 0.061734 | 0.15359 | 0.004712 | 0.035289 | 0.039039
Water Heating | Water Heating | 0.055525 | 0.0029599 | 0.010416 | 0.011693 | 1.4424 | 0.0019821 | 0.017553 | 0.06566
Interior Lighting | Interior Lighting | 0.067235 | 0.42953 | 0.0098935 | 0.042997 | 1.5813 | 0.18942 | 0.023534 | 0.058045
Exterior Lighting | Exterior Lighting | 0.027702 | 0.054322 | 0.0059452 | 0.013038 | 0.22405 | 0.087381 | 0.0051245 | 0.069507
Appliances | Res Appliances | 0.0093809 | 0.010355 | 0.024575 | 0.035913 | 0.23778 | 0.00032957 | 0.039304 | 0.55284
Refrigeration | Com Refrigeration | 0.037538 | 0.00010515 | 0.00023473 | 0.016388 | 0.36094 | 0.015546 | 0.056707 | 0.096018
Electronics | Electronics | 0.11483 | 0.0021958 | 0.0050253 | 0.0011956 | 0.096804 | 0.001012 | 0.053266 | 0.016791
Office Equipment | Electronics | 0.0058409 | 0 | 0 | 0.0022599 | 0.15576 | 0.00784 | 8.6958e-05 | 0.011114
Food Preparation | Food Preparation | 0.0094283 | 0.0013658 | 0 | 2.3411e-05 | 0.063224 | 0.001983 | 6.4376e-07 | 8.5159e-05
Miscellaneous | Miscellaneous | 0.035271 | 0.004429 | 0.010521 | 0.002783 | 0.18623 | 0.00012498 | 0.055802 | 0.053632
| Total | 2.8596 | 0.77813 | 0.1511 | 0.74558 | 5.1102 | 0.31266 | 0.32703 | 1.0858