## Summary
Incremental Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 22.5956 | 25.3741 | 32.2799 | 31.407 | 34.0534 | 36.9369 | 37.4232 | 37.1705 | 38.5445 | 36.7235 | 34.4762 | 32.2266 | 28.7386 | 28.1893 | 27.3684 | 27.5274 | 30.7509 | 27.8556 | 24.1853 | 20.2032 | 18.5786 | 16.7492 | 16.6342 | 16.4815 | 16.2911 | 16.063 | 15.7972 | 15.4937
Other_A | 51.0842 | 55.4354 | 60.6799 | 75.2172 | 68.4822 | 63.6138 | 66.6784 | 70.2191 | 72.2708 | 72.6429 | 70.9007 | 63.8657 | 60.5943 | 54.292 | 53.5367 | 43.0371 | 41.9096 | 42.6521 | 41.9589 | 43.3348 | 35.6026 | 37.1854 | 32.8614 | 32.7635 | 32.597 | 32.3619 | 32.0584 | 31.6862 | 31.2456
Peak_B | 8.8385 | 8.5915 | 9.0925 | 9.2504 | 7.7953 | 7.1549 | 7.078 | 7.121 | 6.8912 | 6.8532 | 6.8608 | 6.9941 | 7.3078 | 6.4895 | 6.3305 | 6.0512 | 5.6564 | 6.5457 | 5.4957 | 4.2687 | 3.6947 | 3.4779 | 3.0129 | 2.9927 | 2.9644 | 2.928 | 2.8836 | 2.8311 | 2.7705
Other_B | 7.5304 | 5.5423 | 5.785 | 8.1245 | 4.6749 | 3.0098 | 3.5849 | 4.0052 | 4.4267 | 4.7083 | 4.6229 | 4.6661 | 4.5466 | 4.4794 | 4.0968 | 4.0023 | 4.5127 | 4.5617 | 4.3173 | 3.7827 | 3.5415 | 3.2282 | 2.6016 | 2.5862 | 2.5666 | 2.5428 | 2.5147 | 2.4823 | 2.4457
Peak_C | 1.3735 | 1.4622 | 1.5447 | 1.9254 | 1.726 | 1.7951 | 1.8559 | 1.9129 | 1.9354 | 1.4641 | 1.2119 | 1.2142 | 1.1906 | 1.1965 | 1.2143 | 1.231 | 1.249 | 1.2662 | 1.1119 | 0.84309 | 0.79664 | 0.77537 | 0.75473 | 0.7522 | 0.74865 | 0.74408 | 0.7385 | 0.73189 | 0.72427
Other_C | 1.7081 | 1.9912 | 2.2579 | 2.7003 | 2.6719 | 2.956 | 3.1682 | 3.3769 | 3.3096 | 3.2967 | 3.1209 | 3.0044 | 2.0857 | 2.104 | 2.035 | 1.8398 | 1.7454 | 1.7702 | 1.5792 | 1.1931 | 0.94211 | 0.78077 | 0.74301 | 0.73684 | 0.72875 | 0.71873 | 0.70678 | 0.69291 | 0.67712
Peak_D | 7.6513 | 8.8032 | 9.9135 | 11.2205 | 12.053 | 13.0154 | 13.917 | 14.7328 | 14.5813 | 14.0872 | 13.8569 | 13.0332 | 6.7557 | 6.46 | 6.4654 | 6.4784 | 6.5003 | 6.526 | 6.0631 | 4.093 | 3.6633 | 3.5787 | 3.4962 | 3.4842 | 3.4668 | 3.444 | 3.4159 | 3.3825 | 3.3437
Other_D | 7.3495 | 8.1585 | 9.5421 | 10.7296 | 11.3448 | 12.189 | 12.5122 | 13.2929 | 13.3445 | 13.1774 | 13.0933 | 12.5946 | 10.6096 | 10.2162 | 9.7904 | 9.415 | 8.9437 | 9.5916 | 8.6756 | 7.3987 | 6.7969 | 6.3536 | 5.7216 | 5.688 | 5.6427 | 5.5859 | 5.5175 | 5.4376 | 5.346
Total | 105.9281 | 112.5799 | 124.1896 | 151.4477 | 140.155 | 137.7874 | 145.7315 | 152.084 | 153.93 | 154.7742 | 150.3909 | 139.8485 | 125.3168 | 113.9762 | 111.6584 | 99.4232 | 98.0445 | 103.6646 | 97.0574 | 89.0994 | 75.241 | 73.9584 | 65.9407 | 65.6377 | 65.1964 | 64.6166 | 63.8983 | 63.0417 | 62.0466
Cumulative Potential by Bundle (GWh)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 20.3925 | 42.988 | 68.3621 | 100.642 | 132.049 | 166.1024 | 203.0393 | 240.4625 | 277.633 | 316.1774 | 352.901 | 387.3772 | 419.6038 | 448.3424 | 476.5317 | 503.9001 | 531.4276 | 562.1785 | 590.0341 | 614.2194 | 634.4227 | 653.0012 | 669.7504 | 686.3846 | 702.8661 | 719.1572 | 735.2202 | 751.0174 | 766.5111
Other_A | 51.0842 | 106.5196 | 167.1994 | 242.4167 | 310.8989 | 374.5126 | 441.191 | 511.4101 | 583.681 | 656.3238 | 727.2245 | 791.0902 | 851.6845 | 905.9765 | 959.5132 | 1002.5502 | 1044.4598 | 1087.1119 | 1129.0708 | 1172.4056 | 1208.0082 | 1245.1935 | 1278.055 | 1310.8184 | 1343.4154 | 1375.7773 | 1407.8357 | 1439.5219 | 1470.7675
Peak_B | 8.8385 | 17.43 | 26.5225 | 35.7729 | 43.5682 | 50.7231 | 57.8011 | 64.922 | 71.8132 | 78.6664 | 85.5272 | 92.5213 | 99.8291 | 106.3186 | 112.6491 | 118.7003 | 124.3567 | 130.9024 | 136.3981 | 140.6667 | 144.3614 | 147.8393 | 150.8523 | 153.845 | 156.8094 | 159.7374 | 162.621 | 165.4521 | 168.2225
Other_B | 7.5304 | 13.0728 | 18.8577 | 26.9822 | 31.6571 | 34.6669 | 38.2518 | 42.257 | 46.6838 | 51.392 | 56.0149 | 60.681 | 65.2276 | 69.707 | 73.8038 | 77.8061 | 82.3188 | 86.8806 | 91.1978 | 94.9806 | 98.5221 | 101.7503 | 104.3518 | 106.938 | 109.5046 | 112.0474 | 114.5621 | 117.0444 | 119.4901
Peak_C | 1.3735 | 2.8358 | 4.3804 | 6.3058 | 8.0319 | 9.827 | 11.6829 | 13.5958 | 15.5312 | 16.9952 | 18.2071 | 19.4213 | 20.6119 | 21.8084 | 23.0227 | 24.2537 | 25.5027 | 26.769 | 27.8809 | 28.724 | 29.5206 | 30.296 | 31.0507 | 31.8029 | 32.5516 | 33.2957 | 34.0342 | 34.7661 | 35.4903
Other_C | 1.7081 | 3.6993 | 5.9572 | 8.6575 | 11.3294 | 14.2854 | 17.4536 | 20.8305 | 24.1401 | 27.4367 | 30.5576 | 33.562 | 35.6477 | 37.7517 | 39.7867 | 41.6265 | 43.3719 | 45.1421 | 46.7214 | 47.9145 | 48.8566 | 49.6374 | 50.3804 | 51.1173 | 51.846 | 52.5647 | 53.2715 | 53.9644 | 54.6415
Peak_D | 7.6513 | 16.4545 | 26.3681 | 37.5885 | 49.6415 | 62.6569 | 76.5739 | 91.3067 | 105.888 | 119.9753 | 133.8322 | 146.8654 | 153.6211 | 160.0811 | 166.5465 | 173.0249 | 179.5253 | 186.0513 | 192.1144 | 196.2075 | 199.8707 | 203.4494 | 206.9456 | 210.4298 | 213.8966 | 217.3406 | 220.7565 | 224.139 | 227.4827
Other_D | 7.3495 | 15.508 | 25.0501 | 35.7796 | 47.1244 | 59.3135 | 71.8257 | 85.1186 | 98.463 | 111.6404 | 124.7337 | 137.3283 | 147.9379 | 158.1541 | 167.9446 | 177.3595 | 186.3032 | 195.8948 | 204.5704 | 211.9691 | 218.766 | 225.1196 | 230.8412 | 236.5292 | 242.1719 | 247.7579 | 253.2754 | 258.713 | 264.059
Total | 105.9281 | 218.508 | 342.6976 | 494.1453 | 634.3003 | 772.0877 | 917.8192 | 1069.9032 | 1223.8332 | 1378.6074 | 1528.9983 | 1668.8468 | 1794.1637 | 1908.1398 | 2019.7982 | 2119.2214 | 2217.2659 | 2320.9305 | 2417.988 | 2507.0874 | 2582.3284 | 2656.2868 | 2722.2275 | 2787.8652 | 2853.0616 | 2917.6781 | 2981.5765 | 3044.6182 | 3106.6648
Incremental Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 4.9074 | 5.4245 | 4.834 | 7.3701 | 8.6089 | 7.6513 | 8.8916 | 6.9881 | 10.0431 | 8.8005 | 10.0747 | 8.2966 | 7.7366 | 5.3664 | 7.5274 | 7.5019 | 6.185 | 7.4001 | 6.7288 | 6.5346 | 4.6128 | 5.0925 | 3.7581 | 4.0269 | 3.1388 | 4.5536 | 4.4957 | 3.8134 | 4.1021
Other_A | 6.5314 | 7.0978 | 7.8841 | 9.8361 | 8.9188 | 8.2263 | 8.4957 | 8.7069 | 9.5061 | 9.4995 | 9.1944 | 8.1655 | 7.7583 | 6.732 | 6.6372 | 5.6049 | 5.4196 | 5.4533 | 5.3455 | 5.7 | 4.6557 | 4.8428 | 4.2349 | 4.2312 | 4.1301 | 4.4255 | 4.2213 | 4.4676 | 4.4893
Peak_B | 2.1874 | 2.1121 | 2.2559 | 2.2131 | 2.1777 | 1.769 | 1.7511 | 1.7733 | 1.9202 | 1.6396 | 1.9168 | 1.7309 | 1.7966 | 1.616 | 1.6844 | 1.6905 | 1.3985 | 1.6199 | 1.3597 | 1.1894 | 0.88396 | 0.97159 | 0.7441 | 0.74248 | 0.75449 | 0.84758 | 0.81006 | 0.75978 | 0.76525
Other_B | 0.9392 | 0.68602 | 0.82609 | 1.0722 | 0.59133 | 0.42921 | 0.44466 | 0.50093 | 0.63929 | 0.62138 | 0.58188 | 0.58196 | 0.56277 | 0.56023 | 0.43853 | 0.50626 | 0.64353 | 0.56894 | 0.53158 | 0.54628 | 0.4674 | 0.40834 | 0.36974 | 0.32437 | 0.33133 | 0.38808 | 0.29234 | 0.39814 | 0.35651
Peak_C | 0.30625 | 0.33387 | 0.26576 | 0.41386 | 0.45244 | 0.32887 | 0.41385 | 0.31769 | 0.4119 | 0.3147 | 0.31803 | 0.27072 | 0.27186 | 0.19872 | 0.27036 | 0.32267 | 0.22883 | 0.28234 | 0.2545 | 0.17943 | 0.17124 | 0.20324 | 0.13811 | 0.17244 | 0.12551 | 0.16095 | 0.16825 | 0.13876 | 0.16902
Other_C | 0.22856 | 0.26664 | 0.30351 | 0.35587 | 0.37158 | 0.38978 | 0.42281 | 0.45367 | 0.45275 | 0.43446 | 0.43307 | 0.40202 | 0.27929 | 0.28266 | 0.28316 | 0.25586 | 0.23014 | 0.23688 | 0.20978 | 0.16322 | 0.12416 | 0.10858 | 0.097742 | 0.1 | 0.10098 | 0.10364 | 0.10682 | 0.10189 | 0.10463
Peak_D | 1.8821 | 2.158 | 2.0549 | 2.6153 | 3.4354 | 3.0421 | 3.4244 | 3.0768 | 4.1143 | 3.2835 | 3.9522 | 3.206 | 1.6561 | 1.3491 | 1.7525 | 1.8465 | 1.5193 | 1.6053 | 1.5017 | 1.1549 | 0.85384 | 1.02 | 0.81609 | 0.85725 | 0.73036 | 0.98669 | 0.94054 | 0.81673 | 0.85903
Other_D | 0.97797 | 1.0926 | 1.2916 | 1.4277 | 1.596 | 1.6044 | 1.6596 | 1.76 | 1.8363 | 1.7535 | 1.8369 | 1.6759 | 1.4209 | 1.3526 | 1.3348 | 1.3245 | 1.1773 | 1.2763 | 1.1537 | 1.0181 | 0.90444 | 0.89383 | 0.75131 | 0.76741 | 0.76001 | 0.79159 | 0.78802 | 0.76121 | 0.77191
Total | 17.9602 | 19.1716 | 19.7159 | 25.3044 | 26.1521 | 23.441 | 25.5038 | 23.5773 | 28.924 | 26.3471 | 28.308 | 24.3296 | 21.4824 | 17.4578 | 19.9283 | 19.0532 | 16.8022 | 18.4431 | 17.0853 | 16.4861 | 12.6736 | 13.541 | 10.9101 | 11.2221 | 10.0715 | 12.2577 | 11.823 | 11.2574 | 11.6177
Cumulative Peak Impact by Bundle (MW)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 4.9074 | 10.3318 | 15.1659 | 22.536 | 31.1449 | 38.7962 | 47.6878 | 54.6759 | 64.7191 | 73.5195 | 83.5942 | 91.8908 | 99.6274 | 104.9938 | 112.5212 | 120.0231 | 126.2081 | 133.6082 | 140.337 | 146.8716 | 151.4844 | 156.577 | 160.3351 | 164.362 | 167.5008 | 172.0544 | 176.5501 | 180.3635 | 184.4656
Other_A | 6.5314 | 13.6292 | 21.5133 | 31.3494 | 40.2682 | 48.4945 | 56.9903 | 65.6971 | 75.2033 | 84.7028 | 93.8972 | 102.0627 | 109.8211 | 116.5531 | 123.1902 | 128.7952 | 134.2148 | 139.6681 | 145.0136 | 150.7136 | 155.3693 | 160.2122 | 164.4471 | 168.6783 | 172.8084 | 177.2339 | 181.4552 | 185.9227 | 190.412
Peak_B | 2.1874 | 4.2995 | 6.5554 | 8.7686 | 10.9463 | 12.7153 | 14.4664 | 16.2396 | 18.1598 | 19.7994 | 21.7163 | 23.4472 | 25.2437 | 26.8598 | 28.5442 | 30.2347 | 31.6332 | 33.2531 | 34.6128 | 35.8023 | 36.6862 | 37.6578 | 38.4019 | 39.1444 | 39.8989 | 40.7465 | 41.5565 | 42.3163 | 43.0816
Other_B | 0.9392 | 1.6252 | 2.4513 | 3.5235 | 4.1149 | 4.5441 | 4.9887 | 5.4897 | 6.129 | 6.7503 | 7.3322 | 7.9142 | 8.4769 | 9.0372 | 9.4757 | 9.982 | 10.6255 | 11.1944 | 11.726 | 12.2723 | 12.7397 | 13.148 | 13.5178 | 13.8422 | 14.1735 | 14.5616 | 14.8539 | 15.252 | 15.6085
Peak_C | 0.30625 | 0.64013 | 0.90588 | 1.3197 | 1.7722 | 2.1011 | 2.5149 | 2.8326 | 3.2445 | 3.5592 | 3.8772 | 4.1479 | 4.4198 | 4.6185 | 4.8889 | 5.2115 | 5.4404 | 5.7227 | 5.9772 | 6.1566 | 6.3279 | 6.5311 | 6.6692 | 6.8417 | 6.9672 | 7.1281 | 7.2964 | 7.4351 | 7.6041
Other_C | 0.22856 | 0.49521 | 0.79871 | 1.1546 | 1.5262 | 1.9159 | 2.3388 | 2.7924 | 3.2452 | 3.6796 | 4.1127 | 4.5147 | 4.794 | 5.0767 | 5.3598 | 5.6157 | 5.8458 | 6.0827 | 6.2925 | 6.4557 | 6.5799 | 6.6885 | 6.7862 | 6.8862 | 6.9872 | 7.0908 | 7.1977 | 7.2995 | 7.4042
Peak_D | 1.8821 | 4.0401 | 6.095 | 8.7103 | 12.1457 | 15.1878 | 18.6122 | 21.689 | 25.8033 | 29.0868 | 33.0389 | 36.2449 | 37.901 | 39.2501 | 41.0025 | 42.8491 | 44.3684 | 45.9737 | 47.4754 | 48.6303 | 49.4841 | 50.5041 | 51.3202 | 52.1775 | 52.9078 | 53.8945 | 54.8351 | 55.6518 | 56.5108
Other_D | 0.97797 | 2.0706 | 3.3622 | 4.7899 | 6.3859 | 7.9904 | 9.65 | 11.41 | 13.2462 | 14.9997 | 16.8366 | 18.5125 | 19.9334 | 21.286 | 22.6208 | 23.9453 | 25.1226 | 26.3989 | 27.5526 | 28.5707 | 29.4751 | 30.3689 | 31.1203 | 31.8877 | 32.6477 | 33.4393 | 34.2273 | 34.9885 | 35.7604
Total | 17.9602 | 37.1318 | 56.8477 | 82.1521 | 108.3043 | 131.7452 | 157.249 | 180.8263 | 209.7503 | 236.0974 | 264.4053 | 288.735 | 310.2174 | 327.6751 | 347.6034 | 366.6565 | 383.4587 | 401.9018 | 418.9871 | 435.4731 | 448.1467 | 461.6877 | 472.5978 | 483.8199 | 493.8914 | 506.1491 | 517.9721 | 529.2296 | 540.8473
Savings-Weighted LCOE ($/MWh) Real Dollars (2019)
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 70.1413 | 70.3217 | 73.5515 | 69.3148 | 69.2681 | 67.9031 | 70.3996 | 70.2401 | 68.9639 | 72.4873 | 76.9341 | 81.9642 | 80.2829 | 80.0887 | 80.396 | 79.7231 | 82.9102 | 82.3273 | 86.1004 | 90.1055 | 88.6545 | 89.6716 | 89.6738 | 89.6665 | 89.6665 | 89.6665 | 89.6665 | 89.6665
Other_A | 25.651 | 20.6944 | 16.8664 | 17.5749 | 16.5919 | 43.3548 | 45.1569 | 45.1015 | 42.0954 | 42.937 | 43.0311 | 42.276 | 43.8348 | 48.5758 | 48.3588 | 68.0922 | 68.0502 | 66.5993 | 68.5933 | 66.9376 | 72.1006 | 72.647 | 73.8093 | 73.7028 | 73.8962 | 73.8962 | 73.8962 | 73.8962 | 73.8962
Peak_B | 71.7924 | 83.9147 | 87.9152 | 59.1407 | 70.2089 | 94.3516 | 107.0412 | 115.5403 | 114.2467 | 126.4001 | 133.0106 | 137.2061 | 135.6729 | 126.7515 | 124.0223 | 123.9895 | 128.2163 | 138.7301 | 158.3454 | 157.4167 | 155.8861 | 132.875 | 130.9158 | 130.9092 | 130.919 | 130.919 | 130.919 | 130.919 | 130.919
Other_B | 27.1999 | 48.2577 | 62.6385 | 45.0013 | 101.6705 | 185.6383 | 170.1795 | 173.6926 | 172.9695 | 179.578 | 185.2797 | 186.0491 | 186.0367 | 186.5604 | 187.1106 | 187.2315 | 157.0287 | 159.4222 | 154.1787 | 155.6766 | 147.6574 | 150.945 | 180.4025 | 180.271 | 180.5081 | 180.5081 | 180.5081 | 180.5081 | 180.5081
Peak_C | 199.5147 | 200.2433 | 200.9043 | 209.3414 | 202.9729 | 203.6983 | 204.3487 | 205.0304 | 206.1034 | 223.7692 | 239.084 | 236.6934 | 238.6933 | 240.6157 | 241.3763 | 242.0164 | 242.5359 | 242.5267 | 238.1842 | 247.3148 | 249.2318 | 249.1503 | 249.0676 | 249.1336 | 248.9705 | 248.9705 | 248.9705 | 248.9705 | 248.9705
Other_C | 185.583 | 183.5584 | 182.5343 | 185.9923 | 180.5802 | 179.4393 | 177.3264 | 175.429 | 173.3224 | 174.7819 | 174.6986 | 175.8775 | 186.7603 | 188.3891 | 189.5318 | 191.7607 | 192.8305 | 187.0596 | 189.161 | 180.6416 | 183.5096 | 194.0392 | 193.1169 | 193.0155 | 193.1831 | 193.1831 | 193.1831 | 193.1831 | 193.1831
Peak_D | 782.0409 | 799.1298 | 810.8922 | 818.0648 | 829.9395 | 835.556 | 839.6543 | 844.1108 | 844.3435 | 862.6873 | 869.7558 | 853.4929 | 751.1484 | 718.2218 | 723.5465 | 727.9499 | 731.203 | 729.2309 | 730.0677 | 790.2461 | 815.6719 | 823.5522 | 825.4845 | 826.1198 | 825.7895 | 825.7895 | 825.7895 | 825.7895 | 825.7895
Other_D | 1723.3433 | 1678.3699 | 1534.1248 | 1482.8336 | 1468.57 | 1427.4512 | 1428.904 | 1395.9029 | 1401.3883 | 1425.6487 | 1435.3939 | 1372.1789 | 1422.065 | 1458.2578 | 1518.6188 | 1579.7855 | 1652.6616 | 1558.8956 | 1624.2906 | 1689.1709 | 1752.7963 | 1807.693 | 1325.8744 | 1326.3025 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262 | 1325.1262
Total | 215.4051 | 223.0118 | 220.3854 | 202.0722 | 227.1236 | 257.7956 | 256.5821 | 258.3857 | 254.6031 | 254.1254 | 260.4091 | 260.2941 | 223.1988 | 235.3524 | 238.4332 | 270.2666 | 271.854 | 264.073 | 265.7096 | 251.4055 | 275.9054 | 271.4374 | 236.4987 | 236.3935 | 236.2915 | 236.2351 | 236.2097 | 236.2161 | 236.2559
Savings-Weighted LCOE ($/MWh) Nominal Dollars
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 69.9912 | 71.6143 | 73.3062 | 78.2832 | 75.3233 | 76.8532 | 76.9209 | 81.4236 | 82.9452 | 83.1483 | 89.2318 | 96.6945 | 105.1799 | 105.186 | 107.1351 | 109.8046 | 111.1722 | 118.0445 | 119.6761 | 127.7892 | 136.542 | 137.1644 | 141.6516 | 144.6298 | 147.655 | 150.7557 | 153.9216 | 157.1539 | 160.4542
Other_A | 25.651 | 21.1289 | 17.5822 | 18.7055 | 18.0301 | 48.1023 | 51.1539 | 52.1641 | 49.7096 | 51.7682 | 52.9712 | 53.1346 | 56.2508 | 63.6436 | 64.6898 | 93.0001 | 94.8945 | 94.8216 | 99.7115 | 99.348 | 109.2582 | 112.3979 | 116.5943 | 118.8711 | 121.6859 | 124.2413 | 126.8503 | 129.5142 | 132.234
Peak_B | 71.7924 | 85.6769 | 91.6464 | 62.9454 | 76.2948 | 104.6835 | 121.2567 | 133.633 | 134.9117 | 152.398 | 163.7358 | 172.4474 | 174.1013 | 166.0687 | 165.9052 | 169.3444 | 178.795 | 197.5187 | 230.1806 | 233.6361 | 236.223 | 205.5814 | 206.8037 | 211.1361 | 215.586 | 220.1133 | 224.7357 | 229.4551 | 234.2737
Other_B | 27.1999 | 49.2711 | 65.297 | 47.8963 | 110.4837 | 205.9664 | 192.7799 | 200.8914 | 204.2563 | 216.5134 | 228.079 | 233.8356 | 238.7303 | 244.4298 | 250.2988 | 255.7202 | 218.9731 | 226.9793 | 224.1236 | 231.0535 | 223.7537 | 233.539 | 284.9764 | 290.7488 | 297.2449 | 303.4871 | 309.8603 | 316.3674 | 323.0111
Peak_C | 199.5147 | 204.4484 | 209.4309 | 222.8088 | 220.5672 | 226.004 | 231.4868 | 237.1365 | 243.3835 | 269.7938 | 294.3119 | 297.488 | 306.3015 | 315.2526 | 322.8903 | 330.5453 | 338.2111 | 345.3005 | 346.2392 | 367.0618 | 377.675 | 385.4801 | 393.4445 | 401.8134 | 409.9828 | 418.5924 | 427.3829 | 436.3579 | 445.5214
Other_C | 185.583 | 187.4131 | 190.2813 | 197.9576 | 196.2335 | 199.0886 | 200.8759 | 202.8998 | 204.6731 | 210.7308 | 215.0537 | 221.0515 | 239.6588 | 246.8257 | 253.5376 | 261.9062 | 268.898 | 266.3284 | 274.9761 | 268.1062 | 278.0825 | 300.2133 | 305.061 | 311.3037 | 318.117 | 324.7974 | 331.6182 | 338.5822 | 345.6924
Peak_D | 782.0409 | 815.9115 | 845.3073 | 870.6928 | 901.8813 | 927.0524 | 951.1631 | 976.2918 | 997.0688 | 1040.1239 | 1070.6679 | 1072.7119 | 963.906 | 941.0078 | 967.8919 | 994.2318 | 1019.647 | 1038.2517 | 1061.2714 | 1172.8743 | 1236.0337 | 1274.1828 | 1303.993 | 1332.4014 | 1359.8379 | 1388.3945 | 1417.5508 | 1447.3194 | 1477.7131
Other_D | 1723.3433 | 1713.6156 | 1599.2346 | 1578.2277 | 1595.8704 | 1583.7622 | 1618.667 | 1614.4902 | 1654.8721 | 1718.8747 | 1766.9673 | 1724.6219 | 1824.855 | 1910.5964 | 2031.4641 | 2157.6662 | 2304.6013 | 2219.4974 | 2361.1691 | 2507.0482 | 2656.1114 | 2796.8248 | 2094.4439 | 2139.1176 | 2182.102 | 2227.9262 | 2274.7126 | 2322.4816 | 2371.2537
Total | 215.4051 | 227.695 | 229.7388 | 215.072 | 246.8114 | 286.0251 | 290.657 | 298.8469 | 300.6558 | 306.3937 | 320.5631 | 327.1504 | 286.4182 | 308.3566 | 318.9533 | 369.1292 | 379.0946 | 375.9772 | 386.2519 | 373.1332 | 418.095 | 419.9622 | 373.5899 | 381.2656 | 389.1043 | 397.1806 | 405.4777 | 414.0041 | 422.7692
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 290847.4842 | 292171.8589 | 369123.5413 | 322142.3467 | 252873.583 | 308290.1269 | 282078.4636 | 377007.2765 | 259965.3069 | 302049.446 | 264225.3944 | 319698.4538 | 341419.7376 | 429935.0857 | 299924.574 | 293299.739 | 354822.1431 | 344532.3644 | 340813.7613 | 318665.6545 | 394645.8624 | 323428.302 | 399649.1789 | 370418.688 | 470834.7884 | 320790.9439 | 320378.0004 | 371449.7073 | 338670.9915
Other_A | 200626.4135 | 161627.4729 | 129812.2324 | 134395.5372 | 127399.5726 | 335259.6144 | 354411.4511 | 363734.2148 | 320032.3669 | 328340.2969 | 331823.7392 | 330656.6985 | 342359.6065 | 391753.6733 | 390071.2983 | 522841.2099 | 526227.6192 | 520897.8196 | 538415.8806 | 508896.0177 | 551355.1658 | 557814.8956 | 572732.9095 | 570699.9155 | 583234.4897 | 540371.4908 | 561199.3764 | 524111.2827 | 514323.4439
Peak_B | 290091.6168 | 341338.7534 | 354342.4908 | 247192.5184 | 251318.8204 | 381614.3235 | 432671.2753 | 463972.6055 | 410012.0192 | 528318.8161 | 476078.5323 | 554408.6818 | 551875.0712 | 508993.0525 | 466106.6377 | 443831.2018 | 518583.3429 | 560566.5096 | 639989.3906 | 564941.9847 | 651562.2412 | 475637.8553 | 530088.2298 | 527653.9823 | 514379.7227 | 452269.9899 | 466034.6171 | 487826.3862 | 473969.6977
Other_B | 218087.7602 | 389872.9061 | 438645.3281 | 340980.6102 | 803775.9758 | 1301771.4846 | 1372016.5269 | 1388777.7146 | 1197716.6376 | 1360686.9992 | 1472000.8312 | 1491731.9784 | 1502986.1458 | 1491664.2662 | 1748007.3957 | 1480194.2829 | 1101148.9534 | 1278238.5629 | 1252190.0141 | 1077973.4907 | 1118820.5338 | 1193324.7148 | 1269328.9267 | 1437285.0742 | 1398290.782 | 1182714.7525 | 1552720.7971 | 1125436.2628 | 1238310.9225
Peak_C | 894802.2623 | 876987.3997 | 1167716.1071 | 973920.8134 | 774339.2957 | 1111888.1042 | 916398.1773 | 1234529.171 | 968424.1401 | 1041043.2531 | 911069.9951 | 1061544.7928 | 1045383.2057 | 1448795.6777 | 1084096.5294 | 923290.0846 | 1323883.052 | 1087706.4075 | 1040652.4105 | 1162065.1802 | 1159503.1748 | 950505.5187 | 1361092.1578 | 1086731.6356 | 1485025.4821 | 1150971.3782 | 1092807.8736 | 1313206.3486 | 1066897.3272
Other_C | 1386905.0013 | 1370778.465 | 1357908.7476 | 1411294.6466 | 1298471.5718 | 1360845.6066 | 1328721.8564 | 1305831.1553 | 1266979.8033 | 1326230.9069 | 1258960.0087 | 1314373.5461 | 1394689.3318 | 1402301.3384 | 1362090.5068 | 1378865.5473 | 1462402.6017 | 1397939.5807 | 1424017.3409 | 1320482.886 | 1392456.4231 | 1395248.9831 | 1468023.4371 | 1422165.8311 | 1394114.4772 | 1339654.7448 | 1278254.0424 | 1313720.4416 | 1250206.9657
Peak_D | 3179197.8758 | 3259915.6283 | 3911978.2615 | 3509785.8678 | 2911817.0879 | 3574888.1562 | 3412423.6506 | 4041942.4048 | 2992365.7188 | 3701231.8213 | 3049513.3102 | 3469668.5526 | 3064183.8279 | 3439135.3144 | 2669421.9612 | 2553989.8451 | 3128418.4565 | 2964511.2829 | 2947709.7796 | 2800643.7954 | 3499519.1443 | 2889407.5826 | 3536488.9327 | 3357620.918 | 3919751.5587 | 2882381.479 | 2999168.1783 | 3420022.4001 | 3214328.1597
Other_D | 12951069.2068 | 12531903.3081 | 11333995.9027 | 11143651.8752 | 10438923.099 | 10844391.6523 | 10772728.9586 | 10543189.4463 | 10184105.0229 | 10713901.4166 | 10231469.8657 | 10312039.3772 | 10618148.9503 | 11014153.3727 | 11138819.1556 | 11229467.561 | 12555322.2461 | 11715230.7995 | 12214586.6309 | 12275465.4559 | 13172449.9332 | 12849484.6354 | 10097254.0237 | 9830443.3102 | 9838425.8385 | 9350868.4065 | 9278212.8532 | 9465818.6648 | 9177409.1502
Total | 1270444.7219 | 1309574.4771 | 1388198.3846 | 1209408.9511 | 1217204.1378 | 1515336.2968 | 1466139.1696 | 1666701.4918 | 1354967.4541 | 1492844.6891 | 1383467.5394 | 1496190.5086 | 1302022.8652 | 1536541.4196 | 1335944.6274 | 1410305.796 | 1586328.3237 | 1484297.3362 | 1509433.3817 | 1358729.6986 | 1638007.3456 | 1482542.5427 | 1429396.1311 | 1382656.0329 | 1529596.8203 | 1245315.2443 | 1276614.8934 | 1322811.1753 | 1261768.4742
Savings-Weighted LCOE ($/MW) Nominal Dollars - Incremental
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 290847.4842 | 298307.468 | 384789.5135 | 342866.4922 | 274793.4841 | 342049.0015 | 319539.3754 | 436043.6106 | 306987.9514 | 364174.659 | 325260.9871 | 401812.7366 | 438124.4895 | 563297.1256 | 401210.6382 | 400587.8822 | 494791.9077 | 490532.3344 | 495427.9224 | 472959.9405 | 598029.208 | 500401.502 | 631313.7537 | 597427.1528 | 775329.5813 | 539343.7514 | 549961.1111 | 651021.0883 | 606036.4948
Other_A | 200626.4135 | 165021.6498 | 135321.5934 | 143041.506 | 138442.9801 | 371971.7445 | 401478.4124 | 420692.0932 | 377919.9689 | 395872.9845 | 408474.4285 | 415585.5974 | 439330.5697 | 513272.1787 | 521800.3728 | 714094.918 | 733813.1867 | 741634.8937 | 782674.5614 | 755297.6822 | 835499.6835 | 863039.5356 | 904728.9025 | 920449.3095 | 960419.5864 | 908523.1132 | 963355.2623 | 918583.2995 | 920358.6518
Peak_B | 290091.6168 | 348506.8673 | 369381.1405 | 263094.9721 | 273103.9496 | 423402.4606 | 490131.3886 | 536627.0168 | 484175.1821 | 636982.8757 | 586051.8203 | 696808.0921 | 708189.8239 | 666878.1707 | 623513.2356 | 606183.2917 | 723153.4065 | 798113.6954 | 930328.0857 | 838480.4691 | 987349.1354 | 735896.9382 | 837364.3882 | 851022.9815 | 847035.5735 | 760398.6261 | 799995.3664 | 854988.5991 | 848147.4393
Other_B | 218087.7602 | 398060.2372 | 457261.8744 | 362916.6638 | 873449.8804 | 1444320.1309 | 1554224.6597 | 1606249.2336 | 1414360.1749 | 1640551.6731 | 1812030.386 | 1874882.1002 | 1928696.4558 | 1954365.2554 | 2338318.4425 | 2021644.8032 | 1535528.72 | 1819908.4062 | 1820260.7043 | 1599915.9961 | 1695412.0681 | 1846287.0314 | 2005120.6203 | 2318115.034 | 2302583.0572 | 1988490.7091 | 2665401.6622 | 1972495.1356 | 2215901.6561
Peak_C | 894802.2623 | 895404.1351 | 1217275.1464 | 1036575.3414 | 841461.5336 | 1233643.8393 | 1038098.7527 | 1427846.5977 | 1143593.1448 | 1255163.9368 | 1121525.5317 | 1334201.6926 | 1341480.6845 | 1898199.2121 | 1450201.4776 | 1261026.7605 | 1846126.6679 | 1548635.8274 | 1512756.585 | 1724723.9254 | 1757060.7762 | 1470602.2515 | 2150076.2286 | 1752727.4079 | 2445410.1813 | 1935120.7779 | 1875914.7996 | 2301590.2544 | 1909164.7431
Other_C | 1386905.0013 | 1399564.8128 | 1415539.7528 | 1502086.4222 | 1411027.2927 | 1509863.0812 | 1505180.3201 | 1510313.9045 | 1496151.6939 | 1599008.6879 | 1549777.5152 | 1651969.3016 | 1789725.327 | 1837282.7421 | 1822075.4445 | 1883250.3276 | 2039289.2243 | 1990334.2522 | 2070039.5136 | 1959845.6828 | 2110068.0159 | 2158700.0346 | 2318992.3453 | 2293730.0701 | 2295705.8835 | 2252352.9091 | 2194251.8293 | 2302491.2792 | 2237189.0899
Peak_D | 3179197.8758 | 3328373.8565 | 4078006.5309 | 3735578.3283 | 3164222.823 | 3966351.2306 | 3865604.3009 | 4674878.3639 | 3533626.2089 | 4462497.2978 | 3753945.4214 | 4360850.0433 | 3932092.4582 | 4505924.5028 | 3570899.4241 | 3488231.4826 | 4362512.7855 | 4220760.6317 | 4284972.9024 | 4156683.6722 | 5303019.3942 | 4470430.9583 | 5586484.9 | 5415315.0744 | 6454704.3032 | 4846129.4484 | 5148374.3007 | 5994100.0396 | 5751895.5562
Other_D | 12951069.2068 | 12795073.2775 | 11815022.0228 | 11860548.1961 | 11343802.7594 | 12031891.4315 | 12203381.4256 | 12194168.8654 | 12026210.6322 | 12917525.4154 | 12594921.0743 | 12960678.1406 | 13625665.3496 | 14430645.7942 | 14900455.4119 | 15337172.2891 | 17508128.9754 | 16679708.8053 | 17755877.1528 | 18219106.2327 | 19960958.8018 | 19880453.785 | 15950327.6296 | 15854960.7435 | 16201059.8491 | 15721554.9304 | 15926987.0077 | 16590260.9386 | 16422560.5741
Total | 1270444.7219 | 1337075.5411 | 1447114.9123 | 1287212.9634 | 1322715.3343 | 1681271.056 | 1660847.0869 | 1927693.6588 | 1600054.5915 | 1799891.4179 | 1703046.0624 | 1880485.8001 | 1670811.732 | 2013162.9026 | 1787099.9678 | 1926191.3226 | 2212100.9995 | 2113287.2047 | 2194205.5434 | 2016611.1671 | 2482165.2243 | 2293758.8037 | 2257973.9552 | 2230006.9724 | 2518806.3657 | 2093740.5135 | 2191438.0649 | 2318424.1477 | 2257877.8889
Savings-Weighted LCOE ($/MW) Real Dollars (2019) - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Total $/MW (Cumulative)
Peak_A | 290847.4842 | 291839.0432 | 316984.2487 | 328468.722 | 293882.6516 | 296564.9271 | 289109.6449 | 309614.3308 | 301317.3522 | 296585.5451 | 306012.1654 | 324325.3018 | 345211.0802 | 342822.4942 | 339178.9733 | 337531.2205 | 335692.0488 | 348858.5402 | 346137.8062 | 360073.1092 | 377365.2565 | 369731.7304 | 374575.531 | 374482.6712 | 376258.1612 | 374790.1508 | 373404.6009 | 373363.269 | 372591.7894 | 323121.4571
Other_A | 200626.4135 | 161738.14 | 131084.5655 | 135901.9309 | 128101.0307 | 334819.389 | 349583.1087 | 351086.4043 | 326718.311 | 332699.6226 | 333271.5624 | 327682.3044 | 339948.0185 | 377583.7736 | 376660.7597 | 530034.1658 | 529566.5225 | 518378.0455 | 534065.4748 | 520709.2731 | 560587.7182 | 564623.4917 | 573633.1325 | 572753.1757 | 574470.6599 | 573619.2056 | 573330.2756 | 572147.5886 | 570784.2937 | 372875.1086
Peak_B | 290091.6168 | 340186.6031 | 355694.7717 | 241274.6472 | 279443.9554 | 376382.1522 | 427688.8871 | 461901.3476 | 451789.7826 | 502208.2969 | 523848.1529 | 541407.9238 | 536533.5744 | 501718.4914 | 489451.3849 | 486778.4464 | 504045.4969 | 546117.1123 | 623987.9464 | 618488.2906 | 613416.372 | 521648.5842 | 514269.4057 | 514498.1633 | 514533.5713 | 513238.4078 | 512318.2659 | 511878.5202 | 511205.1488 | 447104.205
Other_B | 218087.7602 | 388170.9516 | 481873.4764 | 344605.5275 | 782184.7671 | 1416236.6917 | 1304871.5892 | 1337006.9694 | 1317492.5292 | 1367171.7181 | 1415454.5095 | 1426509.0009 | 1431497.3969 | 1439007.5769 | 1457354.6373 | 1459406.9598 | 1216546.4376 | 1237282.5534 | 1199108.3509 | 1204847.8057 | 1141904.6555 | 1168136.3283 | 1392635.1026 | 1392689.7989 | 1394609.6978 | 1388962.4738 | 1392185.3692 | 1385222.1836 | 1381866.617 | 1087558.165
Peak_C | 894802.2623 | 887073.8728 | 971473.9502 | 1000245.2195 | 919910.8093 | 952733.5434 | 949295.4671 | 984097.5484 | 986604.3635 | 1068505.4892 | 1122722.1693 | 1108236.2751 | 1113157.9733 | 1136178.7819 | 1136691.3961 | 1126306.7135 | 1136932.7355 | 1134463.2085 | 1111020.794 | 1153857.3425 | 1162711.8781 | 1155739.5744 | 1159616.4051 | 1158079.2499 | 1163224.3513 | 1162947.6769 | 1161330.307 | 1164164.7216 | 1162002.7751 | 1052449.397
Other_C | 1386905.0013 | 1371238.2452 | 1361429.9068 | 1394641.0311 | 1340525.2423 | 1337912.9836 | 1323345.4813 | 1308640.3377 | 1289306.1745 | 1303240.5859 | 1298022.4623 | 1307457.8499 | 1388728.0274 | 1400920.8741 | 1406918.0224 | 1421431.7702 | 1430662.4978 | 1388239.3531 | 1404507.5341 | 1340726.7691 | 1362587.5507 | 1440032.1708 | 1433689.4618 | 1432780.3601 | 1433447.2191 | 1432076.3017 | 1429793.5088 | 1428173.2653 | 1425658.4192 | 1348527.584
Peak_D | 3179197.8758 | 3254675.9854 | 3508037.2964 | 3530275.3033 | 3392095.4758 | 3447066.0876 | 3454488.9056 | 3553558.1745 | 3464899.3835 | 3558356.8023 | 3523156.659 | 3458375.6177 | 3044569.2423 | 2929259.481 | 2938942.6789 | 2939468.9329 | 2958625.26 | 2951129.6854 | 2954300.9028 | 3188387.3007 | 3294570.327 | 3317574.1666 | 3328715.4415 | 3331709.8312 | 3338513.6949 | 3330162.8953 | 3324485.6351 | 3325887.7006 | 3324191.8633 | 3272644.5066
Other_D | 12951069.2068 | 12570248.6769 | 11430020.2407 | 11076422.6678 | 10837177.8721 | 10596122.0183 | 10635424.8336 | 10413456.2086 | 10416910.6861 | 10610882.3127 | 10634106.5495 | 10179019.2905 | 10554005.0945 | 10834785.1571 | 11274740.7233 | 11701239.6916 | 12255750.3782 | 11567888.9225 | 12059916.6848 | 12532150.3508 | 13009357.2944 | 13400106.1961 | 9834960.2062 | 9837950.5178 | 9829439.1837 | 9818110.2209 | 9805680.0506 | 9798286.0303 | 9784883.977 | 10962513.1434
Total | 1270444.7219 | 1312348.0169 | 1328559.2772 | 1215465.4067 | 1330183.5401 | 1510800.6748 | 1497599.0405 | 1528802.2639 | 1485536.1364 | 1483875.8527 | 1505888.6533 | 1504462.7937 | 1290885.5371 | 1370520.1088 | 1385449.5247 | 1562101.4406 | 1571935.9757 | 1524986.9693 | 1533418.5836 | 1447381.2934 | 1589832.7649 | 1561695.3923 | 1362264.8867 | 1362145.7585 | 1364984.8282 | 1361768.5867 | 1359681.6529 | 1358933.8037 | 1357070.2957 | 1408518.5125
Savings-Weighted LCOE ($/MW) Nominal Dollars - Cumulative
Bundle | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Peak_A | 290847.4842 | 297967.6631 | 330437.3772 | 349599.8575 | 319357.3516 | 329039.8503 | 327504.3199 | 358097.4668 | 355819.7737 | 357586.9487 | 376700.4274 | 407627.9867 | 442989.7033 | 449162.9829 | 453721.4491 | 460999.1038 | 468115.3993 | 496691.7823 | 503167.2827 | 534416.4139 | 571842.928 | 572041.1976 | 591705.6685 | 603981.7192 | 619589.057 | 630132.2708 | 640986.6125 | 654374.8911 | 666736.2357
Other_A | 200626.4135 | 165134.6409 | 136647.9256 | 144644.8094 | 139205.2429 | 371483.3129 | 396008.8509 | 406063.7365 | 385815.2696 | 401128.9318 | 410256.6963 | 411847.2325 | 436235.9163 | 494706.9022 | 503861.0267 | 723919.0349 | 738469.2161 | 738047.3332 | 776350.5428 | 772830.7816 | 849490.2926 | 873573.653 | 906150.9575 | 923760.8957 | 945988.0772 | 964422.2823 | 984179.1728 | 1002774.0998 | 1021392.8011
Peak_B | 290091.6168 | 347330.5218 | 370790.8135 | 256796.3908 | 303667.0624 | 417597.3478 | 484487.3235 | 534231.4165 | 533509.7266 | 605501.9723 | 644856.1377 | 680468.1001 | 688502.9554 | 657347.1054 | 654741.6234 | 664840.5064 | 702880.6905 | 777541.1823 | 907067.3986 | 917953.2874 | 929544.5412 | 807083.7753 | 812375.8688 | 829804.7122 | 847288.9179 | 862904.4352 | 879445.912 | 897143.5561 | 914778.603
Other_B | 218087.7602 | 396322.5416 | 502324.6687 | 366774.7802 | 849987.0758 | 1571319.6888 | 1478162.662 | 1546371.6025 | 1555801.185 | 1648370.1622 | 1742421.9653 | 1792906.6549 | 1836959.0189 | 1885374.9293 | 1949510.7595 | 1993253.5413 | 1696448.0494 | 1761596.7669 | 1743097.9218 | 1788221.4117 | 1730392.7439 | 1807316.0868 | 2199903.6672 | 2246189.8607 | 2296521.3694 | 2335253.6768 | 2389826.4286 | 2427808.7609 | 2472788.1096
Peak_C | 894802.2623 | 905702.4242 | 1012704.2761 | 1064593.256 | 999651.6574 | 1057061.2834 | 1075364.9066 | 1138199.3795 | 1165061.8154 | 1288274.5768 | 1382068.9789 | 1392885.8434 | 1428452.1809 | 1488611.3354 | 1520557.9 | 1538306.2484 | 1585428.4406 | 1615206.4173 | 1615048.4113 | 1712541.9461 | 1761923.1057 | 1788136.0886 | 1831811.059 | 1867799.9013 | 1915496.2026 | 1955256.4519 | 1993540.459 | 2040372.5437 | 2079351.6612
Other_C | 1386905.0013 | 1400034.2483 | 1419210.3534 | 1484361.4419 | 1456726.3115 | 1484419.2537 | 1499089.9454 | 1513562.9823 | 1522516.4694 | 1571289.7418 | 1597863.3256 | 1643277.3145 | 1782075.5248 | 1835474.0701 | 1882041.4416 | 1941387.144 | 1995028.3266 | 1976523.4299 | 2041678.8541 | 1989891.424 | 2064806.0233 | 2227987.6456 | 2264756.0001 | 2310849.6378 | 2360475.6053 | 2407740.6785 | 2454384.5887 | 2503086.9464 | 2551151.5683
Peak_D | 3179197.8758 | 3323024.1811 | 3656921.9073 | 3757385.8955 | 3686133.2969 | 3824532.1871 | 3913255.9546 | 4110017.0563 | 4091631.9806 | 4290235.8948 | 4336999.5352 | 4346656.5275 | 3906922.1786 | 3837889.7206 | 3931438.6681 | 4014717.6362 | 4125739.7959 | 4201708.412 | 4294554.166 | 4732168.1733 | 4992448.8534 | 5132881.3387 | 5258271.3828 | 5373524.562 | 5497572.5858 | 5598981.4645 | 5706814.4863 | 5829114.9197 | 5948491.7084
Other_D | 12951069.2068 | 12834223.8991 | 11915121.7297 | 11788993.9818 | 11776579.546 | 11756435.3822 | 12047842.8787 | 12044120.4369 | 12301126.2911 | 12793317.4504 | 13090566.1107 | 12793491.9549 | 13543353.1953 | 14195639.1533 | 15082278.3888 | 15981517.2155 | 17090382.3977 | 16469928.9345 | 17531039.3711 | 18600075.0347 | 19713815.2969 | 20732363.9434 | 15535989.9973 | 15867068.69 | 16186261.4114 | 16507125.5887 | 16832437.5867 | 17172959.6511 | 17509609.4326
Total | 1270444.7219 | 1339907.3252 | 1384944.6615 | 1293659.0445 | 1445488.1571 | 1676238.7672 | 1696484.9282 | 1768200.5111 | 1754240.5973 | 1789077.8808 | 1853746.2343 | 1890882.8148 | 1656519.8337 | 1795643.2578 | 1853322.9223 | 2133513.3476 | 2192031.1773 | 2171219.5871 | 2229071.9135 | 2148186.8561 | 2409163.556 | 2416222.4364 | 2151928.7531 | 2196927.1219 | 2247737.7233 | 2289532.7692 | 2334030.5254 | 2381734.4489 | 2428416.2087
Financial Escalation Factor | 2.1%
LCOE Floor |  | Applies cap to negative levelized costs (e.g. when NEIs push costs negative or efficient option is cheaper than baseline option)
LCOE Ceiling |  | Applies cap to very high levelized costs (e.g. when a measure is an unusually small saver resulting in a near-infinite ratio)

## End Use Summary
Island | Oahu
|  | Peak_A | Peak_B | Peak_C | Peak_D | Other_A | Other_B | Other_C | Other_D
|  | Peak |  |  |  | Other
| End Use | A | B | C | D | A | B | C | D
Cooling | Cooling | 551.656 | 90.2124 | 17.0424 | 140.7242 | 156.798 | 4.5463 | 3.6821 | 43.6694
Ventilation | Ventilation | 41.74 | 3.565 | 7.4768 | 9.7891 | 49.6604 | 1.2001 | 5.6271 | 16.1428
Water Heating | Water Heating | 13.3992 | 0.38116 | 0.76643 | 0.69186 | 258.3082 | 48.4352 | 0.46227 | 10.4307
Interior Lighting | Interior Lighting | 9.8268 | 66.8503 | 1.7029 | 7.7617 | 466.6668 | 38.3495 | 1.6032 | 7.731
Exterior Lighting | Exterior Lighting | 4.7099 | 8.8249 | 0.95927 | 2.3508 | 63.9863 | 17.8126 | 0.254 | 15.6296
Appliances | Res Appliances | 2.3846 | 1.599 | 0.17821 | 7.4543 | 73.1488 | 17.9065 | 10.3411 | 90.9488
Refrigeration | Com Refrigeration | 12.5778 | 0.19558 | 0.097281 | 5.9232 | 85.7842 | 3.4538 | 11.2685 | 26.1984
Electronics | Electronics | 34.1861 | 0.3505 | 0.043265 | 5.3569e-05 | 21.2234 | 1.3371 | 10.3238 | 1.2392
Office Equipment | Electronics | 1.1516 | 0.00079124 | 0 | 0.52143 | 34.6841 | 0.25713 | 1.4566 | 2.7311
Food Preparation | Food Preparation | 1.8029 | 0.26563 | 0 | 0.0024298 | 13.2962 | 0.39374 | 0.00042766 | 0.020085
Miscellaneous | Miscellaneous | 7.9404 | 0.542 | 0.05439 | 0.060731 | 107.8279 | 8.7072 | 4.6515 | 12.2402
| Total | 681.3754 | 172.7873 | 28.3209 | 175.2799 | 1331.3842 | 142.3991 | 49.6707 | 226.9813